Module 8

Appendix

Fire Scene Examination

Checklist

Fire Scene Examination Checklist

This checklist is provided to help the company officer and crew conduct a systematic examination of the fire scene to help determine the area of fire origin and the possible cause.

1.	Should overhaul be delayed to allow fire cause determination?

[   ] yes		[   ] no

2.	Exterior Examination Observations

a.	Classification of building construction

b.	Estimated age of construction

c.	Area(s) of greatest damage

d.	Area(s) where fire exited building

e.	Are there obvious “V” patterns?			[   ] yes		[   ] no

f.	Was building secure prior to the fire?		[   ] yes		[   ] no

g.	Are there any unusual signs or objects?

h.	Note anything unusual about the electrical system or equipment?

3.	Interior Examination Observations

a.	What is the area of least damage?

b.	What is the area of most damage?

c.	Note damage to the following structural components.

Door moldings

Walls

Ceiling

Floor

d.	Note damage to the following nonstructural components:

Shelving

Incandescent light bulbs

Stained window glass

Broken window glass

Melted metal objects

Doors

4.	Note the lowest level of burning.

5.	What is the source of fire or secondary fire?

6.	Examination of Building Contents

Unusual items

Furniture

Appliances

7.	Reading Fire Patterns

a.	Narrow “V” patterns			[   ] yes		[   ] no

b.	Wide or large “V” patterns		[   ] yes		[   ] no

8.	Reading Fire Travel

a.	Even levels of burning			[   ] yes 	[   ] no

b.	Lack of deep char				[   ] yes	[   ] no

Notes: