Module 8:

Fire Cause Determination II

Objective

Upon completing the module, you will be able to conduct exterior and interior examinations of a fire scene and read fire patterns to help determine the area of fire origin and fire cause.

Methodology

This module uses lecture, discussion, and activities.

NFPA 1021 Standards Cross-Reference Matrix

3-5, 4-5

Introduction

The aim of this module is to discuss the basic responsibilities of the chief officer in determining the area of fire origin and the fire cause.

This module presents basic considerations for the officer who makes a systematic examination of a fire scene that involves conducting a thorough exterior examination before conducting a thorough interior examination. Emphasis is on moving from areas least burned or damaged to those most burned or damaged.

The module has two scenario-based group activities that apply the concepts presented in the module.

Importance of Fire-Related Information

The fire officer and firefighters play an important role in gathering evidence at a fire scene. Collecting information related to the fire incident starts at the time of alarm and continues until the close of the fire cause determination.

In some instances, the collection of information may start before the alarm. Records such as fire code violations, existence or lack of building permits, or other official records may become important to the cause determination process.

The fire officer gathers information that may be used for several purposes. Someone needs to complete an official fire report, a fire cause determination that will require another report, and possibly a media statement. All of these reports have one thing in common:  they will become official documents that someone may subpoena; they become available under freedom of information laws; or they may become very important to the owner or insurance carrier of the property.

Collection of Information

After the fire has been brought under control, the fire officer should start a systematic collection of information. Information will cover several areas, such as:

- Information about the owner;

- Information about the occupancy and activity before the fire;

- Information about the discovery of the fire;

- Information about the circumstances of the area of fire origin and cause;

- Information about the structure, including building classification and type, use prior to the fire, and unusual aspects that may have caused the fire to spread;

- Information about your observations, including the damage to the property and its contents; and

- Information about witnesses, conversations, or unusual events.

Owner and Occupants

The owner’s name and address (if different from the fire location) are important in order to establish who is responsible for the property. If the owner does not occupy the property, any information on ownership from the occupants would be helpful. In some cases, the tenants may know only who collects the rent; they may have no idea who actually owns the property. A search of property records can help determine the legal owner. The property manager of large buildings or apartment complexes with multiple occupants should be able to provide the needed information.

The officer also needs to identify the occupants of the area where the fire appears to have started. List the relationships of the occupants such as husband, wife, and children; include names and ages of all persons. In some cases, the list might also include a visitor. Here, too, all names are needed. In addition, the officer needs to get the exact address of the structure, the apartment or unit designator, if applicable, and the telephone numbers of the persons involved.

If the structure is uninhabitable because of the fire, it is important to get information on where the displaced persons will be staying because there may be a need to track them down a few days later. Obtain the name, address, telephone number, and relationship of the person with whom they will be staying. If fire victims are unsure of a temporary address, the officer should inform them that they should contact the fire department with this information as soon as possible. If available, give them a business card.

Person Discovering the Fire

The person who discovers the fire may be the only one who can describe the location of the fire in its incipient stage and the path of travel it followed. The persons with the best first-hand information are usually the person or persons who discovered the fire, the first fire officer on the scene, and the initial fire attack crew. Use the observations of the individual(s) who discovered the fire to assist in determining the fire cause and origin. Get names, addresses, and telephone numbers of such individual(s). Determine exactly what the discoverer witnessed and, if it appears that the information is critical, invite that person to the fire department to give an official statement.

There are several critical questions to ask the person(s) who discovered the fire:

- Where were you when you discovered the fire?

- Why were you there?

- Did you call the fire department? Whom else did you notify?

- What did the flames and smoke look like?

- Do you know who the last person in the room or area of fire origin was and how long he or she was there before the fire?

- Did you see the fire spread? If so, how did it spread?

- Do you recall if there were any windows or doors open at the time of the fire?

If the building is not used as a dwelling, other questions need to be answered. The following list is not exhaustive, but is meant to suggest some of the most important questions.

- What was the building used for, and who used it?

- What type of work was performed there?

- What was commonly stored there? Were there any flammable or combustible contents?

- If so, were there any special storage cabinets provided?

- What type of machinery was in the area of fire origin? Was the machinery operating at the time?

- Can it be verified that such machinery was off? Who normally turns the equipment off?

- Who secures the building, and who else has keys to gain entry?

Problems Before the Fire

- Were there any problems before the fire?

- Was all of the equipment operating properly?

It is too easy to get reports that “the light didn’t work properly” or “the toaster was partially broken” or “the fuse was always blowing.” These pieces of information are not the most helpful. Ask specific questions, such as “Were there any repairs underway at the time of the fire?” and “Who was doing the repairs?”

Portable heating devices are the source of many accidental fires. Items such as heaters, hair dryers, paint-stripping devices, torches to repair plumbing or roofs, and other similar types of heat sources are found to be the source of many fires. Questions about these devices are also important.

Observers

Information about the cause of the fire is often available from the persons in the area of the fire at the time of its origin. If there are observers, it is important to have them give their accounts of the events that caused the fire. Encourage them to talk and listen without interruption. Take notes. If necessary, ask for further explanations of items that are not clear. If they have pertinent information, they can come to the fire station to make a formal statement.

However, until a person becomes a suspect, it is not necessary that the person be informed of his or her legal (Miranda) rights. It is wise to check with the District Attorney to determine local policy, and to get an official interpretation on interviewing versus interrogating a person.

The Structure

The description of the building is an important part of the information collection. The approximate size, the number of stories, unique features, the existence or absence of a basement or attic, and the type of construction are all important considerations.

A description of the extent of fire damage is especially important. Many fires have occurred that involved only a small area, but when the insurance investigator arrived, the damage was far greater than that witnessed by the fire department. The description should include items such as broken windows; the condition of the doors, walls, and ceilings; and any damage that had obviously occurred before the fire.

Conversations

Conversations may reveal a great deal and are therefore sometimes very important. Often, the firefighter left to handle the operation of the pump may talk casually with persons who have information about the fire. For example, one pump operator may tell the time he encountered a person who emerged from the crowd gathered at the scene and told the operator that he did not mean to cause the fire. He was only trying to get warm, he said. Information such as this should be passed on to the officer in charge.

Such pieces of information are but a few of the major pieces an officer can begin to collect and record at the scene of a fire. Each piece in itself is not critical, but when taken into consideration with other information, they can reveal a great deal.

The Incident Commander’s/Chief Officer’s Role in Determining Fire Origin

The starting point to determine the cause of any fire is first to find out where the fire started. While this process may seem at first like a hopeless task, the fire, in fact, leaves many clues that can help complete this task. The trick is to be able to find the clues and interpret them correctly.

The process consists of a systematic approach to the fire scene, working from the outside to the inside and from the least burned area to the most severely burned area. During the process, the officer examines and evaluates items such as charred door frames, carbon deposits on or cracks in window glass, patterns that form a “V,” and other very distinct burn patterns.

The fire officer’s role is to prepare resources for emergencies, perform rescues, suppress fires, and lead the company in performing a wide variety of other emergency services.

In addition to all of the duties done on a regular basis, the fire company may also be responsible for determining the origins and causes of the fires to which they respond. If they are not responsible, in the strict sense of the word, for origin and cause determination, they at least play an important supporting role in making such determinations. As was stated earlier, from the moment the alarm comes in to the end of overhaul, the firefighters are in the best position to observe things.

Many smaller fire departments do not have the luxury of a fire investigator who can respond to every call, and access to someone from the state fire marshal’s office may be limited for all kinds of reasons, such as distance and staffing levels. Therefore, the fire officer is the one who must conduct an initial examination to try to make a preliminary determination of origin and cause.

When the fire officer determines that the fire resulted from an accident, the search for the origin and cause may stop at that point. If, however, the fire officer is unable to locate a cause of the fire, determines that the circumstances are unusual, or finds evidence that the fire was of an incendiary nature, he or she has one course of action: summon a fire investigator.

After fire suppression, the fire officer must decide quickly if overhaul can begin or should be delayed so that fire origin and cause determination can start. This is not a choice to be made quickly or casually. A hasty decision to overhaul may result in some valuable indicators being disturbed or even thrown out.

In many instances, the decision to overhaul will come after the fire officer makes a preliminary determination of the most likely area or room of fire origin. This area or room should generally be the last overhauled in order to provide the maximum time and best opportunity to conduct a proper and thorough fire origin and cause determination.

If the overhaul must absolutely start, the fire officer must determine how best to protect the suspected area to make a proper examination later. This protection may involve placing salvage covers down so that the plaster, ceiling tile, or other fire debris that will be removed during the overhaul process is caught and removed without causing further damage or destroying helpful indicators.

The most helpful indicators and information during the fire cause determination effort will generally be found at or near the floor. Distinct burn patterns on walls should remain where they are and as they appear. Removal of wall materials such as wall coverings and decorations should be delayed as long as possible. Burn patterns are often a valuable clue in determining where the fire started or how it traveled through the room.

Organizing the Fire Cause Determination Effort

The fire cause determination effort will first require the fire officer to locate the area or point of fire origin. Only after that can he or she look for the cause. To walk about looking for fire causes before finding the origin can often lead to ambiguous results. Doing so may lead one to fires that were actually caused by the original fire or material that was a victim of the fire. For example, it is normal to observe several beaded electrical wires in a structure that has undergone significant burning. To conclude that the first beaded wire found is the cause of the fire is probably faulty reasoning. One must avoid this pitfall at all costs. If a systematic method of fire cause determination is used, however, one first locates the area or point of origin of the fire and then tries to pinpoint the cause of the fire.

Exterior Examination

The process starts on the exterior of the structure. In large fires or large structures, this process may require making two or three circular passes or inspections around the structure. Each pass moves closer and closer toward the structure itself. Being too close will sometimes cause one to miss obvious signs such as large “V” patterns. A distance view of the structure will normally offer a bigger picture of the damage.

The officer needs to examine the area for evidence of exterior ignition sources. Look for signs of lightning or for fire spread from the outside to the inside. Keep a wary eye out for any indications of exterior fire, heat, or smoke damage. The officer also needs to pay particular attention to evidence of incendiarism: look for indications that someone used a flammable accelerant. Downward burning on a surface, such as on a door or beneath a window, may indicate the use of an accelerant. Looking for accelerant liquid containers or containers that could be used to carry an accelerant liquid is an important step in the exterior inspection.

Note any sign of forcible entry. If suspicious, the officer needs to confirm entry damage by other than fire department personnel or other than the owner or occupant trying to fight the fire or rescue someone trapped inside.

Finally, the officer needs to look for signs of individuals having traveled in the area. Footprints or tire tracks are good indicators that not all may be normal.

The officer might follow the example of many experienced fire investigators who will often use an aerial device to get high above the fire to look for clues such as the area with the most fire damage. Observing a hole in the roof from the ground provides a limited view. Getting an aerial view may be much more helpful and revealing.

After inspecting the exterior, the officer is ready to examine the interior. The examination should progress from the least burned area toward the area of greatest damage. This process continues until one arrives at the area of greatest fire damage. Often this is the area of fire origin because it is the place where the fire burned longest.

One needs to be very careful here, however. The use of liquid accelerants in the spread of the fire may cause similar burning patterns and heavy damage, but the liquids also will leave clues that one should be able to recognize readily.

“V” Patterns

The familiar “V” fire pattern is often one of the most valuable clues in determining the area or point of fire origin. The normal fire that starts near a wall will leave a distinct pattern on the wall near the fire. As the fire burns it will progress upward and outward from the point where it started. If left unchecked, the fire will eventually reach the ceiling where the heat, flames, and fire gases will stop their vertical movement and redirect themselves across the ceiling. The ceiling directly above the area of fire origin should show signs of heavy fire damage.

Generally, when a fire travels through a room and exits, it will leave a distinct “V” pattern that is observable from the outside of the structure. This pattern may involve a few feet of the structure, or it may involve two or more floors or even a few rooms. Regardless, the pattern will look like a “V” against the remaining portion of the structure.

Narrow “V” patterns or those resembling an “A” usually are caused by an extreme heat source. This source may have been a flammable or combustible liquid. The burn pattern on the floor also would reveal considerable damage, as would the ceiling above. The burning in this small area would have generated a significant amount of heat, and effects on the structure would indicate that.

This is very often the place where the fire goes straight through the roof. This pattern may also be recognizable from the outside. If this area is identified as the area of fire origin, one needs to evaluate the cause of the significant fire damage carefully. A piece of furniture, such as a large foam-padded sofa, could have produced a very significant fire load. Alternatively, a liquid could have been poured in the area. The difficult challenge arises if the liquid was poured on the sofa. This would require a close evaluation of the remains of the sofa to determine if it suffered damage beyond what would be considered normal for such a fire.

Security before the Fire

The security of the structure before the fire is also an important consideration for the fire officer. As such, interviewing the firefighters at the scene will be an important part of fire origin and cause determination.

The officer may need to question other firefighters concerning what they found on arrival. Here is a list of some information that can be helpful in making an origin and cause determination. Some were mentioned earlier.

- What were the extent and color of the fire and smoke?

- Who was present? What were they doing?

- Were there people there who have been observed at other fires?

- Were any persons acting suspiciously?

- How did the owners and occupants act?

- How were the owners and occupants dressed?

- Had any possessions, appliances, or other items been removed?

- Did anyone see vehicles leaving the area?

- Which parts of the structure were burning?

This list is not exhaustive; it is meant to suggest typical questions one needs to ask.

Entry Considerations

The officer also needs to ask a series of questions concerning entry into the structure. Like the above list, it is not complete and is meant merely to get one started.

- Were the windows and doors locked?

- Did the firefighters use any method of forcible entry?

- Where were they used, and which type was used?

- Were there signs of forcible entry before fire department arrival?

- Were the contents as they should have been, or had they been rearranged to burn?

- Were personal items present, or had they been removed?

- Was the structure livable, similar to others in the neighborhood?

- Was there evidence of burglary?

- Was there food in the refrigerator or cupboards?

- Were the utilities on?

- Were there any cooking or eating implements present?

Observations

Determine another set of facts from the firefighters who were first on the scene. These facts relate to the fire itself and possible incendiarism, for example:

- Rapid burning,

- Fire flashbacks,

- Burning on the surface of water,

- Extreme heat, or fires hard to extinguish,

- Low-burning fires,

- Multiple fires or fires in unusual places,

- Holes in the walls, floors, and ceilings,

- Trailers and accelerant containers,

- Missing equipment,

- Remains of incendiary devices,

- Obstructed view through the windows,

- Unnatural odors, and

- Oily substances.

By now, the officer is probably ready to begin a systematic inspection of the interior of the structure.

Activity 8.1:

Exterior Fire Scene Examination

Student Activity Worksheet

Time: 45 minutes Purpose: To reinforce the need to conduct an outside evaluation of the fire scene before starting an inside evaluation. Directions: - Your instructor will divide the class into small groups and ask each group to appoint a spokesperson. - Read and view the slides for the scenarios. - You will have 20 minutes to discuss the scenarios and answer the activity questions. - When the instructor calls on your group, report your answers to the class.

Scenario Your department has just extinguished a fire in a one-story, wood-frame (platform type), single-family dwelling. The fire had been reported at 1745 hours. The temperature is 75°F; the sky is clear; and there is no measurable wind. The dwelling has a full basement used as a vehicle garage and general storage area. This area sustained no fire damage. The contractor built a fire separation wall in the attic area that divides the kitchen, dining room, and living room areas, and to the bedroom and bathroom areas. The fire separation wall extended from the exterior bearing walls to the roof but did not extend out over the exterior overhang (soffits). During your suppression efforts, you observed that the fire separation wall was undamaged and that the ceiling in the bedroom section of the structure was also intact. Firefighters had to pull the ceilings down in the bedrooms to extinguish the fire in the ceiling area.

- At which end of the building did the fire appear to originate? - What observations support your answer to question 1? - How did the fire get past the fire separation wall in the attic area and into the bedroom area? - What observations support your answer to question 3?

Scenario 2 Your department is attempting to extinguish a fire in a two-story, wood-frame (balloon type), single-family dwelling unit. The fire was reported at 1015 hours. The dwelling has been renovated several times since its original construction in 1922. The temperature is -5°F, it is overcast, but there is no measurable wind. The temperature has been near 0°F for the past three days, and heating systems have been operating near capacity. Many homes have fireplaces that are used to supplement the normal heating system. Because of the remote location of this structure, the fire burned for a considerable time before you were notified. Upon your arrival, you observe that the center portion of the structure is heavily damaged, while the ends are less damaged. Because of the damage to the structural elements, you deploy a defensive operation. Soon after your arrival, the homeowner arrives and informs you that he was the last person in the home and left at about 0700 hours to go to work. During your suppression efforts, you observe that there is no apparent fire in the basement, the electrical service enters the structure on the side that is just becoming involved, and there is a large supply of well-seasoned firewood at the rear of the dwelling.

- Is there any visible “V” pattern? If so, where does it appear to be located? - Does the wall near the chimney appear to be more heavily damaged than the wall on the opposite side of the structure? - What observations support your answer to Question 2? - What questions would you have to ask the property owner regarding fire cause determination?

Examination of Interior Structural Components

The interior of a structure is the best place to find the best clues to determine the area or point of fire origin. As such, the officer needs to remember the observations made while examining the outside of a structure. The interior inspection should result in a similar conclusion relative to the area of greatest fire damage and fire origin location. If not, it is time to pause and revisit the previous set of indicators.

The examination goes from the least- to most-damaged area, from:

- Lightly to heavily smoke-stained areas;

- Lightly to heavily damaged areas; or

- Lightly to heavily charred areas.

Area of Least Fire Damage

A systematic interior inspection begins with the area of least fire damage. This area will often have the greatest amount of smoke damage since there was limited open flame or actual combustion in the area. Open flames have a tendency to push the smoke from the area. The heat is said to wash the area. It is common to find little smoke or carbon deposits on window glass at or near the point of fire origin. However, a tremendous amount of smoke and carbon deposits on glass remote from the area of fire origin is common. This area often will have the greatest amount of smoke damage since there was limited open flame or actual combustion in the area.

One must survey the structural elements to determine the path of fire travel and the area of greatest damage. For example, as fire travels from room to room or up an open stairwell, damage is usually greater on the side from which the fire came. The area directly above a door on the side that is opposite the path of fire travel will have less fire and smoke damage than on the side from which the fire came. Wall studs that become exposed generally will be burned more heavily on the side of the fire travel.

As the officer surveys fire damage, it is important that he or she note of any areas that were damaged before the fire that would allow the fire to spread. Many times, they will be obvious: for example, holes in walls for which there is no apparent explanation of how they got there or why they are there. Persons experienced in starting fires may very well cause this type of damage before the fire, hoping that the fire will more quickly extend from the room of origin.

Typically, the floor is in a protected area and, generally, the damage to the floor should be 20 to 30 percent of the damage to the ceiling directly above. Holes in the floor must always be examined because fire does not typically burn downward. The hole should be evaluated to determine whether the fire came from the floor below or if it burned downward. If it burned downward, it may have resulted from a flammable or combustible liquid accelerant. This could have produced a considerable amount of heat in a concentrated location.

The burning will usually go down into the floor supports (joists) and create a “V” pattern. The burned flooring will usually have a very distinct starting and stopping point. It is very common to have a hole burned through wooden floor material and have clear unburned flooring only inches away. It is also very common for nylon carpeting to be singed or melted from the radiant heat in the situation just described. The carpet will be hard to the touch, and the strands in the pile will have melted together.

Nonstructural Building Components

The officer also needs to examine the nonstructural building components. This category includes items such as doors, shelves, counters, cabinets, light fixtures and bulbs, and window glass.

The edges of doors will provide valuable clues to fire travel. If the door was closed, the edges will be less burned or totally clear of burning, as long as the door remained closed during the entire fire. If the door was closed, the burning should be uniform across the door. However, the door will be more heavily burned at the top than at the bottom. If the door was open, the sides of the door will be burned. The edges of the door that had the greatest exposure to the path of fire travel will have the greatest char.

Shelving should be examined to determine the lowest level of burning. There may be several shelves, so it is necessary to look at their tops as well as their bottoms. If the bottom of the top shelf is heavily burned, the fire was lower. Continue the examination until you determine the burning was on the top of the shelf only and not on the bottom. This will provide a clue to the lowest level of burning. Items such as shelves and open doors can also deflect the path of fire travel. Often, this is evident when fire patterns indicate that an area was protected and has little fire damage.

Incandescent light bulbs are often good indicators of the path of fire travel. As the fire generates heat, the side of the bulb that is toward the heat starts to soften. The glass is very lightweight and has a tendency to soften easily. This usually occurs when the bulb is subjected to a temperature of 900°F for 10 minutes. While the glass is softening, heat-caused pressure starts to rise in the bulb. It tends to push the soft glass toward the path of fire travel. In some instances, the bulb will break as it cools. If the break is small, the remainder of the globe will remain intact and continue to point. In most instances, the part that breaks is the side that is distended toward the fire. The bulb often will have more carbon and soot on the side away from the fire than it does on the side toward the fire.

If the bulb is not heavily damaged, it may be possible to determine if the bulb was energized at the time of the fire. If the globe is broken and the filament is not broken, this is a good indication that the bulb was not energized at the time of the fire, or at least when the glass globe broke. Think of the last time you broke a light bulb. As soon as the globe broke what happened to the filament? It got very bright for an instant and then it went out. Since the filament inside the bulb is burning in an inert gas environment, the filament overheats as soon as it burns outside of its protective environment. If the bulb filament is blackened, the bulb was energized. If the filament is silver in color, the bulb was not energized.

Windows and Glass

Window or other glass, such as that in picture frames, can also provide clues about the path of fire travel. As one works from the least burned area to the heavier burned area, the clues should point continually toward the most likely area or point of fire origin. Window glass that is heavily covered with black carbon was most likely not near the area of fire origin. The glass that is clear and free of carbon and soot was nearer a great deal of heat in a free-burning fire; it may have been very near the area of fire origin.

The difficulty comes when one finds a great deal of the window glass clean. This indicates that the fire was fast, intense, and had a plentiful amount of air to burn freely. It is at this point that one starts to analyze the cracking, or crazing of the glass. The term “crazing” refers to half-moon-shaped cracks that appear in the glass. This will occur before the glass breaks and before air passes over it as the fire is vented. As air passes over the glass, it will tend to cool the glass and stop the crazing process.

In areas remote from the fire origin but still exposed to high heat, glass will tend to have large half-moon cracking (crazing).

The same applies to the glass in picture frames. Smoke stains that will not rub off and appear to be baked on were usually closer to the point of origin than those stains that smudge and come off when wiped.

Lowest Level of Burning

Determining the lowest level of burning is always critical to determining the area or point of fire origin. The evaluation of structural and nonstructural building components will provide valuable clues to the direction of fire travel, areas of greatest heat build-up, and the area most likely to be a point or area of origin.

When more than one of these areas of origin are found, they must be examined to determine if there were two or more separate fires. One needs to find out if a fire trailer was used to ignite several areas at about the same time or if the second area of origin was a secondary fire caused by the original fire. These often can be explained by the combustible material in the area. For example, in a barbershop it appeared that the fire originated on the seat of each of five barber chairs. However, further and closer examination revealed that the area of fire origin was closer to the floor and the five separate fires were started from burning ceiling tile that dropped into the chairs.

Examination of Building Contents

The contents of the structure also need to be examined to help determine the area of fire origin. Just as the structural components provided clues on the path of fire travel, furniture can do the same. Furniture should be examined to determine which side has the greatest damage. Knowing this will provide a clue to the path of fire travel. The side of greatest damage will face the path of fire travel.

The material of the furniture also needs to be evaluated including any metal springs found in mattresses, chairs, or sofas. If the metal springs have any resiliency left, they spring back when pulled. This would indicate that they have had light or moderate heat exposure. If they are flat and have no spring left, they have been exposed to an excessive amount of heat. This may also indicate that they underwent a lengthy period of burning.

Consider the following example. Two-thirds of the springs still have some resiliency left, but the remaining one-third has no action left in the springs. This would indicate that the 33 percent with the greatest damage sustained the highest amount of heat or the longest period of burning. Other clues must also be used to determine the area or point of origin. These clues include damage on the floor below and damage above, the “V” pattern, and ceiling damage. Collectively, these clues will help determine if a particular area could be the area or point of origin. Something unusual happened to one-third of the bed, and the other clues will help to determine what it was.

One’s first impression is often the best clue. If one walks into a bedroom and finds the remains of a pile of clothing burned on a bed, the bed more severely damaged than the area around it, and the closet empty of clothes and hangers, one has three very important clues as to the area of fire origin. The remaining step is to determine what or who caused it.

Furniture is often removed or exchanged before the fire. Regardless of the amount of fire damage, there will always be some remains of furniture. It may be some metal brackets, springs from the chair, the twisted metal frame of a bicycle, or other metal item. If there is no evidence of furniture, there is a strong possibility that there was none there before the fire.

Another common practice is to switch good furniture for poorer quality goods. The quality goods are removed and inferior items brought in. This observation will almost always correspond with other clues to an incendiary fire. One should always share this with the fire investigator. The investigator will try to locate the good furniture. Often it is stored in a rental storage space, a rented moving truck, or in a friend’s garage. A few telephone calls can often locate the goods.

Always examine electrical and heating appliances to determine any involvement in the fire. Often, fires in appliances will destroy the device. Examining the damage may indicate that there was more heat damage inside the appliance than outside it. Examine items such as televisions to determine if the damage is greater inside or outside the cabinet. Heat-producing appliances, such as furnaces, heaters, portable heaters, kitchen stoves, and similar devices, must always be evaluated for their involvement in the fire. Were they a victim of the fire or the cause of the fire? The kitchen stove is often involved in kitchen fires. It is usually a victim of the fire, as the material on top of the stove is what started the fire. The stove was simply the heat source that caused the problem.

Controls need to be examined to determine if they were in the on or off position at the time of the fire. Even in an obvious fire on the top of the stove that involves the cabinets above and leaves the distinct “V” pattern, the officer must look at the controls to determine if the stove was on. If the stove was not on at the time of the fire, it may change the results of the analysis totally.

Reading Fire Patterns

Fire leaves a characteristic pattern as it burns. We mentioned the “V” pattern earlier and need to say more about it now.

The plume of hot gases rising over something that is burning often looks like a cone, with its lower point aiming at the source of the heat. When undisturbed, the angle between the plume boundaries and the vertical axis is about 15 degrees. Nearest the heat source, the sides spread into a cone, which traces the boundary of the flame zone.

As gases ascend in the plume, air entertainment cools them. As the temperatures in the plume reach that of the surrounding air, the plume’s upper boundaries extend outward. A physical barrier, like a ceiling, will promote the lateral spread of the plume boundary.

When a vertical surface such as a wall stops a plume’s progress, damage patterns in the shape of a “V” or “U” often occur on the surface. In that portion of the plume containing the hot gases, the “V” will be erect. In the flame zone of the plume, the “V” will be inverted. Together, the two parts of the plume look like an hourglass.

The size of the base of the fire affects the width of the plume, which will increase as the fire spreads. A small surface-area fire will generate a narrow pattern; a large surface-area fire will generate a wide pattern. The angle of the sides of the “V” remain at about 10 to 15 degrees regardless of the heat release.

However, airflows in the vicinity can destabilize a plume with larger angles resulting. Normally, the angle is approximately 15 degrees if the plume is undisturbed. Fire plumes next to combustible materials often create larger angles.

The fire often spreads laterally on combustible surfaces so that the burn pattern expands beyond a point that would have been reached on a noncombustible surface. The flame spread properties of the surface, its orientation to other burning materials, and the temperature of any hot gases impinging on it will dictate the extent of the spread. In cases like this, the pattern may exceed the anticipated 12 to 15 degrees found in other plumes.

Burning patterns or linear demarcations that appear to be flat are usually the result of heat being pushed down from the ceiling. If the wall covering is combustible, such as wood paneling, the pattern may be consistent around the room except for the area of fire origin. This is usually seen when the top one-third of the paneling is burned, blistered, or charred from a high level of heat. The tops of the furniture will often be burned in a similar way. The tops of the sofa, chairs, end tables, and other items in the area being burned or charred on the top with the remainders not badly damaged indicates that the heat came from above. This will usually occur in accidental fires. On the other hand, incendiary fires are usually accelerated, cause ceiling damage early, and cause the fire to ventilate vertically.

Activity 8.2:

Reading Fire Patterns

Student Activity Worksheet

Time: 45 minutes Purpose: To reinforce the ability to read fire patterns that will help determine the area of fire origin. Directions: - Your instructor will divide the class into small groups and ask each group to select a spokesperson. - If time permits, you may be asked to complete both scenarios. - Read the assigned scenario. - You have 15 minutes to answer the questions regarding your assigned scenario. - Be prepared to report to the class.

Scenario 1 Your department has just extinguished a fire in the workshop area of a one-stall garage located at the rear of a single-family residence. The garage is 24’ by 14’and has block walls and a wooden roof. The ceiling is ½” drywall material over wooden structural members. The garage has one electric light fixture in the center and one clamp-on fixture on a workbench adjacent to the area of fire origin. The owner informed you that about 30 minutes before the fire he had plugged in an electric heater used to strip paint. He had placed it on the edge of the garbage can to heat up while he went to the basement to get the chair he was going to strip. Beside the garbage can was a plastic bag filled with clean rags. From the basement, his wife saw smoke and called the fire department. You are the officer dispatched to this location for a smoke investigation. Upon arrival, you found the small fire and quickly extinguished it. Now you are trying to read the fire patterns to determine the area of fire origin and a possible cause. You will determine whether the fire is accidental or whether you should call a fire investigator. - Is there a distinctive fire pattern? If yes, describe it. - Do you have an opinion on where the fire started? If yes, support your opinion with observations. - Do you need to call a fire investigator to conduct an investigation? Notes:

Scenario 2 Your department received a call for a smoke investigation. Upon arrival at the one-story, wood-frame (platform-type), single-family dwelling, you found the doors locked and no one at home; you had to force entry into the dwelling. You also noticed a “For Sale” sign in the front yard, apparently there for some time. There was a fire in a reclining chair in the living room. Fire also had reached the wall covering and the ceiling area directly above the chair. Your crew quickly extinguished the fire. One corner of the living room was damaged, and there was some light smoke damage throughout the house. Soon after extinguishment, the owner arrived and appeared to have been drinking. He was belligerent and kept asking if you knew what caused the fire. He said you should have let the place burn down. Soon, however, the owner collected himself and settled down. He returned to the living room and started talking about all the trouble he had been having with the television and that certainly it must have been the cause of the fire. As you examine the walls, the chair, and the ceiling area, he continually tries to draw your attention to the television set that is out of its case and plugged in. He tells you that he had only been gone to the store about 20 minutes to buy beer. He states that he does not smoke and no one else has been in the house for two days. Can you determine the area of origin and the fire cause? Do you need to call in an investigator? - Is there a distinctive fire pattern? If yes, describe it. - Does the television appear to be the cause of the fire as indicated by the owner? - Does the ceiling damage over the chair appear to be consistent with the fire in the chair? - Do you feel it necessary to call in a fire investigator?

Notes:

Module Summary

The fire officer has simple but important responsibilities after suppression efforts end and before a fire origin and cause determination can start.

As a fire starts and progresses through a structure, it will leave many clues for the careful observer. Reading the clues will help one arrive at the point of origin of the fire. Arriving at the point of origin, in turn, will help one to search for the cause of the fire.

To go into a structure fire and start looking blindly for clues will often lead to incorrect conclusions. The officer needs to use a systematic process at every fire. The results should assist in finding the area where the fire started. When the officer finds this point and can determine an accidental cause, his or her inspection task may be completed. If the officer can find the area of fire origin but cannot determine the cause, he or she should have the good sense to request a fire investigator.

Some jurisdictions have the resources whereby a trained fire investigator will respond to every fire. Other jurisdictions will receive assistance only after a preliminary evaluation determines that the fire was not accidental. Regardless, the fire officer plays a very important early role in determining the origin and cause of the fire.

Fire officers and firefighters owe it to the investigator to give him or her all the help possible in the form of observations, evidence, opinions, and reports. Everyone involved needs to remember that the investigation is a team effort and that if the real cause can be determined, it is a win-win situation for all.