Operations

Module 10: Bulk Storage Facility/Tank Farm Simulation Exercise

Test

Name:														Date:

Directions: Circle the letter of the correct answer in the following questions.

- A good rule of thumb for the distance a boilover may travel is 					 times the diameter of the tank.

- 5

- 10

- 12

- 15

- “Certain [of these tanks] have geodetic tops as protective coverings” describes which type of tanks?

- Cone roof tanks

- Open floating roof tanks

- Covered floating roof tanks

- Fixed roof tanks

- Fires burning in PVVs with a yellow or orange flame and emitting black smoke can be extinguished readily with 					.

- A dry chemical

- Cooling water

- Alcohol-resistant foam

- Fuel gas

- have a vapor space between the liquid and the underside of the roof.

- Fixed roof tanks

- Open floating roof tanks

- Cone roof tanks

- Covered floating roof tanks

- Loading asphalt into a tank that contains some water may cause 					.

- Boilover

- Slopover

- Sinking roof

- Frothover