Operations

Module 13: Enclosed Mall Simulation Exercise

Test

Name:														Date:

Directions: Circle the letter of the correct answer in the following questions.

- Mall fires require long attack line stretches. How long?

- 200 to 500 feet

- 200 to 400 feet

- 300 to 500 feet

- 300 to 600 feet

- The best type of preplanning for malls is participation in the planning and construction phases of the project. Ensure that adequate water supply, fire department access, and 					 have been considered.

- Security

- Ventilation

- Fire load

- Life safety

- Most major building codes require building components to be protected. Protection can range from 					.

- 2 to 4 hours

- 1 to 3 hours

- 1 to 5 hours

- 2 to 5 hours

- may allow for rapid, undetected fire spread and require effective search for the fire.

- Breached fire walls

- Maze-like storage rooms

- High-rise structures opening directly into the mall

- Open ceilings

- Place the letter of the term on the right in the blank in front of the phrase on the left that describes it.

False fronts						A.	Roof top dangers

Haz mat							B.	Fire department can control

Class A combustibles			C.	Fire load