Operations

Module 15: High-Rise Simulation Exercise

Answer Key

- Roofs in high-rise buildings are required to have 					 fire-resistive rating.

- At least a 2-hour (SM 15-10)

- A 1- to 3-hour

- A 2- to 4-hour

- At least a 3-hour

- Which of the following statements is false?

- In older buildings, the emergency power may supply only exit lighting in the stair shafts.

- An elevator equipped with firefighter service is a safe elevator. (SM 15-20)

- Safety procedures in high-rise fires include using split-bank elevators that terminate at least five floors below the lowest reported fire floor.

- A good rule-of-thumb is to give the Incident Commander an update every two to three floors during ascent.

- Place the letter of the fire behavior on the right in the blank in front of its description on the left.

C (SM 15-38)	When the fire generates enough heat 			A. Core-construction effect

to break out windows and roll out 				B. Negative stack effect

the fire floor and up the outside of the 		C. Auto extension

building

A (SM 15-39)	When the fire circles behind firefighters,

cutting off their escape route

B (SM 15-38)	When the smoke is pushed down vertical shafts

or settles on floors below the fire

- Normally, staging is located 					 floors below the fire floor to minimize the time-distance factor.

- Two (SM 15-42)

- Three

- Four

- Five

- Place the letter of the style of high-rise construction on the right in the blank in front of its description on the left.

C (SM 15-4)				Upper-level walls tapered				A.	Core

B (SM 15-6)				May have scissor stair shafts			B.	New style

A (SM 15-4 to 15-5)	Stair shafts commonly placed 			C. Old style

in center of steel skeleton