Operations

Module 17: Grain Elevator Simulation Exercise

Answer Key

- “Reinforced concrete, multistory” describes which of the following structures associated with grain elevators?

- Silos (SM 17-4)

- Head house

- Offices

- “Corrugated metal roof and siding” describes which of the following structures associated with grain elevators?

- Silos

- Head house (SM 17-4)

- Offices

- Which of the following structures associated with grain elevators may be of ordinary construction?

- Silos

- Head house

- Offices (SM 17-3)

- When water is used to extinguish a grain elevator fire, it should be applied

.

- Rapidly

- Gently and slowly (SM 17-6)

- In fans from two sides

- Which of the following statements is true?

- Because grain fires generate great heat, locating the seat of the fires is easy.

- In large, stubborn elevator fires, the elevator sometimes is sealed off and CO2 is injected from the top.

- Interior offensive attack is never recommended. (SM 17-6)