Operations

Module 9: Nursing Home Simulation Exercise

Answer Key

- In response to incident cues at a nursing home incident, you may need to establish

.

- A vent group (SM 9-11)

- A triage unit

- A transportation group

- A medical group

- Of the following statements, which is true for Class I standpipe systems in nursing homes?

- They are designed for fire department primary use.

- They provide adequate working pressure.

- Any equipment attached to them is comparable to fire department standards.

- They provide minimal water supply. (SM 9-5)

- Means of egress should be noted in nursing home preplans. What is the minimum number of means of egress required?

- 3

- 2 (SM 9-6)

- 4

- 1

- Of the following types of nursing home construction, which creates the likelihood that the fire will be contained to one floor?

- Type III—Ordinary

- Type V—Wood frame

- Type II—Noncombustible (SM 9-3)

- Type IV—Heavy timber

- Multiple stair shafts are common in many multistory nursing homes. What should you remember about stair shafts?

- Most stair shafts can be used to exhaust smoke from the building.

- Not all stair shafts in the building provide access to the roof. (SM 9-7)

- Conduct fire attack and occupant evacuation from the same stairway.

- Narrow stair shafts make air seals difficult to obtain.