LARGE EXERCISE # 4

Vital Building Information

Situation Report

HEAVY TIMBER – TYPE 4 - MILL CONSTRUCTION

Structure:					Two-Story –Clothing Outlet

Building Construction :			Type 4 –Mill Construction

Roof Construction	Beam and rafter, 1-1/4-inch wooden roof decking, metal roof covering

Floors:	Beam and joist, 2-inch wooden floor decking

Alarm System				Smoke Detectors Installed

Sprinkler:					Basement, 1st and 2nd Floors

Occupants:					Office & Sales Employees

Special Concerns:Heavy Fuel Load

Situation Report:

Fire Building:

It is May 25, 1330 hours, temperature is 75 F, wind from northeast  @ 5 MPH.

Upon arrival, several employees  are outside the building on Sides A. Store manager reports that plumbers were working in the basement repairing a broken water pipe when the fire broke out. The plumbing foreman reported the sprinkler system was shut down for the repairs. One plumber is unaccounted last seen in basement and for one employee working on the 2nd floor is missing.

Exposures: Side B – Two-story retail clothing store – No other immediate exposures