## Slide 1
New Jersey Fire Inspector Certification Program
New Jersey Uniform Fire Code
Fire Inspector Training Program
Based on the ICC IFC-2015 Edition with NJ adopted changes

## Slide 2: Final Adoption of Regulations
After a delay in the regulatory process for hearings on the Great Adventure fire, the Administrative Code (then Title 5, Chapter 18, Uniform Fire Code) was adopted with an effective date of February 19, 1985
The new regulations:
Established regulations for the administration of the Uniform Fire Code
Set a deadline of August 18, 1995 for local governments to adopt the code.
Provided that the fire department opted to have local enforce or transfer to Sate or County.
Notes: Fire Code Enforcement I FIR -107
Entry Class Presentation
2

## Slide 3: New Jersey adopts Code
Legislature Passed the N.J. Fire Safety Act. N.J.S.A. 52:27D-192 et seq.
Gave local fire organization choice of enforcing new code or have State conduct inspections.
Notes: 3

## Slide 4: Development of Administrative Regulations
The Department of Community Affairs was charged with creating a Bureau of Fire Safety and promulgating the Administrative regulations to enforce the new code
In the midst of this process----

## Slide 5: “Retro-fit Code”
Subchapter 4 of the Uniform Fire Code, which dealt with safety upgrades to existing structures, was promulgated with an effective date of June 6, 1986

## Slide 6: State Legislation
In 1984-85 State legislation placed greater emphasis of fire prevention and inspection.
In response to this, public and private fire protection agencies have required fire service personnel to have greater professional knowledge.
This course teaches the student the critical elements of successful fire prevention and & code enforcement using the New Jersey Uniform Fire Code as the base document.
Notes: Fire Code Enforcement I FIR -107
Entry Class Presentation
6

## Slide 7: Responsible State Agency
State of New Jersey Department of Community Affairs (DCA) Division of Fire Safety (DFS) P.O. Box 809 Trenton, N.J. 08625-0809
609-633-6133
Notes: Fire Code Enforcement I FIR -107
Entry Class Presentation
7

## Slide 8: Division of Fire Safety
Division of Fire Safety
List of Offices/Bureau’s
Notes: Fire Code Enforcement I FIR -107
Entry Class Presentation
8

## Slide 9: Division of Fire Safety
Bureau of Fire Code Enforcement (BFCE)
Fire Incident Reporting
Public Education Programs
Fire Code
Fire Department Programs
Local Assistance
Office of Training & Certification
Juvenile Fire setter Program
Notes: Fire Code Enforcement I FIR -107
Entry Class Presentation
9
Go to internet and show DFS page and links

## Slide 10: Assembling the UFC
As a group the students who just received their copies of the Uniform Fire Code of NJ (‘Red Book’) will assemble them.
Those students already possessing copies can assist the students assembling the new books and make sure yours is assembled correctly.
Notes: Fire Code Enforcement I FIR -107
Entry Class Presentation
10
As a group assemble the fire code books. It must be done this way or those in the class who never did this before can a good chance of misplacing pages or putting the book together wrong and you will end up dealing with it during the next few classes. The instructor should lead by taking one of the students books to assemble as leader. While doing this ensure that those students bringing their existing code books to class have all the current updates in them.

## Slide 11: Laws and Regulations
NEW JERSEY STATUES ANNOTATED
( N.J.S.A.)
N.J.S.A. 52:27D-192 et seq. (P.L. 1983, Chapter 382, approved November 12, 1983)
New Jersey Administrative Code
    N.J.A.C. 5:70-1.1 (a) TITLE 5 CHAPTER 70 Sub-chapter 1 SECTION .1 Sub section (a)
Notes: Fire Code Enforcement I FIR -107
Entry Class Presentation
11
Explain that the Statutes represent the law passed by the Assembly and Senate. Once passed the Statutes assigns an agency the responsibility to develop the Administrative code used to implement the law. Example: It is illegal to speed on the New Jersey Turnpike. The code assigns level of offense by MPH over the limit and the penalty for committing an offense. The first white tab goes into the Redbook and the 52 pages of Statutes come next.

## Slide 12: Uniform Fire Code of NJ
N.J.A.C. 5:70 (formerly 5:18)
  N.J.A.C. 5:70-1.1 (Subchapter 1) General Provisions
  N.J.A.C. 5:70-2.1 (Subchapter 2) Administration & Enforcement
  N.J.A.C. 5:70-3.1 (Subchapter 3) Fire Prevention Code
  N.J.A.C. 5:70-4.1 (Subchapter 4) Fire Safety Code (retro-fit code)
Notes: Fire Code Enforcement I FIR -107
Entry Class Presentation
12
Insert the proper tabs and pages to complete the four subchapters of NJAC 5:70. Describe what each section does.
Inform students that tabs may lead or lag start of section unlike a novel where each chapter starts on a new page.
Inform them the page section is also at top right.

## Slide 13: N.J.A.C. 5:71 et seq
N.J.A.C. 5:71-1.1 Subchapter 1 General Provisions
N.J.A.C. 5:71-2.1 Subchapter 2 Enforcing Agencies
N.J.A.C. 5:71-3.1 Subchapter 3 Admin & Enforcement
N.J.A.C. 5:71-4.1 Subchapter 4 Certification of Fire Officials
Notes: Fire Code Enforcement I FIR -107
Entry Class Presentation
13
Insert the proper tabs and pages to complete the four subchapters of NJAC 5:71

## Slide 14: N.J.A.C. 5:72 (High Level Alarms)
N.J.A.C. 5:72-1.1 Subchapter 1 General Provisions
N.J.A.C. 5:72-2.1 Subchapter 2 Administration & Enforcement
N.J.A.C. 5:72-3.1 Subchapter 3 Technical Requirements
Notes: Fire Code Enforcement I FIR -107
Entry Class Presentation
14
Insert the proper tabs and pages to complete the three subchapters of NJAC 5:72

## Slide 15: N.J.A.C. 5:73 Training & Certification
N.J.A.C. 5:73-1.1 Subchapter 1 General Provisions
N.J.A.C. 5:73-2.1 Subchapter 2 Ed. Prog. & Facilities
N.J.A.C. 5:73-3.1 Subchapter 3 (Reserved)
N.J.A.C. 5:73-4.1 Subchapter 4 Firefighter I
N.J.A.C. 5:73-5.1 Subchapter 5 Fire Service Instructor
N.J.A.C. 5:73-6.1 Subchapter 6 Hazardous Materials
N.J.A.C. 5:73-7.1 Subchapter 7 Fire Police Officer Tng.
N.J.A.C. 5:73-8.1 Subchapter 8 Fire Officers
Notes: Fire Code Enforcement I FIR -107
Entry Class Presentation
15
Insert the proper tabs and pages to complete the eight subchapters of NJAC 5:73.

## Slide 16: N.J.A.C. 5:74 Standard for the Certification of Fire Protection Equipment Contractors
N.J.A.C. 5:74-1.1 Subchapter 1 General Provisions
N.J.A.C. 5:74-2.1 Subchapter 2 Admin of Permit & Cert. Prog.
Notes: Fire Code Enforcement I FIR -107
Entry Class Presentation
16
Insert the proper tabs and pages to complete the two subchapters of NJAC 5:74

## Slide 17: N.J.A.C. 5:75 Incident Management System (IMS)
N.J.A.C. 5:75-1.1 – 1.8 Subchapter 1 General Provisions
N.J.A.C. 5:75-2.1 – 2.10 Subchapter 2 Incident Management System
N.J.A.C. 5:75A -1.1 – 1.5 Subchapter 1 General
N.J.A.C. 5:75A-2.1 – 2.7 Subchapter 2 Local and County resource deployment
N.J.A.C. 5:75A-3.1 – 3.7 Subchapter 3 State and Regional Fire Coordination
Notes: Fire Code Enforcement I FIR -107
Entry Class Presentation
17
Insert the proper tabs and pages to complete the two subchapters of NJAC 5:75 and three for 5:75A

## Slide 18: N.J.A.C. 5:76 Residential Disability Identification Emblems
N.J.A.C. 5:76-1.1 Subchapter 1 Purpose and Scope
N.J.A.C. 5:76-1.2 Subchapter 2 Definition of disability
N.J.A.C. 5:76-1.3 Subchapter 3 Residential Emblem application
N.J.A.C. 5:76-1.4 Subchapter 4 Location on dwellings; Removal: enforcement
Notes: Fire Code Enforcement I FIR -107
Entry Class Presentation
18
Insert the proper tabs and pages to complete the four subchapters of NJAC 5:76

## Slide 19: N.J.A.C. Additional Sections/Tabs
FTO
Bulletins
Safety Alerts
Construction Board of Appeals
Once done with base book insert updates oldest to newest
Notes: Fire Code Enforcement I FIR -107
Entry Class Presentation
19
Insert the proper tabs and pages to complete the balance.
Then begin the updates with saving of title page at front of book for each new section update.

## Slide 20: Fire Safety Commission Comprises the following
10 each Groups (Appointed by Governor) *State FMBA *N.J. League of Municipalities *State Fire Chiefs *N.J. Vol. Firemen's Association *Paid Chief 's Assoc. *N.J. Vol. Firemen's Association *N.J. Fire Fighter Assoc. *N.J. Assoc. Fire Districts *Insurance Industry * Chief Admin. of FD w/Pop +100,000
2 each
2 each
9 each
State Senate
State Gen. Ably
State Citizens
Appt by Sen Pres. - shall not be from same political party.
Appt by Ably Spkr - shall not be from same political party.
Appt Jointly by Speaker and Senate President.
*Vol. Fire Org. *Construction Labor Org. *Fire Insurance *Construction Industry
*IAFC *Municipal Construction Official
*NJ Apartment Association or Rental Housing
*Rep. N.J. State Fire Prev. & Protect Assoc.
*Fire Suppression Installer or manufacturer
Notes: Fire Code Enforcement I FIR -107
Entry Class Presentation
20

## Slide 21: ADVISORY COUNCILS
Codes Advisory
Training & Certification
Information & Statistics
Master Planning & Research
Public Education
Firefighter Safety & Health.
Juvenile Firesetter Prevention
Notes: Fire Code Enforcement I FIR -107
Entry Class Presentation
21
Explain that these councils meet every other month. Each is chaired by a Fire Commission member. Each reviews , updates or adds material which is recommended to fire safety commission. THERE IS NO MANDATORY ADOPTION at these counsels.

## Slide 22: How does this all Work
Lets take a look !!!!
Notes: Fire Code Enforcement I FIR -107
Entry Class Presentation
22

## Slide 23: Building Codes & Fire Codes
In NJ there are two different and distinct codes enforcement groups.
DFS
Div. of Fire Safety
Commissioner
Dept. of Community Affairs
DCS
Div. of Codes & Standards
UCC
UFC
Notes: Fire Code Enforcement I FIR -107
Entry Class Presentation
23

## Slide 24: UNIFORM CONSTRUCTION CODE OF NJ (UCC-NJ)
The Uniform Construction Code of New Jersey was designed and intended to:
To encourage innovation and economy in construction and materials consistent with recognized standards.
To formulate such requirements to the extent practicable in terms of performance objectives.
To permit the use of modern technical methods, devices and improvements, including pre manufactured systems, consistent with the requirements for health, safety and welfare of the occupants of a building or structure.
To eliminate restrictive, obsolete, conflicting, and unnecessary construction regulations.
To ensure adequate maintenance of buildings and structures throughout the state.
To protect the health, safety and welfare of people and to eliminate unnecessary duplication of effort and fees.
Effective 1 January 1977. A date which will be very important as we move further in the course
Notes: Fire Code Enforcement I FIR -107
Entry Class Presentation
24
UCC Intent and design. Effective 1 January 1977 A date which will be very important as we move further in the course

## Slide 25: UNIFORM FIRE CODE OF NJ
The intent and purpose of the Uniform Fire Code is:
1. All area’s of the State are protected by a Uniform minimum Fire Safety code which will protect the lives and property of its citizens.
2. Uniform throughout and adequate funded for fire safety inspections, to protect the public in building and uses which pose a serious life hazard.
3. To provide penalties for violators that are swiftly assessed and consummate to the gravity of the offense.
Notes: Fire Code Enforcement I FIR -107
Entry Class Presentation
25

## Slide 26: Connecting the terms
Fire hazard – the target
Fire Prevention – preventing and controlling the fire hazard
Fire Protection – built in construction features to reduce the effects of fire
Fire Inspector – the person connecting the three items together by recognizing the hazards and applying the “E’s” of fire prevention.
Notes: Fire Code Enforcement I FIR -107
Entry Class Presentation
26
Self explanatory. See the next slide for the “E’s”.

## Slide 27: General Terms
Life Hazard Uses Non-Life Hazard Uses Fire Safety Permits Inspections Complaints Violation Notice(s) Verbal warning Written Notices Forms Records Investigations Fire Reports Suppression Fire Wall Fire Separation Wall Ordinance Flash Point temp. Ignition temperature Flammable Combustible Fire Official Fire Inspector UCC UFC
Notes: Fire Code Enforcement I FIR -107
Entry Class Presentation
27

## Slide 28: General Terms UCC
Sub-codes
Use group(s)
Fire Sub-code Official
Fire Inspector (UCC)
Construction Official
Sub-code Official
Notes: Fire Code Enforcement I FIR -107
Entry Class Presentation
28
These specific term are to be explained and apply to the Uniform Construction Code . However, being the UCC is so closely akin to the UFC-NJ it is important to note these terms as they apply. The UCC field inspector for fire subcode may be termed fire inspector.

## Slide 29: Four (4) E's of Fire Prevention
Education
Enforcement
Experience
Engineering
When it is all said an done - It comes down to the following
Education
Enforcement
Experience
Engineering
This course we will concentrate on Education
Notes: Fire Code Enforcement I FIR -107
Entry Class Presentation
29

## Slide 30: Summary
In this Module we have discussed:
Course Parameters
Grading policy
Code History
NJ State Legislature
Uniform Construction Code-NJ
Basic Fire Science
Terms
Testing
Notes: Self explanatory

## Slide 31
END OF MODULE
Homework as stated in Student Manual