STATE OF NEW JERSEY
DEPARTMENT OF COMMUNITY AFFAIRS

DIVISION OF FIRE SAFETY

FIRE INSPECTOR CERTIFICATION COURSE

Student Manual

Module 1

Course Introduction and

History of Code Enforcement

in cooperation with

Kean University Fire Safety Training Program

Module 1, Part I

Course Introduction and Overview

Welcome

Welcome to the New Jersey Fire Inspector certification program. This program was developed under a contract with Kean University’s Fire Safety Training Program under direction of the New Jersey Division of Fire Safety.  Successful completion of this program and passing the the New Jersey State Fire Inspector examination, is required to obtain certification as a New Jersey Fire Inspector under the UFC-NJ.

Course Overview

The course consists of 93 contact hours broken down into 20 modules varying in length from 3 to 6 hours, all presented in 3 hour blocks.

Parameters for Successful Course Completion and Certification

- Attendance: 100% attendance is required

- Class participation

- Quizzes: 100% submission

  - All quizzes are take-home and open book

  - Each quiz is due at the next class meeting.  Quizzes turned in late will result in a grade no higher than 50%

- Worksheets: 100% submission

  - All worksheets are take-home and open book

  - All worksheets are due at the next class meeting. Worksheets turned in late will result in a grade no higher than 50%

- Class paper/research project (as directed by Course Coordinator)

- Successful completion of course final examination (as directed by Course Coordinator)

  - Course Final examination is open book. All notes, binders & information sheets may be used

  - A grade of at least 70% correct is required to pass the examination

- Successful completion of New Jersey State Fire Inspector examination

Course Materials 
The following course materials are required:

- NJ Uniform Fire Code

- International Fire Code 2015 edition (with New Jersey amendments)

- IFSTA Fire Inspection & Code Enforcement (8th edition)

- NJ Fire Inspector Curriculum Student Manual (provided)

- NJ Uniform Construction Code (chapters 9 and 10)

Suggested Course Materials and References

The following materials and references will be cited during the instructional program.

Publications

- National Fire Protection Association (NFPA) standards

- NFPA Fire protection handbook (18th edition or newer)

- NFPA Standard 1031, Fire Prevention Inspector

- Firefighter’s Handbook, Essentials of Firefighting & Emergency Response, New Jersey Edition

- NJ Firefighter’s Handbook, Addendum (available online at http://www.nj.gov/dca/dfs/

- Jones and Bartlett Fundamentals of Fire Fighter Skills

These materials may be purchased or viewed at locations such as the following:

- College Campus or Fire Academy Library

- NJ State Library

- Fire Station Library

- National Fire Academy Learning Resource Center

On-line resources (all http://www.)

- IAFC.org

- IAAI.org

- State.nj.us

- FEMA.gov

- EPA.gov

- Phmsa.dot.gov/hazmat

- OSHA.gov

- NFPA.org

- NIST.gov

- ICC.org

- FM.org

- CR.com

- UL.org

COURSE OBJECTIVES

General

The design of this course is to provide fire service personnel both volunteers, career service, and non fire service personnel with an understanding of fire prevention, fire code enforcement and EDUCATION.

Specific Objectives

The student will be able orally, in writing, and/or in practice be able to:

- State the basic theory of fire prevention and code enforcement.

- Trace briefly, the history of fire prevention and code enforcement.

- Specify the major types of building construction and use groups classification with special reference to the N.J. Uniform Construction Code and identify the fire hazards common to all and unique to each.

- List the functions of various life safety systems of buildings including but not limited to, means of egress, suppression systems, fire detection and warning devices.

- Recognize whether or not life safety systems of buildings are properly installed, regularly tested, and adequately maintained.

- Specify and apply inspection procedures germane to special occupancy buildings including, but not necessarily limited to, schools, multiple dwelling units, hotels, boarding houses, nursing homes and places of assembly.

- Have technical competency in the subject areas specified in the N.J. Administrative Code N.J.A.C. 5:70 to enforce the N.J. Uniform Fire Safety Code at the local level.

- Have administrative skills to enforce the N.J. Uniform Fire Code at the local level.

- Receive credit toward N.J. Dept. of Community Affairs (DCA) certification as a fire inspector pursuant to the Uniform Fire Safety Act.

- List the types of building, facilities, and uses subject to the N.J. Fire Safety Code "Retro Code“.

- Apply the procedures for the safe use and maintenance of facilities, building, and uses subject to the N.J. Uniform Fire Code.

- Recognize materials which pose special fire hazards including, but not necessarily limited to, cellulose nitrate products, compressed gases, explosives and fireworks, flammable liquids and radioactive materials.

- Recognize and applications of fire safety permits for storage and use of specific materials and activities.

- Apply the procedure for safe handling of high hazard materials.

- Recognize materials which pose special fire hazards including, but not necessarily limited to, cellulose nitrate products, compressed gases, explosives and fireworks, flammable liquids and radioactive materials.

- Recognize and applications of fire safety permits for storage and use of specific materials and activities.

- Apply the procedure for safe handling of high hazard materials.

CLASS SCHEDULE

| Total Time | Module Time | Subject |
| --- | --- | --- |
| 6 hrs. | 6 hrs. | Module 1 - Introduction & History of Code Enforcement - Course Materials - Grading - Attendance - Quiz’s & Testing - History of Fire Prevention/Code Enforcement - Basic fire chemistry - Video |
|  |  | - Overview of DFS and Codes and standards - Code Book Assembly |
| 9 hrs. | 3 hrs. | Module 2 - The Theory of Fire Code Enforcement - Building and Fire Codes - Building Classifications - Code applications |
| 12 hrs. | 3 hrs. | Module 3 - Code Administrative requirements - Classification of Use Groups - Model Codes, Adopted Code, Reference Codes - UFC-NJ Use Groups, Life Hazard Uses - Relation to Building Code - UCC Regulations & Sub-codes |
| 15 hrs. | 3 hrs. | Module 4 - Legal Aspects of Fire Prevention - N.J.S.A. Uniform Fire Safety Act Statutes - N.J.A.C. Introduction 5;70-1 & 2 & 5;71-3 - Case Law - Case Studies |
| 18 hrs. | 3 hrs. | Module 5 - Referenced Standards - Difference between a code and a standard - When to apply referenced standards - How to apply NFPA reference standards - Breakdown of a NFPA Standards, Guides & Manuals - Overview of NFPA Standards, ANSI, ASME, NIOSH, BOCA, ICC |
| 21 hrs. | 3 hrs. | Module 6 - Inspection Overview - Ethics and demeanor - Pre-inspection preparation - Right of entry and methods - Interviewing - Documentation methods - On-site record reviews - Sampling and testing - Report content - The inspector as a witness |

| Total Time | Module Time | Subject |
| --- | --- | --- |
| 27 hrs. | 6 hrs. | Module 7 - Building Construction & Plan Review - Types of construction as listed in the IBC - Height and area limitations in the IBC - Fire resistance ratings - Methods of fire resistance rating IBC - Continuity of ratings - Truss construction concepts - Types of loads (dead, live, fuel) - Load carrying design of beams and columns - Recognizing deficiencies in construction - Types of plans: (A) Site plans; (F) Floor plans (B) Plot plans; (G) Electrical plans (C) Architectural plans; (H) Views (plan, elevation, sectional, detail) (D) Mechanical plans; (I) Sprinkler system plans (E) Foundation plans |
| 33 hrs. | 6 hrs. | Module 8 - General Fire/Hazard Recognition - Equipment, Processes and Storage are discussed - Special events, Opening Burning/Bonfires are examined. - Housekeeping Practices, Issuance and Permit Inspection - Principals of Electrical hazards, Static, Dielectric, Resistance |
| 39 hrs. | 6 hrs. | Module 9 - Occupancy Loads/Means of Egress - Purpose & Importance - Historical perspectives - Components, Terms, Application - Calculations |
| 45 hrs. | 6 hrs. | Module 10 - Fire Protection Systems - Fire Sprinkler Systems - Standpipe Systems - Water Supplies and Testing - Fire Pumps |
| 48 hrs. | 3 hrs. | Module 11 - Fire Protection System Code Requirements - A general review of water based protection systems - Code requirements pertaining to them is examined - UCC-NJ various adopted codes and relationships are examined |
| 54 hrs. | 6 hrs. | Module 12 - Hazardous Materials - Basic hazardous material chemistry - Physical hazards definitions and examples - Health hazards definitions and examples - Research materials and MSDS - Relationship to, USEPA, USDOT & NJDEP regulations - Containment systems and methods - Discharges and local response protocols (Review of DEP-NJ rules) - State Fire Prevention Code Requirements |
| 60 hrs. | 6 hrs. | Module 13 - Specific Operations - Fire Works - Explosives - Sleep overs - Paint Spraying - Welding & Cutting - Applications of Flammable/Combustible liquids |

| 66 hrs. | 6 hrs. | Module 14 - Retrofit Code - History of the Retrofit provisions; - NFPA Life Safety Code 101 background; - Relationship to the UCC; - When Retrofit applies; - Historic structures; - Fire protection plans; and - Specific Subchapter 4 requirements |
| --- | --- | --- |
| 69 hrs. | 3 hrs. | Module 15 - Inspection Skills & Tools - Types of inspections; - Purpose of inspections; - Applying the “Three Es” of fire prevention; - Inspection equipment and tools; - Inspector health and safety; and - Issuing violation notices; |
| 75 hrs. | 6 hrs. | Module 16 - Practical Evolutions - Students to be taken on a guided field inspection of a multi occupancy structure (or multiple structures of various uses). Students are to apply observation and documentation skills. Students are to identify hazards and verbally describe code problems. Exact citations not required during this evolution and instructor is to reinforce observations and point out hazards missed; - Students are to be provided a guided inspection of a fire sprinkler system including main drain and inspector test outlet flows; - Students are to be provided a guided inspection of a fire pump installation; and - Students are to conduct hands-on water flow tests |
| 78 hrs. | 3 hrs. | Module 17 - Current Code Changes - Utilizing material from current Code Update Seminar, as provided by the Division, review current code issues and changes with the students - CEU Program requirements |
| 81 hrs. | 3 hrs. | Module 18 - Fire Investigation - Review duties of fire officials to investigate fires; - types of investigations - Basic fire investigation techniques; - Scene approach and documentation; - Interviewing victims, witnesses, and responders; and - Preserving evidence, legal aspect of evidence collect, working with other agencies. Requesting assistance. - Documentation processes |
| 87 hrs. | 6 hrs. | Module 19 - Terrorism Awareness - Overview of Terrorism - History - Intelligence gathering - Situational Awareness - Hazardous Materials & CBRNE Awareness - Visual indicators of production - Clan lab hazards, types and clean-up - Pro, Con’s & Ramifications of becoming an agent for Law Enforcement |
| 90 hrs. | 3 hrs. | Module 20 – Emergency Planning and Preparedness - Classroom review of slides representing hazards/violations with students identifying the problem and providing exact code citations to support conclusion - Large loss or multiple fatality fire code history analysis - Legal Liability - Relationship to other government agencies - LEA operations - Local government operations - Use of the internet |
| 93 hrs. | 3 hrs. | Final exam |
| 97 hrs. | 4 hrs. | Ride-a-long (optional) |
| 97 hrs. |  | Total hours |

Module 1, Part II

Theory of Fire Code Enforcement

Student Performance Objective (SPO):

- SPO-1	The student will properly complete the registration/order forms.

- SPO-2	The student will understand the course completion requirements.

- SPO-3	The student will have in his/her possession the course materials.

- SPO-4	The student will possess and understand the course syllabus.

- SPO-5	The student will properly assembly of the UFC ‘Redbook’.

- SPO-6	The student will shall define the path of legal authority.

- SPO-7	The students shall define fire hazard, fire prevention and fire protection.

- SPO-8	The student shall identify the difference between a code and a standard.

- SPO-9	The student shall identify the knowledge needed as a Fire Inspector.

Module Outline

Module 1: Introduction & History of Code Enforcement

- History of Fire Prevention & Code Enforcement

    - Ancient Rome

    - Early Fire Prevention Efforts

  - History of fire in the United states

    - History of fire in New Jersey

  - Development of NJ Uniform Fire Code

  - Basic terms

- Basic Fire Chemistry

    - Fire triangle fire tetrahedron

    - Heat sources

    - Methods of heat transfer

History of Fire prevention

Fire has been available to man since prehistoric ages.  Through the years, we have become dependent upon it for fuel, manufacturing and warmth. It is one of life's most essential elements.

But fire has its other side.  Fires devastate towns, buildings (both public and private), factories (and therefore, jobs) and most important of all, people.  Today, many people work or live in high-rise buildings above the reach of conventional fire department equipment and are surrounded by an environment made of synthetics that are so subject to rapid thermal breakdown that the resulting gases and fumes have often proven to be the fatal factor.

Fire prevention dates back to about 300 B.C. in Rome.  History records that a bank of slaves called the Familia Publica were assigned the duty of watching for fire from atop the walls of the city.  This type of "fire watch" continued until 14 A.D.

The first known fire department emerged under the rule of Caesar Augustus (27 B.C. -14 A.D.).  There were squads of between 100 and 1000 men known as the Corps of Vigiles and each man had a particular task.  The battalion chief at that time was called the fire centurion or Praefectus Vigilum.  He was the equivalent of our modern day fire chief.  When a fire occurred, Roman law dictated that the cause and responsibilities of the parties involved be determined.  The forerunner of the present day fire marshal, the Quarstinnarius, was assigned the duty of investigating and determining the cause and who was at fault.  Due to the penalties under the law, the Quarstinnarius was both feared and respected by-the community.

However, despite early firefighting and prevention efforts, devastating fires have recurred throughout history.  In 59 A.D., the famed Emperor Nero supposedly fiddled as Rome burned to the ground and hundreds of lives were lost.  The London fire of 1212 killed over 3,000; and, in 1570, over 200,000 people lost their lives to fire in Moscow, in 1623, Plymouth Colony was nearly destroyed by fire, and forty-three years later, in 1676, the Virginia Colony of Jamestown was destroyed by fire.

It has been said that "in the realm of fire, 'the law' is a thing mothered by necessity and sired by great tragedy." The fire protection history of the United States certainly supports that statement.

As early as 1785, the city of Reading, Pennsylvania passed a city ordinance that imposed a fine for each chimney fire that occurred within the city limits.  The revenue collected was turned over to the fire department for operational expenses.  In 1888, Milwaukee, Wisconsin passed its first fire prevention requirements after a series of tragic fires in places of assembly.

The great Chicago fire of 1871 devastated the entire city. Fire Prevention Week is held during October of every year in remembrance of that tragedy.  On December 30, 1903, a fire in Chicago's Iroquois Theater took the lives of 603 persons.  This prompted public concern for safety in the places of assembly and was the beginning of code requirements governing stages, scenery and similar materials and construction.

The heavy death toll in the Triangle Shirtwaist Factory fire in New York in 1911, where 145 people were killed, was the result of women workers being locked on the upper floors of the building so the management could control pilferage.  People either died next to their work spaces or jumped to their deaths.  The interior standpipes and hoses were rotten and completely ineffective.  The factory owner escaped and was later criminally charged; but he was acquitted when he proved that he was not aware of the practice of locking exit doors during the search for merchandise being removed from the premises.  This fire certainly indicated a deficiency in the enforcement and adoption of minimum codes and standards to protect the public and the community from the ravages of fire.

The infamous Coconut Grove Fire of 1942 took the lives of 492 persons -the results of a combination of flammable decorations, inadequate exitways and overcrowding. Thus, came the promulgation of codes controlling occupancy loads; travel distance; the location, size and use of exits; and prohibiting flammable decorations in places of assembly.

This chain of events can be brought into current perspective by considering the 1977 Beverly Hills Supper Club fire in Kentucky where 167 persons lost their lives.  The lack of automatic sprinkler protection, overcrowding and insufficient and improperly designed exitways all contributed to this tragic toll.

As a result of the Chicago fire, the National Bureau of Fire Underwriters (NBFU), an organization representing many insurance companies, promulgated the first modern fire prevention and building construction code in 1874.  Though it was deficient by today's standards, it called for more restrictive building regulations, establishment of a fire prevention bureau and the reorganization of fire departments to remove political influence, improve equipment and establish discipline.  It must be remembered that these first "model codes" were for the benefit of the insurance industry in conserving property and therefore protecting their financial interests.  Life safety was not considered to be a paramount part of these first codes.

The history continued within our own State of New Jersey. Bradley Beach in 1980, Keansburg in 1981, both of which led to the formulation of the New Jersey Fire Safety Study Commission and the ultimate enactment of our Uniform Fire Safety Act in 1983. In 1984 before we could enact the new Uniform Fire Code we suffered the losses from the Great Adventure Fire. And though we adopted stringent fire safety standards and mandated inspections we suffered another fire tragedy as recently as 2000 with the Seton Hall dormitory fire which led to the enactment of mandatory fire suppression for dormitories and boarding schools.

# Keansburg, NJ Boarding Home Fire, Jan 1981

Submitted by Stu Beitler

- New Jersey | Fires | 1981

NEW JERSEY BOARDING HOME FIRE KILLS 13, OTHERS MISSING

KEANSBURG, N. J. (AP) -- Fire roared through a two-story brick boarding home in this central New Jersey community before dawn today, and Middletown Fire Chief RICHARD O'SHAUGHNESAY said at least 13 people were killed.

As you progress through this program and learn the provisions of the New Jersey Uniform Fire Code keep in mind you are studying a history book. Each section of code was developed out of the ‘history of fire’. In other words, damage, injury and/or death occurred giving us the basis to request adoption of provisions to prevent it from happening again.

NEW JERSEY DIVISION OF FIRE SAFETY

NEW JERSEY DEPARTMENT OF COMMUNITY AFFAIRS

DIVISION OF FIRE SAFETY

PO BOX 809

TRENTON NEW JERSEY 08625-0809

ADMINISTRATION

Programs

- Responsible for Administration of Division

- Local Enforcement Agency Rebates

- Volunteer Emergency Service Organization Program

- Automated External Defibrillator Grant Program

- Legislative & Regulatory Services

BUREAU OF FIRE DEPARTMENT SERVICES

Programs

- Office of Training & Certification

  - To provide statewide educational and training programs relating to fire protection, fire prevention, fire safety inspection, and to certify fire officials/fire inspectors who enforce the uniform fire code. Additionally, over 150 continuing education seminars are available annually. The office also develops training standards for various positions within the fire service and makes available training programs leading to certification in those positions. Continuing education programs are also available to individuals holding certain certifications. This program also offers National Fire Academy Training courses covering all aspects of firefighting.

  - To provide statewide educational and training programs relating to fire protection, fire prevention, fire safety inspection, and to certify fire officials/fire inspectors who enforce the uniform fire code. Additionally, over 150 continuing education seminars are available annually. The office also develops training standards for various positions within the fire service and makes available training programs leading to certification in those positions. Continuing education programs are also available to individuals holding certain certifications. This program also offers National Fire Academy Training courses covering all aspects of firefighting.

- Fire Department Programs

  - Responsible for performing investigations into serious injuries or death of a firefighter in the line of duty and publishing the findings in a formal report. Additionally, this unit works with the Juvenile Firesetter Committee in the research and development of a statewide policy for preventing juveniles from setting fires, along with educating the public and the fire service about the problem.

  - Also, in cooperation with the Department of Treasury, Purchase Bureau, develops specifications for firefighters' protective clothing and equipment for inclusion on the State Cooperative Purchasing Contract. This ensures fire departments that protective clothing purchased from the contract meets the standards established in the Public Employees Occupational Safety and Health Act.

- Community Risk Reduction

  - Increases public awareness of fire safety by developing educational fire safety materials such as brochures, flyers, posters and booklets for distribution to schools, fire departments and the general public. Develops specific fire safety programs for schools, preschools and senior citizens; publishes a newsletter for members of the fire service and other individuals and organizations interested in fire safety; administers the VESO program, which provides loans to New Jersey Fire departments; and helps coordinate an annual fire safety poster contest for school children throughout the state.

- National Fire Incident Reporting System (NFIRS) Unit

  - To administer a statewide fire incident reporting system that also serves as a central depository for the National Fire Incident Reporting System. Participating fire departments report emergency incidents in a standardized format that is passed on to the United States Fire Administration to be included in national statistics and analysis. The unit also analysis statewide data to identify trends and publishes an annual report titled "Fire in New Jersey."

- Fire Department Preparedness

  - The Office of Fire Department Preparedness coordinates and plans for the deployment of fire service resources throughout New Jersey and when requested by other states or federal agencies. The OFDP will facilitate a safe and efficient response to any emergency incident or event that requires the deployment of New Jersey's fire service resources in order to protect life and property from the danger or destruction by fire, explosion or other disasters."

  - Assist local fire departments and County Fire Coordinators in developing and refining mutual aid plans.

  - Respond to major emergencies throughout the State and region. Staff State, County and Local EOC's when requested.

- Contractor Certification & Emblem Unit

  - Issue certifications to contractors performing work in the following areas

    - Sprinklers

    - Fire alarms

    - Special Hazards

    - Portable extinguishers

    - Kitchen suppression systems

  - Issue special emblems for homes to indicate oxygen use and presence of person(s) with disabilities

Contacts

Bureau Chief								609-324-7336

Office of Training & Certification					609-324-7336

Certification							609-324-7336

Fire Fighter 1 Testing 					609-324-7336

Fire Service Women of NJ 					609-324-3645

Live Burn Certification 					609-324-7336

Fire Investigations							609-324-7336

Emergency notification					877-653-4737

Fire Department Preparedness					609-394-7336

Emergency notification					877-653-4737

NFIRS Unit								609-324-7336

FIRE INCIDENT REPORTING LINE 			800-877-NJFIRES

Contractor Certification						609-324-7336

Disability & oxygen emblems  				609-324-3560

Public Education							609-324-7336

Poster Contest 						609-324-7336

Juvenile Firesetters Program					609-324-7336

Juvenile Firesetters Hotline			800-357-5230

Smoke Detector Program						609-324-7336

Bureau Fax	 							609-324-8493

Bureau of Fire Code Enforcement

Programs

- Fire Code Services

  - To provide technical assistance to fire officials/fire inspectors involved in the enforcement of the Uniform Fire Code and Regulations for Fire Code Enforcement.

- Inspections

  - To enforce the Uniform Fire Code in municipalities that do not elect to establish local enforcement agencies. The bureau is responsible for the inspection of high-rise and life hazard use buildings/structures when the Department has retained direct enforcement authority.

- Life Hazard Use Registration

  - To register high-rise and life hazard use buildings/businesses to facilitate the inspection and enforcement of the Uniform Fire Safety Act. Records of these structures are maintained and lists distributed to local enforcement agencies. The program collects fees from life hazard use owners and establishes criteria to disburse funds to local agencies enforcing the Uniform Fire Code Regulations.

- State Building Fire Safety Unit

  - To supervise fire prevention and protection programs in all state-owned, state-leased, and state-occupied structures, including the training and orientation of firefighting personnel and other employees engaged in the prevention and control of fire.

- Regulatory Affairs

  - To provide guidance regarding local enforcement of the Uniform Fire Safety Act and implementing regulations. Oversee local agency operations and conduct routine monitoring, as well as investigations of alleged administrative violations of the Act. Undertake appropriate corrective enforcement action when problems or violations are discovered. Maintain quarterly registry of agencies having jurisdiction within each municipality in the state.

Contacts

Bureau Chief								609-633-6131

Inspections								609-633-6132

Team North – Code Inspections					609-633-6741

Team Central – Code Inspections					609-633-6103

Team South – Code Inspections					609-984-1478

Local Assistance							609-633-6130

Life hazard Registration						609-633-6144

Permits—carnivals/events						609-633-6132

Smoke detector certifications					609-633-6132

Bureau Fax								609-633-6330

Module 1: Key terms

| Life Hazard Uses | Fire Safety Permits | Complaints | Violation Notice(s) |
| --- | --- | --- | --- |
| Verbal warning | Forms | Investigations | Non-Life Hazard Uses |
| Suppression | Fire Separation Wall | Flash Point temp. | Ignition temperature |
| Flammable | Inspections | Construction official | Sub-code official |
| Combustible | Ordinance | Fire Official | Fire Inspector |
| Fire Wall | Subcodes | Use Group | Records |
| UFC | UCC | Written Notices | Fire Reports |

REVIEW QUESTIONS

- Name the three (3) sides of the fire triangle

- Define the term FIRE

- UFC means

- Define fire prevention

- Define fire suppression

- N.J.A.C means

- The fire prevention code is also known as Sub-chapter ____

- Rapid oxidation which is often characterized by the presence of _______ and  _________ is called __________.

- Define flash point temperature:

- Define fire point

- Define ignition temperature

- Specific gravity is the measurement of a material in relationship to AIR   T  or  F.

- Vapor Density is the unit of measurement of a material in relationship to WATER

  - T  or  F

- Define flammable liquid

- Define combustible liquid

- Define pyrophoric carbonization:

- Heat maybe transferred by what methods?

HOMEWORK ASSIGNMENTS

This work is to be completed by the next class.

Readings:

- IFSTA Fire Inspection & Code Enforcement, 8th Ed. Chapter 3

- N.J.A.C. 5;70 1.0 & 2.0 et seq.

Assignment

List on the printed sheet and bring to the next class 10 Buildings and/or structures in your town or around your home, fire station, or work. List the name, Address and what they do (Auto repair body shop, retail sales, business office)

Assignment #1

Name________________________________________________

| 1 | Building name | Address |
| --- | --- | --- |
|  | Description of use, approximate square ft. |  |
| 2 | Building name | Address |
|  | Description of use, approximate square ft. |  |
| 3 | Building name | Address |
|  | Description of use, approximate square ft. |  |
| 4 | Building name | Address |
|  | Description of use, approximate square ft. |  |
| 5 | Building name | Address |
|  | Description of use, approximate square ft. |  |

Assignment #1

Name________________________________________________

| 6 | Building name | Address |
| --- | --- | --- |
|  | Description of use, approximate square ft. |  |
| 7 | Building name | Address |
|  | Description of use, approximate square ft. |  |
| 8 | Building name | Address |
|  | Description of use, approximate square ft. |  |
| 9 | Building name | Address |
|  | Description of use, approximate square ft. |  |
| 10 | Building name | Address |
|  | Description of use, approximate square ft. |  |