STATE OF NEW JERSEY
DEPARTMENT OF COMMUNITY AFFAIRS

DIVISION OF FIRE SAFETY

FIRE INSPECTOR CERTIFICATION COURSE

Module 10

Fire Protection Systems

in cooperation with

Kean University Fire Safety Training Program

Time: 6 hours the module should be presented in 2 –3hour blocks: Additional 3 hour block for part 3 is optional

Teaching/Learning Level: Cognitive- knowledge, comprehension, application.

## Learning/Teaching Aids:

- Syllabus

- Board/easel pad

- Chalk/markers

- PC/laptop

- Projection unit

- Projection screen

- Power Point presentation

- New Jersey Uniform Fire Code NJAC 5:70-1 et seq.

- NJ-IFC 2015 International Fire Code

- ICC NJ UCC adopted Code IBC 2015 edition

- IFSTA ‘Fire Inspection and Code Enforcement’ 8th ed.

- NFPA Automatic Sprinkler Systems Handbook

- NFPA Fire Pump Handbook

- NFPA National Fire Alarm Code Handbook

- NFPA Fire Alarm Signaling Systems

- Student Manual

Behaviors to Foster

Encourage students to listen carefully, take notes and to actively participate by asking questions and offering experiences that will foster discussion during lectures. It is imperative that they absorb and retain as much information as possible to assist them in having a solid foundation of knowledge for application in this field as well as successfully completion the exam for this course and the State Certification exam.

Tasks:

- Understanding basic automatic fire sprinkler system design and components.

- Understanding of fire protection standpipe system design and components.

- Understanding water supplies and fire flow tests.

- Understanding fire pumps testing and components.

- Understanding basic fire alarm system design and components.

- Understanding fire suppression/protection system alarm monitoring

- Understanding commercial kitchen exhaust hood protection systems.

- Understanding the basics of smoke removal systems.

- Understanding the size and placement of fire extinguishers.

Given in a classroom setting:

- The student handout

- New Jersey Uniform Fire Code NJAC 5:70-1 et seq.

- NJIFC –2015 International Fire Code

- NJ UCC adopted Code IBC 2015 edition

- IFSTA ‘Fire Inspection and Code Enforcement’ 8th ed., Chapters 11,12,13 & 14 and Power Point presentation

Standards:

- NJAC 5:70-1 et seq.  Uniform Fire Code

- NJAC 5:23-1 et seq.  Uniform Construction Code

- NFPA 10-11	Portable Fire Extinguishers

- NFPA 12-11 Carbon Dioxide Extinguishing Systems

- NFPA 12A-09 Halon 1301 Fire Extinguishing Systems

- NFPA 13-13 Installation of Sprinkler Systems

- NFPA 14-13 Installation of Standpipe and Hose Systems

- NFPA 17-13 Dry Chemical Extinguishing Systems

- NFPA 17A-13 Wet Chemical Extinguishing Systems

- NFPA 20-13 Installation of Centrifugal Fire Pumps

- NFPA 22-13 Water Tanks for Private Fire Protection

- NFPA 24-13 Installation of Private Fire Service Mains

- NFPA 25-14 Inspection, Testing and Maintenance of Water-Based Fire Protection Systems

- NFPA 72-13 National Fire Alarm Code

Prerequisite Knowledge: Module 7

Prerequisite Skills: Ability to listen effectively; follows directions; take notes; and retain knowledge.

## Resources/References:

- New Jersey Uniform Fire Code NJAC 5:70-1 et seq. ICC NJ UCC adopted Code IBC 2015 edition

- IFSTA ‘Fire Inspection and Code Enforcement’ 8th ed.  Chapters 11,12,13&14. NFPA Automatic Sprinkler Systems Handbook

- NFPA Fire Pump Handbook

- NFPA National Fire Alarm Code Handbook NFPA Fire Alarm Signaling Systems

- Student Manual

## Attention: (Call to Order)

Motivation: (State Need to Know)

(A reminder to instructors; it is best if the instructor uses an example from a recent or current event that is pertinent to the lesson. In this case you can refer to the need to understand the basics of the systems and their components in order to apply the maintenance provisions of the UFC.)

## Student Performance Objective (SPO):

- SPO-1 The student will have an understanding of fire sprinkler systems and their components. SPO-2 The student will have an understanding of fire standpipe systems and their components. SPO-3 The student will understand how to conduct and interpret fire flow water supply tests. SPO-4 The student will have an understanding of fire pumps and their components.

- SPO-5 The student will have an understanding of fire alarm systems and their components. SPO-6 The student will have an understanding of alarm system monitoring methods.

- SPO-7 The student will have an understanding of commercial kitchen exhaust hood protection systems.

- SPO-8 The student will have an understanding of smoke control systems.

- SPO-9 The student will have an understanding of fire extinguisher sizing and placement.

## Enabling Objectives (EO):

- EO 1-1-1   Working from the Power Point presentation and the listed standards, resources and references, provide the student with graphic representation of fire suppression systems and components while explaining their functions and limitations.

- EO 1-1-2   Working from the Power Point presentation and the listed standards, resources and references, provide the student with graphic representation of fire standpipe systems and components while explaining their functions and limitations.

- EO 1-1-3      Working from the Power Point presentation and the IFSTA ‘Fire Inspection and Code Enforcement’ 8th ed. Chapter 11, explain how to conduct fire flow tests and how to interpret the results.

- EO 1-1-4   Working from the Power Point presentation and the listed standards, resources and references, provide the student with graphic representation of smoke control systems and components while explaining their functions and limitations.

- EO 1-1-5      Working from the Power Point presentation, the IFSTA ‘Fire Inspection and Code Enforcement’ 8th ed. Chapter 13 and NFPA 10-14, provide the student with graphic representation of portable fire extinguishers and review the sizing and placement of same.

## Overview/Main Points:

- Fire inspectors must have a basic understanding of the design of fire protection and suppression systems and their components to be able to recognize impairments.

- The fire inspector must know how perform a fire flow test and to interpret the results of the flow test.

- The fire inspector must have a basic understanding of the design, function and components of fire alarms systems and the methods of monitoring them.

- The fire inspector must have a basic knowledge of the design and operation of smoke removal systems.

- The fire inspector must be able to properly size and place portable fire extinguishers.

## Initial Instructions:

Prior to this lesson the instructor shall have reviewed the lesson plan for this module, the PowerPoint presentation with notes, reference materials, the student handouts and read FI & CE Chapters 11,12,13, & 14 to refresh the instructor’s knowledge on this topic.

## Opener: Call to order; start with a motivator (need to know) related to objectives and the lesson; state objectives and main points.

Teaching points

(See instructor’s notes for PowerPoint file)

## Summary:

Summarize the material covered in this lesson by reviewing the SPOs listed and the Main Points during the Evaluation. At the end of the Summary/Evaluation remind the students of the next class date/time and the homework that must be completed to successfully participate in class and comprehend the material provided during the next lesson.

## Module 10 Fire Protection Systems

Student Performance Objective (SPO):

- SPO-1 The student will have an understanding of fire sprinkler systems and their components. SPO-2 The student will have an understanding of fire standpipe systems and their components. SPO-3 The student will understand how to conduct and interpret fire flow water supply tests. SPO-4 The student will have an understanding of fire pumps and their components.

- SPO-5 The student will have an understanding of fire alarm systems and their components. SPO-6 The student will have an understanding of alarm system monitoring methods.

- SPO-7 The student will have an understanding of commercial kitchen exhaust hood protection systems.

- SPO-8 The student will have an understanding of smoke control systems.

- SPO-9 The student will have an understanding of fire extinguisher sizing and placement.

## Enabling Objectives (EO):

- EO 1-1-1 Working from the Power Point presentation and the listed standards, resources and references, provide the student with graphic representation of fire suppression systems and components while explaining their functions and limitations.

- EO 1-1-2 Working from the Power Point presentation and the listed standards, resources and references, provide the student with graphic representation of fire standpipe systems and components while explaining their functions and limitations.

- EO 1-1-3 Working from the Power Point presentation and the IFSTA ‘Fire Inspection and Code Enforcement’ 8th ed. Chapter 11 explain how to conduct fire flow tests and how to interpret the results.

- EO 1-1-4 Working from the Power Point presentation and the listed standards, resources and references, provide the student with graphic representation of smoke control systems and components while explaining their functions and limitations.

- EO 1-1-5 Working from the Power Point presentation, the IFSTA ‘Fire Inspection and Code Enforcement’ 8th ed. Chapter 12, and NFPA 10-13, provide the student with graphic representation of portable fire extinguishers and review the sizing and placement of same.

## Overview/Main Points:

- Fire inspectors must have a basic understanding of the design of fire protection and suppression systems and their components to be able to recognize impairments.

- The fire inspector must know how perform a fire flow test and to interpret the results of the flow test.

- The fire inspector must have a basic understanding of the design, function and components of fire alarms systems and the methods of monitoring them.

- The fire inspector must have a basic knowledge of the design and operation of smoke removal systems.

- The fire inspector must be able to properly size and place portable fire extinguishers.

## EVALUATION

Oral Review: Utilizing the SPOS and Main Points, orally assess the students’ comprehension of the material provided during this lesson.

Other Evaluation: (If there are assigned quizzes for this lesson, state that fact here.)

Instructors may use course quizzes, or create and use lesson quizzes and other learning reinforcements. Quizzes are diagnostic and may be given as in-class group assignments to generate discussion or as home assignments and used as review prior to starting the next session.

HOMEWORK

# Readings

- IFSTA Fire Prevention and Code Enforcement

  - First meeting: Chapters 11&12 (8th ed), Second meeting Chapters 13&14 8th edition

  - First Meeting

    - Chapter 11&12, 8th edition

  - Second meeting

    - Chapters 13 & 14, 8th edition

# Assignments

- First meeting: IFSTA Fire Prevention & Code Enforcement Workbook

  - Review Questions Chapter 11&12

- Second meeting: IFSTA Fire Prevention & Code Enforcement Workbook

  - Review Questions Chapters 13 & 14

- Quiz after session 2

APPENDIX

# LEVEL OF INSTRUCTION

| Cognitive - Knowledge - Comprehension - Application - Analysis - Synthesis - Evaluation | Psychomotor - Perception - Set - Guided Response. - Mechanism - Complex Overt Response - Adaptation - Origination |
| --- | --- |

### DESCRIPTIONS

Cognitive:

- Knowledge:  remembers, recalls; the lowest learning level.  Defines, describes, identifies, labels, lists, matches, names, outlines, reproduces, selects, states.

- Comprehension:  grasps meaning, interprets material, estimates future trends; the lowest level of understanding.  Converts, defends, gives examples, distinguishes, estimates, explains, extends, generalizes, infers, paraphrases, predicts, rewrites, summarizes.

- Application:  uses material in new and concrete situations, applies rules, methods, concepts, principles, laws, and theories; requires higher understanding level.  Changes, computes, demonstrate, solve, discover, manipulate, modify, operate, predict, prepare, uses, produces, relates.

- Analysis:  breaks material into components to understand structural organizational; higher intellectual level than comprehension and application requiring understanding of both structure and content.  Breaks down, diagrams, differentiates, infers, discriminates, relates, distinguishes, identifies, illustrates, outlines, points out, selects, separates, subdivides.

- Synthesis:  able to put parts together to form a new whole, stresses creative behaviors, emphasizes forming new patterns or structures.  Categorizes, combines, complies, composes, creates, devises, designs, explains, generates, modifies, organizes, plans, relates, revises, reconstructs, reorganizes, writes/rewrites, summarizes, tells.

- Evaluation:  able to judge value of material for a given purpose based on definite criteria.  Highest in cognitive hierarchy as this contains elements of all other categories plus conscious value judgments based on clearly defined criteria.  Appraises, compares, concludes, relates, contrasts, criticizes, describes, discriminates, explains, justifies, interprets, summarizes, supports.

Psychomotor:

- Perception:  uses organs or sense to obtain cues to guide motor activity.  Chooses, describes, detects, differentiates, distinguishes, identifies, isolates, relates, selects, separates

- Set:  readiness to take a particular type of action; includes mental, physical or emotional set.  Begins, displays, explains, moves, shows, proceeds, reacts, responds, starts, volunteers.

- Guided Response:  early stages in learning a complex skill; includes imitation, trial and error.  Assembles, builds, calibrates, displays, constructs, dismantles, dissects, fastens, fixes, grinds, heats, manipulates, measures, mends, mixes, organizes, sketches, works.

- Mechanism:  performs acts where learned responses have become habitual and moves with confidence and proficiency; same as guided response.

- Complex Overt Response:  skillful motor performance of complex movement.  Performs proficiently, quickly, smoothly, accurately with minimum energy, without hesitation.  Same as guided response.

- Adaptation:  skills are so well developed that movement patterns can be modified to fit special requirements or meet problem situations.  Adapts, alters, changes, rearranges, reorganizes, revises, varies.

- Origination:  creates new movement patterns to fit a unique situation or problem.  Emphasizes creativity based on highly developed skills.  Arranges, combines, composes, constructs, designs, originates