STATE OF NEW JERSEY
DIVISION DEPARTMENT OF COMMUNITY AFFAIRS

DIVISION OF FIRE SAFETY

FIRE INSPECTOR CERTIFICATION COURSE

Student Manual

Module 10

Fire Protection Systems

in cooperation with

Kean University Fire Safety Training Program

Student Performance Objective (SPO):

- SPO-1 The student will have an understanding of fire sprinkler systems and their components.

- SPO-2 The student will have an understanding of fire standpipe systems and their components.

- SPO-3 The student will understand how to conduct and interpret fire flow water supply tests.

- SPO-4 The student will have an understanding of fire pumps and their components.

- SPO-5 The student will have an understanding of fire alarm systems and their components.

- SPO-6 The student will have an understanding of alarm system monitoring methods.

- SPO-7 The student will have an understanding of commercial kitchen exhaust hood protection systems.

- SPO-8 The student will have an understanding of smoke control systems.

- SPO-9 The student will have an understanding of fire extinguisher sizing and placement.

# Module Outline

- Fire sprinkler systems, Standpipe systems,

- Water supplies and testing,

- Alternate Fire Suppression Systems

- Fire pumps, Fire alarm systems System monitoring, Hood protection systems,

- Smoke removal systems, and Fire extinguishers

# Supplemental Materials

Supplemental materials can be found in the Student Manual CD, File Folder “Module 10” and include file folders containing documents on the following topics:

- Extinguishers and special extinguishing systems

- Fire alarm systems

- Water based fire protection systems

# Key terms

- Sprinkler system Standpipe System Wet Pipe System Dry Pipe System Deluge System Pre-action system Antifreeze System

- Pipe schedule system Hydraulically designed system Gridded system

- Looped system Fire Alarm system

- Detection initiating device Alerting device

- Alarm panel

- Fire Command Center Smoke control / Management system

# Review questions

- Do all fire sprinkler systems require an automatic water supply?

- Can Sprinkler systems be hydraulically designed or designed under a pipe schedule system?

- Are Limited area sprinklers approved in NJ?

- Must only approved devices hangers; straps etc. be used on sprinkler systems?

- Does a dry pipe sprinkler only contain air in the pipes?

- Must a dry sprinkler system once activated be drained before reset?

- May a pre-action system be activated by a heat detector

- May a FDC be a stortz fitting

- Is an inspector test typically located at the top most remote portion of the system?

- Are Portable fire extinguishers required in single-family dwellings upon resale or re-occupancy?

# HOMEWORK

## Readings

- IFSTA Fire Prevention and Code Enforcement

  - First meeting: Chapters 11 & 12 (8th ed), Second meeting Chapters 13 & 14 8th edition

  - First Meeting

    - Chapter 11&12, 8th edition

  - Second meeting

    - Chapters 13 & 14, 8th edition

## Assignments

- First meeting: IFSTA Fire Prevention & Code Enforcement Workbook

  - Review Questions Chapters 11&12

- Second meeting: IFSTA Fire Prevention & Code Enforcement Workbook

  - Review Questions Chapters 13 & 14