STATE OF NEW JERSEY
DEPARTMENT OF COMMUNITY AFFAIRS

DIVISION OF FIRE SAFETY

FIRE INSPECTOR CERTIFICATION COURSE

Student Manual

Module 11

Fire Protection System 
Code Requirements

in cooperation with

Kean University Fire Safety Training Program

Student Performance Objective (SPO):

- SPO-1 The student will have an understanding of when fire sprinkler systems are required to be installed and requirements for maintenance.

- SPO-2 The student will have an understanding of when fire standpipe systems are required to be installed and requirements for maintenance.

- SPO-3 The student will have an understanding of when fire alarm systems are required to be installed and requirements for maintenance.

- SPO-4 The student will have an understanding of when alarm system monitoring methods are required to be installed and requirements for maintenance.

- SPO-5 The student will have an understanding of when commercial kitchen exhaust hood protection systems are required to be installed and requirements for maintenance.

- SPO-6 The student will have an understanding of when smoke control systems are required to be installed and requirements for maintenance.

Module Outline

Review of the Uniform Fire Code requirements for the following fire protection systems.

- Fire sprinkler systems

- Standpipe systems

- Water supplies and testing

- Fire pumps

- Fire alarm systems

- System monitoring

- Hood protection systems

- Smoke removal systems

- Fire extinguishers

SUPPLEMENTAL MATERIALS

Supplemental materials can be found in the previous module of Student Manual CD, File Folder “Module 10” and include file folders containing documents on the following topics:

- Extinguishers and special extinguishing systems

- Fire alarm systems

- Water based fire protection systems

Key terms

- Alarm notification appliance Alarm signal

- Alarm verification feature Annunciator

- Audible alarm notification appliance

- Automatic (as it applies to fire protection systems)

- Automatic fire extinguishing system Automatic sprinkler system Average ambient sound level

- Carbon Dioxide extinguishing system Clean agent

- Constantly attended location Deluge system

- Heat detector

- Dry chemical extinguishing agent Emergency alarm system

- Emergency voice alarm communications Fire alarm control unit

- Fire alarm signal Fire alarm system Fire command center

- Automatic fire detector Fire protection system Fire safety functions

- Foam extinguishing system Halogenated Extinguishing system Initiating device

- Manual fire alarm box Multiple station alarm device Multiple station smoke alarm Nuisance alarm

- Record drawings

- Single station smoke alarm Smoke alarm

- Smoke detector

- Smoke proof enclosure Standpipe System Class I Standpipe system, Class II Standpipe system; Class III Standpipe, automatic dry Standpipe, automatic wet Standpipe, manual dry Standpipe, manual wet

- Standpipe, semiautomatic dry Supervising Station Supervisory Service Supervisory signal

- Supervisory signal initiating device Trouble signal

- Visible alarm notification appliance Wet chemical extinguishing system Wireless protection system Zone

Review questions

- The fire official or the fire subcode official may approve the installation of new systems extensions?

- Fire alarm system testing may be witnessed by fire official

- As a fire prevention inspector you will only use one code for all inspections.

- The current code for new installations is IBC 2018.

Homework

Readings

- NJIFC Chapter 9 Fire Protection

Assignments

- End of Module Quiz