STATE OF NEW JERSEY
DIVISION DEPARTMENT OF COMMUNITY AFFAIRS

DIVISION OF FIRE SAFETY

FIRE INSPECTOR CERTIFICATION COURSE

Module 12

Hazardous Materials

in cooperation with

Kean University Fire Safety Training Program

Time: 6 hours required; 3 optional

Teaching/Learning Level: Cognitive- knowledge, comprehension, application.

## Learning/Teaching Aids:

- Syllabus

- Board/easel pad

- Chalk/markers

- PC/laptop

- Projection unit

- Projection screen

- Power Point presentation

- New Jersey Uniform Fire Code NJAC 5:70-1 et seq.

- NJIFC 2015 Edition

- NJ UCC applicable code sections

- IFSTA ‘Fire Inspection and Code Enforcement’ 8th ed., Chapters 10

- NFPA Fire Protection Handbook

- SFPE Handbook of Fire Protection Engineering

- NFPA Flammable and Combustibles Liquid Code Handbook

- NFPA LP-Gas Code Handbook

- NFPA Fuel Gas Code Handbook

- NFPA Electrical Installations in Hazardous Locations

- NFPA National Electrical Code Handbook

- 2016 Emergency Response Guidebook (whichever is available)

- NFPA Hazardous Materials Guidebook

- Hazardous Materials Classification Guide

- Student Manual

Behaviors to Foster

Encourage students to listen carefully, take notes and to actively participate by asking questions and offering experiences that will foster discussion during lectures. It is imperative that they absorb and retain as much information as possible to assist them in having a solid foundation of knowledge for application in this field and successfully completion the exam for this course and the State Certification exam.

Tasks:

- Understanding the concepts behind the regulation of hazardous materials.

- Understanding the requirements of Chapter 50 as it relates to the general requirements for hazardous materials.

- Understanding the requirements of Chapter 50 as it relates to the requirements for hazardous materials that apply when specified by Chapters 51 through 67.

- Understanding the requirements of Chapters 51 through 67 and Subchapter 3 of the NJIFC as they relate to the specific hazardous materials.

Given in a classroom setting:

- The student handout

- New Jersey Uniform Fire Code NJAC 5:70-1 et seq. NJ IFC 2015 EDITION

- NJ UCC applicable code sections

- IFSTA ‘Fire Inspection and Code Enforcement’ 8th ed., Chapters 10

- 2016 US DOT Emergency Response Guidebook

- NFPA Hazardous Materials Guidebook Hazardous Materials Classification Guide Power Point presentation

Standards:

- NJAC 5:70-1 et seq.

- NJAC 5:23-1 et seq.

Prerequisite Knowledge: Module 12

Prerequisite Skills: Ability to listen effectively; follows directions; take notes; and retain knowledge.

## Resources/References:

- New Jersey Uniform Fire Code NJAC 5:70-1 et seq.

- NJIFC 2015 EDITION

- IFSTA ‘Fire Inspection and Code Enforcement, 8th ed. Chapters 10.

- Student Manual

- NFPA Industrial Fire Hazards Handbook NFPA Fire Protection Handbook

- SFPE Handbook of Fire Protection Engineering

- NFPA Flammable and Combustibles Liquid Code Handbook NFPA LP-Gas Code Handbook

- NFPA Fuel Gas Code Handbook

- NFPA Electrical Installations in Hazardous Locations NFPA National Electrical Code Handbook

- 2016 US DOT Emergency Response Guidebook NFPA Hazardous Materials Guidebook

- Hazardous Materials Classification Guide

## Attention: (Call to Order)

Motivation: (State Need to Know)

(A reminder to instructors; it is best if the instructor uses an example from a recent or current event that is pertinent to the lesson. In this case you can refer to any incident you are familiar with that involves any of the specific materials covered by this module.)

## Student Performance Objective (SPO):

- SPO-1 The student will have a basic understanding of hazardous materials chemistry.

- SPO-2 The student will know the definitions of physical hazards and health hazards and example materials for each category.

- SPO-3 The student will know how to research the hazards of materials and how to understand SDS for hazardous materials.

- SPO-4 The student will understand the relationship between the NJIFC and the regulations promulgated by NJDEP, USEPA, and USDOT.

- SPO-5 The student will understand the concept of secondary containment and when it is required to be provided and maintained.

- SPO-6 The student will know which hazardous material discharges are prohibited by the NJIFC and how to blend the requirements of the NJIFC with local response protocols.

- SPO-7 The student will understand the application of Chapter 50

- SPO-8 The student will understand the application of Chapter 50 of the NJIFC

- SPO-9 The student will understand the requirements and application of Chapters 51 through 67 of NJIFC.

## Enabling Objectives (EO):

- EO 1-1-1 Working from the Power Point presentation the students will gain an understanding concerning the long history of fire service standards governing the storage, handling and use of hazardous materials.

- EO 1-1-2 Working from the Power Point presentation and directly from the NJIFC a review the basic chemistry of hazardous materials, including a review of the appropriate definitions, will provide the student with a basis for applying chapters 50 through 67.

- EO 1-1-3 Utilizing the example in the student handout along with the 2016 US DOT Emergency Response Guidebook’, the ‘NFPA Hazardous Materials Guidebook’, and the ‘Hazardous Materials Classification Guide’, the students will look up the hazards of materials to emphasize the need to be able to research hazards of materials.

- EO 1-1-4 Working from the Power Point presentation review the purpose of the regulations enforced by NJ DEP, US EPA, and US DOT as compared to the scope and purpose of our NJIFC to emphasize the different aspects of the hazards of materials addressed by each.

- EO 1-1-5 Working from the Power Point program and directly from the NJIFC 2015 review the students will review the concepts and specific requirements of Chapters 50 through 67.

## Overview/Main Points:

- Fire inspectors must understand what hazardous materials are and why half of the fire code is dedicated to their regulation.

- The fire inspector must have an understanding of the difference between physical and health hazards.

- The fire inspector must know how to conduct research to determine the relative hazards of materials and how to read and interpret SDS provided by facilities pursuant to the NJIFC.

- The fire inspector must understand that various other agencies have regulations pertaining to hazardous substances and materials and how those regulatory activities relate to the NJIFC.

- The fire inspector must have knowledge of when discharges of hazardous substances or materials are prohibited by the NJIFC and the enforcement actions that can be taken when a discharge occurs.

- The fire inspector must have knowledge of the requirements contained within Chapters 50 through 67, and how to apply them.

## Initial Instructions:

Prior to this lesson the instructor shall have reviewed the lesson plan for this module, the PowerPoint presentation with notes, reference materials, the student handouts and have read FI&CE Chapters 10, NJIFC 2015, Chapter 50 through 67, and the ICC NJIBC/2015 sections 307.0, 416.0, 417.0, 418.0, and 419.0 to refresh the instructor’s knowledge on these topics.

## Opener: Call to order; start with a motivator (need to know) related to objectives and the lesson; state objectives and main points.

Teaching points

In addition to having an understanding of what hazardous materials are and how to identify them, the purpose of this module is to ensure the student is familiar with the code language covering the maintenance requirements for the storage, handling or use of hazardous materials as covered by chapters 50 through 67 of the NJIFC.

It is essential that the instructor work directly from the codebooks during this module when reviewing each chapter and that the students follow along in their own books. The PowerPoint presentation is only to be used for minimal representations and as a placeholder whenever you work your way through the specific requirements found in the codebook.

The students must learn where items are covered within the codebook to enable them to pass the State certification exam. The only way that will occur is if the modules covering code language are taught directly from the codebook.

If a question arises that requires a graphic representation to properly present the answer, the instructor can refer to a pictorial example in the IFSTA textbook.

## Summary:

Summarize the material covered in this lesson by reviewing the SPOs listed and the Main Points during the Evaluation. At the end of the Summary/Evaluation remind the students of the next class date/time and the homework that must be completed to successfully participate in class and comprehend the material provided during the next lesson.

## Module 12 Hazardous Materials

Student Performance Objective (SPO):

- SPO-1 The student will have a basic understanding of hazardous materials chemistry.

- SPO-2 The student will know the definitions of physical hazards and health hazards and example materials for each category.

- SPO-3 The student will know how to research the hazards of materials and how to understand SDS for hazardous materials.

- SPO-4 The student will understand the relationship between the NJIFC and the regulations promulgated by NJ-DEP, US-EPA, and US-DOT.

- SPO-5 The student will understand the concept of secondary containment and when it is required to be provided and maintained.

- SPO-6 The student will know which hazardous material discharges are prohibited by the NJIFC and how to blend the requirements of the NJIFC with local response protocols.

- SPO-7 The student will understand the application of the applicable chapters of the NJ Uniform Construction Code as adopted.

- SPO-8 The student will understand the application of Chapter 50 of NJIFC.

- SPO-9 The student will understand the requirements and application of Chapters 50 through 67 of NJIFC 2015.

## Enabling Objectives (EO):

- EO 1-1-1 Working from the Power Point presentation the students will gain an understanding concerning the long history of fire service standards governing the storage, handling and use of hazardous materials.

- EO 1-1-2 Working from the Power Point presentation and directly from the NJIFC a review the basic chemistry of hazardous materials, including a review of the appropriate definitions, will provide the student with a basis for applying chapters 50 through 67.

- EO 1-1-3 Utilizing the example in the student handout along with the 2016 US DOT Emergency Response Guidebook’, the ‘NFPA Hazardous Materials Guidebook’, and the ‘Hazardous Materials Classification Guide’, the students will look up the hazards of materials to emphasize the need to be able to research hazards of materials.

- EO 1-1-4 Working from the Power Point presentation review the purpose of the regulations enforced by NJ DEP, US EPA, and US DOT as compared to the scope and purpose of our NJIFC 2015 to emphasize the different aspects of the hazards of materials addressed by each.

- EO 1-1-5 Working from the Power Point program and directly from the NJIFC 2015 review the students will review the concepts and specific requirements of Chapters 50 through 67.

## Overview/Main Points:

- Fire inspectors must understand what hazardous materials are and why half of the fire code is dedicated to their regulation.

- The fire inspector must have an understanding of the difference between physical and health hazards.

- The fire inspector must know how to conduct research to determine the relative hazards of materials and how to read and interpret SDS provided by facilities pursuant to the NJIFC.

- The fire inspector must understand that various other agencies have regulations pertaining to hazardous substances and materials and how those regulatory activities relate to the NJIFC.

- The fire inspector must have knowledge of when discharges of hazardous substances or materials are prohibited by the NJIFC and the enforcement actions that can be taken when a discharge occurs.

- The fire inspector must have knowledge of the requirements contained within Chapters 50 through 67, and how to apply them.

## EVALUATION

Oral Review: Utilizing the SPOS and Main Points, orally assess the students’ comprehension of the material provided during this lesson.

Other Evaluation: (If there are assigned quizzes for this lesson, state that fact here.)

Instructors may use course quizzes, or create and use lesson quizzes and other learning reinforcements. Quizzes are diagnostic and may be given as in-class group assignments to generate discussion or as home assignments and used as review prior to starting the next session.

HOMEWORK

# Readings

- IFSTA Fire Prevention and Code Enforcement

  - First meeting: Chapter 10, of the 8th edition

- UFC 5:70-3 Chapters 50-55

- IFSTA Fire Prevention and Code Enforcement

  - Second meeting: Chapter 10, of the 8th edition

- NJIFC Chapters 56 to 67

# Assignments

- First meeting: IFSTA Fire Prevention & Code Enforcement Workbook

  - Review Questions IFSTA 8th edition, Chapter 10

- Module 12 Quiz

APPENDIX

# LEVEL OF INSTRUCTION

| Cognitive - Knowledge - Comprehension - Application - Analysis - Synthesis - Evaluation | Psychomotor - Perception - Set - Guided Response. - Mechanism - Complex Overt Response - Adaptation - Origination |
| --- | --- |

### DESCRIPTIONS

Cognitive:

- Knowledge:  remembers, recalls; the lowest learning level.  Defines, describes, identifies, labels, lists, matches, names, outlines, reproduces, selects, states.

- Comprehension:  grasps meaning, interprets material, estimates future trends; the lowest level of understanding.  Converts, defends, gives examples, distinguishes, estimates, explains, extends, generalizes, infers, paraphrases, predicts, rewrites, summarizes.

- Application:  uses material in new and concrete situations, applies rules, methods, concepts, principles, laws, and theories; requires higher understanding level.  Changes, computes, demonstrate, solve, discover, manipulate, modify, operate, predict, prepare, uses, produces, relates.

- Analysis:  breaks material into components to understand structural organizational; higher intellectual level than comprehension and application requiring understanding of both structure and content.  Breaks down, diagrams, differentiates, infers, discriminates, relates, distinguishes, identifies, illustrates, outlines, points out, selects, separates, subdivides.

- Synthesis:  able to put parts together to form a new whole, stresses creative behaviors, emphasizes forming new patterns or structures.  Categorizes, combines, complies, composes, creates, devises, designs, explains, generates, modifies, organizes, plans, relates, revises, reconstructs, reorganizes, writes/rewrites, summarizes, tells.

- Evaluation:  able to judge value of material for a given purpose based on definite criteria.  Highest in cognitive hierarchy as this contains elements of all other categories plus conscious value judgments based on clearly defined criteria.  Appraises, compares, concludes, relates, contrasts, criticizes, describes, discriminates, explains, justifies, interprets, summarizes, supports.

Psychomotor:

- Perception:  uses organs or sense to obtain cues to guide motor activity.  Chooses, describes, detects, differentiates, distinguishes, identifies, isolates, relates, selects, separates

- Set:  readiness to take a particular type of action; includes mental, physical or emotional set.  Begins, displays, explains, moves, shows, proceeds, reacts, responds, starts, volunteers.

- Guided Response:  early stages in learning a complex skill; includes imitation, trial and error.  Assembles, builds, calibrates, displays, constructs, dismantles, dissects, fastens, fixes, grinds, heats, manipulates, measures, mends, mixes, organizes, sketches, works.

- Mechanism:  performs acts where learned responses have become habitual and moves with confidence and proficiency; same as guided response.

- Complex Overt Response:  skillful motor performance of complex movement.  Performs proficiently, quickly, smoothly, accurately with minimum energy, without hesitation.  Same as guided response.

- Adaptation:  skills are so well developed that movement patterns can be modified to fit special requirements or meet problem situations.  Adapts, alters, changes, rearranges, reorganizes, revises, varies.

- Origination:  creates new movement patterns to fit a unique situation or problem.  Emphasizes creativity based on highly developed skills.  Arranges, combines, composes, constructs, designs, originates