STATE OF NEW JERSEY
DEPARTMENT OF COMMUNITY AFFAIRS

DIVISION OF FIRE SAFETY

FIRE INSPECTOR CERTIFICATION COURSE

Student Manual

Module 12

Hazardous Materials

in cooperation with

Kean University Fire Safety Training Program

Student Performance Objective (SPO):

- SPO-1 The student will have a basic understanding of hazardous materials chemistry.

- SPO-2 The student will know the definitions of physical hazards and health hazards and example materials for each category.

- SPO-3 The student will know how to research the hazards of materials and how to understand SDS for hazardous materials.

- SPO-4 The student will understand the relationship between the NJIFC and the regulations promulgated by NJ-DEP, US-EPA, and US-DOT.

- SPO-5 The student will understand the concept of secondary containment and when it is required to be provided and maintained.

- SPO-6 The student will know which hazardous material discharges are prohibited by the NJIFC and how to blend the requirements of the NJIFC with local response protocols.

- SPO-7 The student will understand the application of the applicable chapters of the NJ Uniform Construction Code as adopted.

- SPO-8 The student will understand the application of Chapter 50 of NJIFC.

SPO-9 The student will understand the requirements and application of Chapters 50 through 67 of NJIFC 2015

## Enabling Objectives (EO):

- EO 1-1-1 Working from the Power Point presentation the students will gain an understanding concerning the long history of fire service standards governing the storage, handling and use of hazardous materials.

- EO 1-1-2 Working from the Power Point presentation and directly from the NJIFC a review the basic chemistry of hazardous materials, including a review of the appropriate definitions, will provide the student with a basis for applying chapters 50 through 67.

- EO 1-1-3 Utilizing the example in the student handout along with the 2016 US DOT Emergency Response Guidebook’, the ‘NFPA Hazardous Materials Guidebook’, and the ‘Hazardous Materials Classification Guide’, the students will look up the hazards of materials to emphasize the need to be able to research hazards of materials.

- EO 1-1-4 Working from the Power Point presentation review the purpose of the regulations enforced by NJ DEP, US EPA, and US DOT as compared to the scope and purpose of our NJIFC 2015 to emphasize the different aspects of the hazards of materials addressed by each.

- EO 1-1-5 Working from the Power Point program and directly from the NJIFC 2015 review the students will review the concepts and specific requirements of Chapters 50 through 67.

## Overview/Main Points:

- Fire inspectors must understand what hazardous materials are and how they are presented in the IFC 2015 NJ Edition.

- The fire inspector must have an understanding of the difference between physical and health hazards.

- The fire inspector must know how to conduct research to determine the relative hazards of materials and how to read and interpret SDS provided by facilities pursuant to the Chapter 50 IFC-2015 NJ Edition

- The fire inspector must understand that various other agencies have regulations pertaining to hazardous substances and materials and how those regulatory activities relate to the NJIFC.

- The fire inspector must have knowledge of when discharges of hazardous substances or materials are prohibited by the IFC-2015 NJ Edition and the enforcement actions that can be taken when a discharge occurs.

- The fire inspector must have knowledge of the requirements contained within Chapters 50 through 67, and how to apply them

Support Materials

- Review student power point slides – Part 1 and Part 2

- Review IFC-2015 NJ Edition Chapters 50 to 67

Homework

# Readings

- IFSTA Fire Prevention and Code Enforcement

  - First meeting: Chapter 10, of the 8th edition

- UFC 5:70-3 Chapters 50-55

- IFSTA Fire Prevention and Code Enforcement

  - Second meeting: Chapter 10, of the 8th edition

- NJIFC Chapters 56 to 67

# Assignments

- First meeting: IFSTA Fire Prevention & Code Enforcement Workbook

  - Review Questions IFSTA 8th edition, Chapter 10

- Module 12 Quiz