STATE OF NEW JERSEY
DEPARTMENT OF COMMUNITY AFFAIRS

DIVISION OF FIRE SAFETY

FIRE INSPECTOR CERTIFICATION COURSE

Student Manual

Module 13

Specific Hazards

in cooperation with

Kean University Fire Safety Training Program

Student Performance Objective (SPO):

  - SPO-1 The student will have an understanding of when to apply Chapters 20 through 37.

  - SPO-2 The student will have an understanding of the various code requirements governing the operations and hazardous process specified in Chapters 20 through 37.

Module Outline: Chapters 20-37

  - Chapter 20 Aviation Facilities

  - Chapter 21 Dry Cleaning

  - Chapter 22 Combustible Dust-Producing Operations

  - Chapter 23 Motor Fuel Dispensing Facilities & Repair Garages

  - Chapter 24 Flammable Finishes

  - Chapter 25 Fruit & Crop Ripening

  - Chapter 26 Fumigation & Insecticidal Fogging

  - Chapter 27 Semiconductor Fabrication Facilities

  - Chapter 28 Lumber Yards & Agro-Industrial, Solid Biomass & Woodworking Facilities

  - Chapter 29 Manufacture of Organic Coatings

  - Chapter 30 Industrial Ovens

  - Chapter 31 Tents and Membrane Structures

  - Chapter 32 High-Piled Combustible Storage

  - Chapter 33 Fire Safety during Construction and Demolition

  - Chapter 34 Tire Rebuilding & Tire Storage

  - Chapter 35 Welding & Other Hot Work

  - Chapter 36 Marinas

  - Chapter 37 Combustible Fibers

SUPPLEMENTAL MATERIALS

Supplemental materials can be found in the Student Manual CD, File Folder “Module13” and include file folders containing documents on the following topics:

- Crop ripening

- Dry cleaning

- Flammable finishes’

- Fumigation and fogging

- Organic coatings

- Storage and waste

- Welding and cutting

- CO2 Warning Systems/Requirements

Key terms

- Heliport

- Helistop

- Dry cleaning

- Dry cleaning plant

- Dry cleaning system

- Solvent or liquid classification

- Combustible dust

- Dip tank

- Flammable finishes

- Flammable vapor areas

- Resin application area

- Roll coating

- Spray booth

- Spray room

- Fumigant

- Fumigation

- Contiguous gas detection system?

- Emergency control station

- Fabrication area

- HPH

- HPM room

- Pass-through

- Service corridor

- Cold deck

- Plywood and veneer mills

- Raw product

- Static pile

- Timber and lumber production facilities

- Organic coating

- Furnace Classes A-D

- Automotive motor fuel dispensing facility

- Fleet vehicle motor fuel dispensing facility

- Marine motor fuel dispensing facilities

- Repair garage

- Dispensing devices

- Array

- Bin box

- Commodity

- Draft curtain

- Extra high rack combustible storage

- High piled combustible storage

- Longitudinal flue space

- Transverse flue space

- Air supported structure

- Canopy

- Membrane structure

- Tent

- Hot work

- Torch applied roof system

Review questions

- Where are portable extinguishers required in aviation facilities?

- What are the restrictions on positioning of aircraft refueling vehicles during refueling operations?

- Under what conditions are passengers embarking or debarking permitted during fueling operations?

- What type of fire protection is required for rooftop heliports?

- What are the classifications of dry cleaning plants and systems?

- What is the minimum requirements for portable extinguishers in dry cleaning rooms?

- Name at least 3 NFPA explosion protection standards referenced in Chapter 22.

- Is temporary covering of fire protection devices permitted during construction and demolition of buildings?

- Where are portable fire extinguishers required in buildings under construction or demolition?

- What type of electrical wiring is permitted in flammable vapor areas?

- What type(s) of fire protection is required in spraying booths, rooms and areas?

- What type(s) of fire protection is required for dip tank operations:

- Other than an automatic fire extinguishing system, what additional protection is required for automated powder application equipment?

- Electrical equipment approved for what locations is required for fruit and crop ripening?

- Who must be notified and how before a structure is fumigated with a toxic or flammable fumigant?

- Can an emergency control station be located within an HPM fabrication area?

- Where are exhaust ventilation systems for HPM required?

- What areas of plywood and veneer mills require manual fire alarm systems?

- What is the maximum height permitted for exterior lumber storage?

- What is the minimum fire extinguisher requirements for organic coating areas?

- Can nitrocellulose be stored in the same area as other materials?

- What classes of ovens are required to be protected by automatic fire extinguishing systems?

- What are the requirements for dispensing flammable or combustible liquids into portable containers?

- What is the testing interval for leak detection devices?

- What is the time interval for inventory control records and reconciliation as it pertains to underground storage tanks?

- What are the requirements for drainage and disposal of liquids and oil soaked waste in repair garages?

- What are the classifications for commodities?

- What are the classifications of plastics?

- What are the aisle requirements for tents without fixed seating?

- How shall exit signs be illuminated in temporary tents and membrane structures?

- How close to a tent or membrane structure can fireworks be utilized?

- Is open burning permitted in tire storage yards?  Are there exceptions?

- What are the fire protection water supply requirements for tire storage areas?

- Can sprinkler systems be shut off when “hotwork” is being performed in the area?

- How is a “fire watch” conducted in hot work areas?

HOMEWORK

Readings

- First meeting: UFC 5:70-3 Chapters 20-37

- Second meeting: UFC 5:70-3 Chapters 20-37

Assignments

- First meeting: Quiz #9

- Second meeting:	Quiz #10