STATE OF NEW JERSEY
DEPARTMENT OF COMMUNITY AFFAIRS

DIVISION OF FIRE SAFETY

FIRE INSPECTOR CERTIFICATION COURSE

Student Manual

Module 16

Practical Evolutions

in cooperation with

Kean University Fire Safety Training Program

Student Performance Objective (SPO):

- SPO-1 The student will actively participate in a guided field inspection of a multi occupancy structure.

- SPO-2 The student will participate in the inspection and flow testing of a fire sprinkler system.

- SPO-3 The student will participate in the inspection of a fire pump installation.

- SPO-4 The student will participate in the flow testing of fire hydrants.

.

Module Outline

- Utilizing a multi occupancy structure, (or multiple structures of various uses), the instructor will guide the students on a mock inspection. Emphasis will be placed on how to conduct the inspection and ensuring all areas would be inspected and on taking the time to observe the conditions of the facility. Students are to be encouraged to utilize flashlights, tape measures and notepads. Instructors will respond to potential hazards identified and quiz students on ‘why’ they believe it to be a hazard and will point out items students may have missed.

- Utilizing a working fire sprinkler system, (can be in the same facility inspected), the instructor will guide the students through an inspection of the system and the riser components. Flow tests of the 2-inch drain and inspectors test connection are to be performed to show the students how they are to be conducted for accuracy.

- Utilizing a working fire pump installation, the instructor will guide the student in what to inspect and in how a fire pump test would be conducted. Students will review sample fire pump test report forms in conjunction with this practical exercise.

- Utilizing functioning fire hydrants, the instructor will guide the students as they perform a water flow test and take the readings by using a pitot tube and cap and gauge arrangement.

Supplemental Materials

Forms for conducting the tests to be performed in this module can be found in NFPA Standard #25

Key terms

- None

Review questions

- None

HOMEWORK

Readings

- None

Assignments

- Quiz # 15