## Slide 1
New Jersey Fire Inspector Certification Program
New Jersey Uniform Fire Code
Fire Inspector Training Program
Based on the ICC IFC-2015 Edition with NJ adopted changes

## Slide 2: Fire Inspector Certification Program
New Jersey Uniform Fire Code Inspector Training Program
Module 3 Fire Code Administration
Education
Enforcement
Experience
Engineering
Notes: Fire Code Enforcement I FIR -107
Entry Class Presentation
2
Opening Slide Module 2 Theory of Fire Code Enforcement

## Slide 3: Welcome
Instructor introduction
Before we get started
  Has everyone signed in?
  Anyone have any questions?
Notes: Fire Code Enforcement I FIR -107
Entry Class Presentation
3
Self explanatory

## Slide 4: Code Administration
In this Module we will:
Review the adoption date and application of the Uniform Fire Safety Act (U.F.S.A.)
Review the scope and application of Subchapter 1 of the UFC.
Review the application and enforcement of Subchapter 2 of the UFC.
Notes: Fire Code Enforcement I FIR -107
Entry Class Presentation
4
Self explanatory

## Slide 5: Code Administration
We will:
Define what a ‘Life Hazard Use’
Contrast ‘Use Group’ to Life Hazard Use.
Apply use group and life hazard use designations.
Notes: Fire Code Enforcement I FIR -107
Entry Class Presentation
5
Self explanatory

## Slide 6: Back to the roots!
NJ Fire Safety Study Commission
  Created March 27, 1981
  Followed multiple death fires in Keansburg & Bradley Beach winter of 1980-1981
  Final Report issued November 22, 1982
  NJ Uniform Fire Safety Act, N.J.S.A. 52:27D-192 et seq. was approved on November 12, 1983
Notes: Fire Code Enforcement I FIR -107
Entry Class Presentation
6

## Slide 7: NJ Uniform Fire Safety Act
N.J.S.A. 52:27D-193
  Liberal construction
N.J.S.A. 52:27D-194
  Findings and declarations
N.J.S.A. 52:27D-195
  Purpose
Notes: Fire Code Enforcement I FIR -107
Entry Class Presentation
7

## Slide 8: NJ Uniform Fire Code
New Jersey Administrative Code (N.J.A.C.)
N.J.A.C. Title 5, Chapter 70
Four Subchapters
  Subchapter 1, General Provisions
  Subchapter 2, Administration & Enforcement
  Subchapter 3, State Fire Prevention Code
  Subchapter 4, Fire Safety Code (retrofit)
Notes: Fire Code Enforcement I FIR -107
Entry Class Presentation
8
Opening discussion on UFC structure and subchapter breakdown.

## Slide 9: N.J.A.C. 5:70-1 Subchapter 1
N.J.A.C. 5:70-1
(March 1985 effective date)
N.J.A.C. 5:70-1.2 Authority
N.J.A.C. 5:70-1.3 Intent and purpose
N.J.A.C. 5:70-1.4 Applicability
N.J.A.C. 5:70-1.5 Definitions
N.J.A.C. 5:70-1.6 (Reserved)
N.J.A.C. 5:70-1.7 Severability
Notes: Fire Code Enforcement I FIR -107
Entry Class Presentation
9
Working directly from the UFC Redbook with the students following along in their own books, review the sections of Subchapter 1.
Emphasis should be placed upon 5:70-1.3(a) and point out the structure of this paragraph that breaks it down by an ‘and’ to two distinct purposes, as described in the next two slides.

## Slide 10: N.J.A.C. 5:70-1.3 Intent and purpose
‘…safeguarding to a reasonable degree of life and property …’
‘… from hazards of fire and explosion arising from the storage, handling and use of hazardous substances, materials and devices,..’
‘…and…’
Notes: Fire Code Enforcement I FIR -107
Entry Class Presentation
10
Self explanatory

## Slide 11: N.J.A.C. 5:70-1.3 Intent and purpose
‘…from conditions hazardous to life or property in the use or occupancy of buildings or premises.’
Two distinct concepts, one specific to fire and explosion, and one very general applying to any hazardous condition.
Notes: Fire Code Enforcement I FIR -107
Entry Class Presentation
11
Self explanatory

## Slide 12: Applicability
Applies to new and existing buildings, uses and conditions.
The UFC applies to buildings, structures or premises, including premises without buildings.
Notes: Fire Code Enforcement I FIR -107
Entry Class Presentation
12
Self explanatory

## Slide 13: N.J.A.C. 5:70-1.4(e)
This section emphasizes the relationship the UFC has with the NJ Uniform Construction Code (UCC).
The relationship is intended to be one where the two codes compliment each other.
Notes: Fire Code Enforcement I FIR -107
Entry Class Presentation
13
Self explanatory

## Slide 14: Uniform Construction Code
Effective January 1, 1977
Currently based upon the 2018 edition of the IBC International Building Code.
Applies to new construction and additions, renovations, alterations to existing structures.
Contains maintenance requirements for elevators, sprinklers and backflow preventers.
Does not regulate process equipment.
Notes: Fire Code Enforcement I FIR -107
Entry Class Presentation
14
Includes pools, bonding, GFCIs

## Slide 15: UCC vs. UFC
Where the UCC is primarily a construction code….
The UFC is primarily a maintenance code.
Once the structure is built the UFC seeks to maintain it in a safe condition.
In addition to UFC provisions, a basic premise is that structures must be maintained in accordance with the UCC requirements at the time of construction or establishment of the activity regulated.
Notes: Fire Code Enforcement I FIR -107
Entry Class Presentation
15
Self explanatory

## Slide 16: UCC vs. UFC
The UFC can be applied at construction sites to control fire or health and safety hazards.
The methods and materials of construction are strictly the purview of the UCC.
If a fire inspector believes there is a problem with a construction code issue, the only recourse is to refer that item to the construction official.
Notes: Fire Code Enforcement I FIR -107
Entry Class Presentation
16
Self explanatory

## Slide 17: UCC vs. UFC
If…..
  the building department does their best to enforce the UCC requirements….
  and the fire safety LEA does their best to enforce the UFC requirements….
Communities will be built and maintained with a high degree of safety afforded to building occupants.
Notes: Fire Code Enforcement I FIR -107
Entry Class Presentation
17
Self explanatory

## Slide 18: Subchapter 2
Administration
And
Enforcement
Notes: Fire Code Enforcement I FIR -107
Entry Class Presentation
18
Opening for subchapter 2, this subchapter contains the majority of the language that provides for day to day inspection of premises and enforcement of the UFC.

## Slide 19: Subchapter 2
N.J.A.C. 5:70-2.1 Enforcement Authority
  This section defines that the code applies everywhere except Owner occupied one and two family or attached single family dwellings
  It provides for process for inspection
N.J.A.C. 5:70-2.2 Responsibility for compliance
  This section assigns the for responsibility for compliance
N.J.A.C. 5:70-2.3 CSACMAPFEC
  This section provides for the statutory requirement to conduct an inspection for smoke alarms, carbon monoxide alarms and portable fire extinguishers to assure the property complies with the minimum level of protection prior to change of residence
Notes: Fire Code Enforcement I FIR -107
Entry Class Presentation
19
Review the topics covered by each section. LHUs are intentionally skipped and left to later in the module for continuity in explaining the difference between Use groups and LHUs.
CSACMAPFEC certificate of smoke alarm, carbon monoxide alarm, and portable fire extinguisher compliance

## Slide 20: Subchapter 2
N.J.A.C. 5:70-2.4 LHU
  This section identifies uses that by their nature pose a significant hazard to the public
  These uses will be reviewed in detail later in this section under 2.4A, 2.4B, 2.4C and 2.4D
N.J.A.C. 5:70-2.5 Required Inspections
  This section dictates the inspection frequency ranging from annual to quarterly based on the use.
N.J.A.C. 5:70-2.6 Registration of Buildings & Uses
  This section requires the owner to complete and return a registration application within 30 days of opening
Notes: Fire Code Enforcement I FIR -107
Entry Class Presentation
20
Review the topics covered by each section. LHUs are intentionally skipped and left to later in the module for continuity in explaining the difference between Use groups and LHUs.
CSACMAPFEC certificate of smoke alarm, carbon monoxide alarm, and portable fire extinguisher compliance

## Slide 21: Subchapter 2
N.J.A.C. 5:70-2.7 Permits required
  This section provides for four different permits, Type 1 to 4, to be issued prior to the permitted activity
  Exclusions are detailed for E Use and farms
N.J.A.C. 5:70-2.8 (Reserved)
N.J.A.C. 5:70-2.9 Fees
  This section details the fees for all permits, Life Hazard Uses. All Life Hazard Uses are registered, and all fees charged
  When more that 1 LHU exists at a facility the highest fee is charged 100 % and all others are charged at 50 %
Notes: Fire Code Enforcement I FIR -107
Entry Class Presentation
21
Review the topics covered by each section. LHUs are intentionally skipped and left to later in the module for continuity in explaining the difference between Use groups and LHUs.
CSACMAPFEC certificate of smoke alarm, carbon monoxide alarm, and portable fire extinguisher compliance

## Slide 22: Subchapter 2
N.J.A.C. 5:70-2.10 Enforcement procedures
  Issuance of violations
  Provides minimum time frames to abate by subchapter
  All other Administrative procedures for violations
N.J.A.C. 5:70-2.11 Service of notice and orders
  Provided for approved methods for issuing the violations identified in 2.10 above
N.J.A.C. 5:70-2.12 Penalties
  Provides for issuance of penalties once the identified cure period has been exceeded without resolution
Notes: Fire Code Enforcement I FIR -107
Entry Class Presentation
22
As you explain the enforcement of the code you do not have to go too much into detail, the Fire Official, not the fire inspector has to have the detailed knowledge. The important items for the fire inspector would be time for abatement, service of notice and imminent hazards. Emphasize the large number of enforcement tools there are. There is no reason for non-compliance.

## Slide 23: Subchapter 2
N.J.A.C. 5:70-2.12A Dedicated penalties
  This section provides that any initial penalty amount issued under 2.12 also have a like amount issued as a dedicated penalty
  The dedicated penalty is only assessed on the initial penalty
  Monies paid or deposited in a trust account with specific requirements and can only be used to purchase new firefighting equipment or train firefighters
Notes: Fire Code Enforcement I FIR -107
Entry Class Presentation
23
As you explain the enforcement of the code you do not have to go too much into detail, the Fire Official, not the fire inspector has to have the detailed knowledge. The important items for the fire inspector would be time for abatement, service of notice and imminent hazards. Emphasize the large number of enforcement tools there are. There is no reason for non-compliance.

## Slide 24: Subchapter 2
N.J.A.C. 5:70-2.13 Compensatory penalties
  This section provides for additional penalties to be assessed when a fire occurs where a previously issued and unabated violation exists
  The penalty is the smaller of $ 150,000 or the cost to suppress and extinguish the fire
  The violation need not be the cause but rather causes the fire intensity to increase
Notes: Fire Code Enforcement I FIR -107
Entry Class Presentation
24
As you explain the enforcement of the code you do not have to go too much into detail, the Fire Official, not the fire inspector has to have the detailed knowledge. The important items for the fire inspector would be time for abatement, service of notice and imminent hazards. Emphasize the large number of enforcement tools there are. There is no reason for non-compliance.

## Slide 25: Subchapter 2
N.J.A.C. 5:70-2.14 Variances
  Fire official my grant so long as the end result is equivalent protection
  The section provides for written application
  The variance shall be approved with in 30 days or is automatically denied.
N.J.A.C. 5:70-2.15 Injunctive relief
  The LEA may file a petition with superior court to require compliance with lawfully issued violations under the code.
Notes: Fire Code Enforcement I FIR -107
Entry Class Presentation
25
Self explanatory

## Slide 26: Subchapter 2
N.J.A.C. 5:70-2.16 Imminent hazards
  This section defines five cases where violations are deemed imminent
  By nature, these violations must be abated immediately to no more than 24 hours
  Abatement is determined by the Fire Official and may include alternatives such as “fire watch” to supplement a deficiency in the automatic detection system, evacuation of the use…..
  There is NO linkage to Subchapter 3 violations under IFC NJ Edition
Notes: Fire Code Enforcement I FIR -107
Entry Class Presentation
26
Self explanatory

## Slide 27: Subchapter 2
N.J.A.C. 5:70-2.17 Evacuation of unsafe premises
  Specifies how to proceed in the case of 5:70-2.16
N.J.A.C. 5:70-2.18 Punitive closing
  Specifies procedures to close a property for up to 60 days for willful or gross negligence.
N.J.A.C. 5:70-2.19 Appeals
  Defines the process to appeal any enforcement action
  Appeal must ne initiated within 15 days of the notice
Notes: Fire Code Enforcement I FIR -107
Entry Class Presentation
27
Self explanatory

## Slide 28: Subchapter 2
N.J.A.C. 5:70-2.20 Identifying emblems for structures with truss construction
Notes: Fire Code Enforcement I FIR -107
Entry Class Presentation
28
Self explanatory

## Slide 29: Subchapter 2
N.J.A.C. 5:70-2.21
Identifying emblems for structures with solar panels
  (a) Identifying emblems shall be permanently affixed to the front of structures hosting or being powered by photovoltaic electrical power either on the roof or adjacent to the building. Commercial buildings only.
Notes: Fire Code Enforcement I FIR -107
Entry Class Presentation
29
Self explanatory HISTORY:
New Rule, R.2018 d.061, effective January 16, 2018. See: 49 N.J.R. 2355(a), 50 N.J.R. 323(a).

## Slide 30: Subchapter 2
N.J.A.C. 5:70-2.22 Registration of carnivals
  “Carnival” means a traveling circus or other traveling amusement show having one or more of the following uses:
    1. Mobile enclosed structures used for human occupancy;
    2. Tents or temporary membrane structures requiring a permit in accordance with the UCC.
    3. Any use involving open flame or flame producing device(s).
    (N.J.A.C. 5:70-1.5 Definitions)
Notes: Fire Code Enforcement I FIR -107
Entry Class Presentation
30
Self explanatory

## Slide 31: Subchapter 2
N.J.A.C. 5:70-2.23 Elevator Key lock boxes
N.J.A.C. 5:70-2.24 Inspection of educational occupancies
N.J.A.C. 5:70-2.25 Mattresses
N.J.A.C. 5:70-2.26 Removal of snow from fire hydrants; Installation of fire hydrant markers
Notes: Fire Code Enforcement I FIR -107
Entry Class Presentation
31
Self explanatory

## Slide 32: Use Groups vs. Life Hazard Uses
Use Group –
  “Use” or “Use Group” means the use to which a building, portion of a building, or premises, is used.
Life Hazard Use –
  "Life hazard use" means a building or structure, or part thereof, classified in any of the use groups in the building subcode of the New Jersey Uniform Construction Code and defined as a Life Hazard in subchapter 2 of this chapter. "Life hazard use" shall also mean and include high rise structures as defined in N.J.AC. 5:70-1.5.
Notes: Fire Code Enforcement I FIR -107
Entry Class Presentation
32
See definitions in subchapter 1 for background.

## Slide 33: Use Group Example 1
Auto body Shop
Use Group _________
High School
Use Group _________
WAWA
Use Group _________
AMC Movie Theater
Use Group _________
A Assembly A-1, A-2, A-3, A-4, A-5
B Business
E Educational
F Factory F-1, F-2
H High Hazard H-1, H-2, H-3, H-4, H-5
I Institutional I-1, I-2, I-3
M Mercantile
S Storage S-1, S-2
R Residential R-1, R-2, R-3, R-4, R-5
U Utility
Notes: Fire Code Enforcement I FIR -107
Entry Class Presentation
33
LHU Aa01

## Slide 34: Subchapter 2
N.J.A.C. 5:70-2.4A Type Aa through Aj
  Page 70-10 to 70-11
N.J.A.C. 5:70-2.4B Type Ba through Bq
  Page 70-11 to 70-16.
N.J.A.C. 5:70-2.4C Type Ca through Ci
Page 70-17 to 70-18
N.J.A.C. 5:70-2.4B Type Da through Dc
  Page 70-18 – 70-19
Notes: Fire Code Enforcement I FIR -107
Entry Class Presentation
34
Opening of LHU discussion. Explain how these three sections are interlocked for functionality.

## Slide 35: Life Hazard Use Example 1
A day nursery with a maximum permitted occupancy of 35
Life Hazard Use _________
Aa01
Notes: Fire Code Enforcement I FIR -107
Entry Class Presentation
35
LHU Aa01

## Slide 36: Life Hazard Use Example 2
A crop ripening process in a 115,000 square foot building .
Life Hazard Use ______
Bj08
Notes: Fire Code Enforcement I FIR -107
Entry Class Presentation
36
LHU Bj08

## Slide 37: Use Group/Life Hazard Use Example 1
A 45,000 square foot tire recapping plant.
Use Group _________
LHU _________
F-1
Bf10
Notes: Fire Code Enforcement I FIR -107
Entry Class Presentation
37
F-1 use group, Bf10 LHU

## Slide 38: Use Group/Life Hazard Use Example 2
A two-story college dormitory with 36 dwelling units.
Use Group _________
LHU _________
R-2
AF05
Notes: Fire Code Enforcement I FIR -107
Entry Class Presentation
38
R-2 use group, Af05 LHU.

## Slide 39: Summary
In this Module we have discussed:
Review the adoption date and application of the Uniform Fire Safety Act.
Review the scope and application of Subchapter 1 of the UFC.
Review the application and enforcement of Subchapter 2 of the UFC.
Notes: Fire Code Enforcement I FIR -107
Entry Class Presentation
39
Self explanatory

## Slide 40: Summary
In this Module we have discussed:
Review what a ‘Use Group’ is as compared to a ‘Life Hazard Use’.
Assign use group and life hazard use designations.
Review the application of the NJ UCC vs. the NJ UFC.
Notes: Fire Code Enforcement I FIR -107
Entry Class Presentation
40
Self explanatory

## Slide 41: Summary
In this module will have discussed…
How buildings are classified under the UCC-NJ and UFC-NJ,
How the different codes are applied,
Defined life hazard uses
Use Group classification.
Notes: Fire Code Enforcement I FIR -107
Entry Class Presentation
41
Summary of objectives presented.

## Slide 42: Review Questions
See Student Manual for Review Questions
  Module 3
Each student or group of students from the same agency shall obtain a copy of their local ordinance that provides for enforcement of the Uniform Fire Safety Act in their municipality and bring it to class for discussion during Module 4.

## Slide 43: Class work
Class assignment:
Taking the list you prepared of building and structures, and utilizing the LHU found in your code books, classify the LHU for each of the buildings you listed.
Be prepared to defend your response.
Notes: Fire Code Enforcement I FIR -107
Entry Class Presentation
43

## Slide 44: Review Questions
See student manual
  Module 3 - Module review questions

## Slide 45: Use Group/Life Hazard Use Homework
Refer to the pages in your student handout
Exercise #2
Notes: Fire Code Enforcement I FIR -107
Entry Class Presentation
45
Two pages, one with short descriptions, one with a high school diagram.

## Slide 46: Next Lesson
Module 4
Legal Aspects of Code Enforcement
Date/time
Notes: Fire Code Enforcement I FIR -107
Entry Class Presentation
46
Review when the next class will be.

## Slide 47
END OF MODULE