STATE OF NEW JERSEY
DEPARTMENT OF COMMUNITY AFFAIRS

DIVISION OF FIRE SAFETY

FIRE INSPECTOR CERTIFICATION COURSE

Module 5

Referenced Standards

in cooperation with

Kean University Fire Safety Training Program

Time: 3 hours

Teaching/Learning Level: Cognitive- knowledge, comprehension, application.

## Learning/Teaching Aids:

- Syllabus

- Board/easel pad

- Chalk/markers

- PC/laptop

- LCD Projection unit, Smart Board or TV

- Projection screen

- NJ Uniform Fire Code NJAC 5:70-1 et seq.

- ICC, IFC-NJ 2015 Edition NJ Edition

- NJ UCC applicable adopted reference code sections

- IFSTA ‘Fire Inspection and Code Enforcement’ 8th ed.

- NJ Fire Code Inspection Student Manual

Behaviors to Foster

Encourage students to listen carefully, take notes and to actively participate by asking questions and offering experiences that will foster discussion during lectures. It is imperative that they absorb and retain as much information as possible to assist them in having a solid foundation of knowledge for application in this field and successfully completion the exam for this course and the State Certification exam.

Task:

Comprehension of the difference between a code any standard understanding the use and application of subchapter three chapter 80 of the uniform fire code. Understanding when and how to apply reference standards comprehension of the use and application of NJ AC 5:70 – 1.3 (b).

Given in a classroom setting:

- The New Jersey state uniform fire code book

- The ICC, IFC – 2015 edition

- The New Jersey uniform construction code applicable adopted sections

- The student handout

Standards:

- NJAC 5:70 – 1 et seq.

- NJAC 5:23-1 et seq.

- NFPA 13 2013 edition

- ANSI C – 10

Prerequisite Knowledge: completion of modules one through four

Prerequisite Skills: Ability to listen effectively, follow directions, take notes, and retain knowledge.

## Resources/References:

- New Jersey uniform fire code

- ICC international fire code 2015 edition

- New Jersey uniform construction code applicable sections

- student handout

- NFPA 13 2013 edition

Motivation: (State Need to Know)

(A reminder to the instructor; it is best that the instructor uses an example from a recent or current event that is pertinent to the lesson. In this case you can emphasize the fact that the uniform fire code is only a small portion of the code and standards utilized in addressing fire safety issues)

## Student Performance Objective (SPO):

- SPO-1 the student will be able to understand and define a code

- SPO-2 the student will be able to understand how standards apply within codes

- SPO-3 the student will understand that the uniform fire code is only a small part of the regulations that are applied when addressing fire safety issues with reference standards

- SPO-4 the student will describe when and how to utilize chapter 80 of subchapter three

- SPO-5 student will understand how to use standards that are not specifically referenced within the New Jersey fire code.

- SPO-6 the student will be able to apply NFPA 13 in evaluating sprinkler systems.

## Enabling Objectives (EO):

- EO 1-1-1 review the listing in chapter 80 of subchapter three of the uniform fire code to emphasize the magnitude of the requirements found within reference standards.

- EO-1-1-2 reviewed the reference standards within the local fire safety office for application.

- EO-1.1.3 review the authority path that leads to the enforcement of reference standards

- EO-1.1.4 utilize NFPA 13, 2013 edition, and explain the limitations of applying the standard by reviewing those sections that do not apply due to the construct ocean related nature of the requirements versus those that are maintenance oriented.

- EO-1.1.5 review the limited nature of the language found within chapter 3, section 315 of the New Jersey fire code addressing storage arrangements as compared to those within NFPA 13 chapter 12.

## Overview/Main Points:

- Uniform fire code might appear comprehensive to the new user, but instead provides a path to many additional standards that address fire safety issues.

- If a fire inspector only reviews subchapter 31 performing his or her duties he or she is not properly applying the New Jersey uniform fire code.

- Codes are enforceable documents with specific penalties.

- Standards are not enforceable unless a path can be found in enforcement of the code.

- Reference standards are applied when the fire safety issue is not specifically covered by code language.

- Only the maintenance portions of the reference standards are applied.

- As an example, if you did not use reference standards, you would have only minimal code language available to address the myriad of issues involved in the storage of ordinary combustible materials.

INSTRUCTOR NOTES Initial Instructions:

Prior to this lesson instructor shall have reviewed the lesson plan for this module, the PowerPoint presentation with notes, the student handouts and have read fire code 5:70 – three chapter 80 to refresh the instructors’ knowledge of the topic.

## Opener: Start with a motivator (need to know) related to objectives and the lesson; state objectives and main points.

Teaching points

(See instructor’s notes for PowerPoint file)

## Summary:

Summarize the material covered in this lesson by reviewing the student performance objectives listed in the main points during the evaluation, at the end of the summary/evaluation reminded the students of the next class date and time in the homework that must be completed successfully participate in class and comprehend the materials provided the next lesson.

## Module 5 Referenced Standards

Student Performance Objective (SPO):

- SPO-1 the student will be able to understand and define a code

- SPO-2 the student will be able to understand how standards apply within codes

- SPO-3 the student will understand that the uniform fire code is only a small part of the regulations that are applied when addressing fire safety issues with reference standards

- SPO-4 the student will describe when and how to utilize chapter 80 of subchapter three

- SPO-5 student will understand how to use standards that are not specifically referenced within the New Jersey fire code.

- SPO-6 the student will be able to apply NFPA 13 in evaluating sprinkler systems.

## Enabling Objectives (EO):

- EO 1-1-1 review the listing in chapter 80 of subchapter three of the uniform fire code to emphasize the magnitude of the requirements found within reference standards.

- EO-1-1-2 reviewed in the to have the reference standards within the local fire safety office for application.

- EO-1.1.3 review the authority path that leads to the enforcement of reference standards

- EO-1.1.4 utilize NFPA 13, 2013 edition, and explain the limitations of applying the standard by reviewing those sections that do not apply due to the construction  related nature of the requirements versus those that are maintenance oriented.

- EO-1.1.5 review the limited nature of the language found within chapter 3, section 315 of the New Jersey fire code addressing storage arrangements as compared to those within NFPA 13 chapter 12.

## Overview/Main Points:

- The New Jersey uniform fire code might appear comprehensive to new users, but instead provides a path to many additional standards that address fire safety issues.

- If a fire inspector only reviews the UFC when performing his or her duties, he or she is not properly applying fire code.

- Codes are enforceable documents with specific penalties

- Standards are not enforceable unless a path can be found for enforcement of the code

- Reference standards are applied when the fire safety issue is not specifically covered by code language.

- Only the maintenance portions of the reference standards apply.

## EVALUATION

Oral Review: Utilizing the SPOS and Main Points, orally assess the students’ comprehension of the material provided during this lesson.

Other Evaluation: (If there are assigned quizzes for this lesson, state that fact here.)

Instructors may use course quizzes, or create and use lesson quizzes and other learning reinforcements.  Quizzes are diagnostic and may be given as in-class group assignments to generate discussion or as home assignments and used as review prior to starting the next session.

HOMEWORK

# Readings

- IFSTA fire prevention code enforcement 8th edition chapter 2

- NJ International Fire Code 2015 edition chapter 80

# Assignments

- IFSTA fire prevention code enforcement workbook 8th edition

  - Worksheet