STATE OF NEW JERSEY
DEPARTMENT OF COMMUNITY AFFAIRS

DIVISION OF FIRE SAFETY

FIRE INSPECTOR CERTIFICATION COURSE

Student Manual

Module 5

Referenced Standards

in cooperation with

Kean University Fire Safety Training Program

Student Performance Objective (SPO):

SPO-1	The student will be able to understand and define a code.

SPO-2	The student will be able to understand how standards apply within codes.

SPO-3	The student will understand that the New Jersey Uniform Fire Code is only a small part of the regulations that are applied when addressing fire safety issues with reference standards.

SPO-4	The student will describe when and how to utilize Chapter 80 of subchapter three.

SPO-5	Student will understand how to use standards that are not specifically referenced within the New Jersey fire code.

SPO-6	The student will be able to apply NFPA 13 in evaluating sprinkler systems.

Module Outline

# Referenced standards

- Review homework assignments

- Codes

  - Types and elements

- Standards

  - Types and elements

  - Path to reference

  - Use of reference

  - Eliminating conflicts

- Testing and listing

- Class projects

  - Review of NFPA 13 Chapter 12

  - Review of ANSI/IKECA C-10

Supplemental Materials

Supplemental materials can be found in the student manual CD file folder module five including the following files:

- UL listing and classification expansion

- Sample UL listing

- CPSC alerts

Key terms

### Code

- Standard

- NFPA

- ASTM

- ANSI

- CPSC

- UL

Review questions

- Define code

- Define standard

HOMEWORK

Readings

- International Fire Code New Jersey addition Chapter 80

- IFSTA Fire Prevention Code Enforcement Eighth Edition Chapter 2

Assignment

- IFSTA Fire Prevention and Code Enforcement Workbook Eighth Edition Worksheet 2

## Videos

- ICC code development process

- We are NFPA

- Inspector 911 free NFPA codes and standards

- NFPA codes and standards training order based fire protection

- UL product specification fines certified products

- Why is hazard in commodity classification critical to the success of NFPA 13 sprinkler systems