STATE OF NEW JERSEY
DEPARTMENT OF COMMUNITY AFFAIRS

DIVISION OF FIRE SAFETY

FIRE INSPECTOR CERTIFICATION COURSE

Module 7

Building Construction and 
Plans Review

in cooperation with

Kean University Fire Safety Training Program

Time: 6 hours

Teaching/Learning Level: Cognitive- knowledge, comprehension,

Learning/Teaching Aids:

- Syllabus

- Board/easel pad

- Chalk/markers

- PC/laptop

- LCD Projection unit, Smart Board or TV

- Projection screen

- NJ Uniform Fire Code NJAC 5:70-1 et seq.

- ICC, IFC-NJ 2015 Edition NJ Edition

- NJ UCC applicable adopted reference code sections

- IFSTA ‘Fire Inspection and Code Enforcement’ 8th ed.

- NJ Fire Code Inspection Student Manual

Behaviors to Foster
Encourage students to listen carefully, take notes and to actively participate by asking questions and offering experiences that will foster discussion during lectures. It is imperative that they absorb and retain as much information as possible to assist them in having a solid foundation of knowledge for application in this field and successfully completion the exam for this course and the State Certification exam.

Task:

- A basic understanding of the organization of the uniform construction code and the officials that enforce that code.

- A general understanding of the importance of building code enforcement and how it relates to fire inspections.

- Understanding and recognizing the five major types of building construction

- Understanding the effects of fire suppression systems on the height, area, and construction type of buildings.

- Recognizing the basic types of fire resistant rated walls and their application in building construction.

- Recognizing building systems that effectively protect fire resistant rated construction during inspections.

- Recognizing loads and forces of different types that may affect the structure or impact it safety.

- Understanding the municipal government process contractors must meet prior to the construction of any building.

- Understanding the basic process of applying for building permits and when those permits may be exempted for ordinary repair or minor work.

- Understanding importance of having the ability to review and comprehend different types of plans and drawings of buildings.

Given in a classroom setting:

The student handout

New Jersey uniform fire code NJAC 5:70-1 et.seq.

NJ IFC 2018 edition

NJ UCC applicable adopted code reference sections

IFSTA fire inspection and code enforcement a tradition

PowerPoint presentation

Prerequisite knowledge: modules 1 thru 6

Prerequisite skills: ability to listen effectively follows directions, take notes, and retain knowledge

Beginning the module: (called to order)

NOTE: modules power points are broken down into two separate presentations.

Motivation: a reminder to the instructor, it is best if the instructor uses an example from a recent or current event that is pertinent to the less. In this case you can refer to a recent fire in your area or any of the issues contained in this lesson applied. Such as fire spreader containment size of building implications type of construction with the need to understand plans to reconstruct the event.

Student performance objectives (SPO):

SPO-1	The students will understand the legislative intent of the uniform construction code.

SPO-2	The students will understand how the uniform construction code is enforced.

SPO-3	Students will be able to describe the five major types of construction.

SPO-4	The students will understand the effects of fire suppression on height and area of buildings.

SPO-5	Students will understand the types of fire resistant rated walls and the methods of testing those walls.

SPO-6	The students will understand the basic loads and forces that applied to buildings due to adverse weather conditions, climate temperature, and fire.

Enabling objectives (EO):

EO-1-1-1	Outline the structure and legislative basis of the uniform construction code and the role it plays in the construction of buildings in New Jersey.

EO-1-1-2	Utilizing the IFC 2015 edition in the IBC 2015 edition identifies the types of construction and the methods of construction contained within.

EO-1-1-3	Review the various fire resistance ratings of structural elements and opening protective devices provided through the building code. Explain how these relate to effective egress an effective firefighting access in buildings.

EO-1-1-4	Review the fire test methods that are utilized to determine fire resistance ratings.

EO-1-1-5	Review the different types of loads imposed on buildings in the need to evaluate structures that may be compromised after construction.

EO-1-1-6	Describe various scenarios where the fire inspector may be required to review and comprehend building construction plans.

Overview and main points:

- A fire inspector must be capable of recognizing the various types of construction in order to identify maintenance deficiencies or work that may require construction permits.

- The fire inspector must understand the importance of fire resistant rated construction and how it affects the height and area of buildings

- The fire inspector must be capable of determining the general fire resistant rating of structural elements for the purpose of prefire planning for firefighters.

- Fire inspectors must be able to readily recognize different types of building loads and load paths for carrying beams and columns this will provide the fire inspector with the ability to recognize potential structural failure hazards.

- Plan review skills are not limited to new construction but also are needed to assess existing conditions and to reconstruct events leading up to and occurring during a fire scenario they are also needed when assessing code compliance and review alternate solutions.

- To properly perform maintenance inspection on structures and to identify deficiencies there must be knowledge of the underlying principles of fire resistance construction methods on the part of the fire inspector.

INSTRUCTOR NOTES Initial Instructions:

Prior to this lesson the instructor shall have reviewed the lesson plan for this module, the PowerPoint presentation with notes and the student handouts and have read Fire Inspection and Code Enforcement (FI&CE) Chapter 1 and Uniform Fire Code (UFC) N.J.A.C. 5:70, Subchapters 1 & 2, to refresh the instructors’ knowledge on this topic.