STATE OF NEW JERSEY
DEPARTMENT OF COMMUNITY AFFAIRS

DIVISION OF FIRE SAFETY

FIRE INSPECTOR CERTIFICATION COURSE

Student Manual

Module 7

Building Construction and 
Plans Review

in cooperation with

Kean University Fire Safety Training Program

Student Performance Objective (SPO):

SPO-1	The students will understand the legislative intent of the uniform construction code.

SPO-2	The students will understand how the uniform construction code is enforced.

SPO-3	Students will be able to describe the five major types of construction.

SPO-4	The students will understand the effects of fire suppression on height and area of buildings.

SPO-5	Students will understand the types of fire resistant rated walls and the methods of testing those walls.

SPO-6	The students will understand the basic loads and forces that applied to buildings due to adverse weather conditions, climate temperature, and fire.

Module Outline

- Foundation of the uniform construction code

- Uniform construction codes subcodes

- The enforcement mechanism of the you UCC

- Essential elements of a fire inspection

- Five types of construction

- Height and area limitations

- Fire resistance ratings and acceptance testing

- Types of fire resistant rated walls

- Horizontal fire assemblies

- Fire rating of shafts

- Fire stopping

- Fire rated doors and windows and other opening protective devices

- Loads and forces that apply to buildings.

SUPPLEMENTAL MATERIALS

Supplemental materials can be found in the student manual CD file folder module 7 including the following files:

- Gypsum Association fire resistant design manual

- Gypsum Association bulletins

- Smoke barrier fire barrier information

- Truss signs

Key terms

- Uniform construction code

- Sub-codes

- Construction official

- Sub-code officials

- Fire resistant construction

- Noncombustible construction

- Ordinary construction

- Heavy timber construction

- Wood frame construction

- Fire resistance ratings

- Fire barriers

- Fire partitions

- Smoke barriers

- Smoke partitions

- Firewalls

- Horizontal fire assemblies

- Fire wrap

- Fire stopping

- Live load

- Dead load

- Impact loads

- Concentrated loads

- Distributed loads

- Axial loads

- Compression and tension forces

- Sheer

- Fire load

- Fire cuts

- Zoning

- Land use

- Site plans

- Plot plans

- Architectural plans

- Mechanical plans

- Fire protection plans

- As builds

- Ordinary repair

- Minor repair

- Construction permits

- Door schedules

- Smoke management

- Plan revisions

Review questions

- Describe the enforcement officials hundred uniform construction code.

- Name the five types of building construction.

- Identify use of firewalls, fire barriers, and fire partitions.

- Describe the test methods to obtain a fire resistance rating.

- Describe the submission process for new construction.

- Identify fire safety issues that are considered ordinary repair

- List the types of drawings that are submitted for plan review.

HOMEWORK

Readings

- IFSTA fire prevention and code enforcement 8th edition

  - First night Chapters 4 5 and 6, eighth edition

  - Second night Chapter 15, eighth edition

Assignment

- IFSTA fire prevention and code enforcement

  - Instructor assigned worksheets, eighth edition

  - Review questions Chapter 4, 5,6, &15