STATE OF NEW JERSEY
DEPARTMENT OF COMMUNITY AFFAIRS

DIVISION OF FIRE SAFETY

FIRE INSPECTOR CERTIFICATION COURSE

Module 8

General Fire Hazards Recognition

in cooperation with

Kean University Fire Safety Training Program

Time: 6 hours

Teaching/Learning Level: Cognitive- knowledge, comprehension.

Learning/Teaching Aids:

- Syllabus

- Board/easel pad

- Chalk/markers

- PC/laptop

- Projection unit

- Projection screen

- Power Point presentation

- New Jersey Uniform Fire Code NJAC 5:70-1 et seq.

- ICC, IFC-NJ 2015 Edition and NJ UCC applicable adopted code reference sections

- ICC, IBC-NJ 2015 Edition (chapters 9 and 10 for NJDFS Exam)

- IFSTA, Fire Inspection and Code Enforcement, 8th Edition

- Fire Protection, Detection, and Suppression Systems, 5th Edition

- IFSTA, Building Construction Related to the Fire Service, 4th Edition

- Student Manual

Behaviors to Foster
Encourage students to listen carefully, take notes and to actively participate by asking questions and offering experiences that will foster discussion during lectures. It is imperative that they absorb and retain as much information as possible to assist them in successfully completion the exam for this course and the State Certification exam which requires a score of 80% or better for passing as well as having a solid foundation of knowledge for application in this field.

Tasks:

- Understanding the scope and application of the fire code.

  - Chapter 1 Scope and Administration

- Understanding the need to check definitions and where to find them.

  - Chapter 2 Definitions

- Understanding the review structure employed to apply the various technical provisions of the UFC.

- Understanding and being able to apply the technical requirements found within the following chapters of the 2015 IFC NJ Edition.

  - Chapter 3 General Requirements

  - Chapter 4 Emergency Preparedness

  - Chapter 5 Fire Service Features

  - Chapter 6 Building Services and Systems

  - Chapter 7 Fire and Smoke Protection Features

  - Chapter 8 Interior Finish, Decorative Materials and Furnishings

Given in a classroom setting:

  - The student handout

  - New Jersey Uniform Fire Code NJAC 5:70-1 et seq.

- ICC, IFC-NJ 2015 Edition

- NJ UCC applicable adopted code reference sections

- ICC, IBC-NJ 2015 Edition (chapters 9 and 10 for NJDFS Exam)

- ICC, IFC-NJ 2015 Edition and NJ UCC applicable adopted code reference section

- IFTSA, Fire Inspection and Code Enforcement, 8th Edition

- IFSTA, Building Construction Related to the Fire Service, 4th Edition

- Power Point presentation

Standards:

- NJAC 5:70-1 et seq.

- NJAC 5:71-4 et seq

- NJAC 5:23-1 et seq.

Prerequisite Knowledge: Module 7

Prerequisite Skills: Ability to listen effectively, follows directions, take notes, and retain knowledge.

Resources/References:

    - New Jersey Uniform Fire Code NJAC 5:70-1 et seq.

    - New Jersey Uniform Fire Code NJAC 5:71-4 et seq.

    - ICC, IFC-NJ 2015 Edition

    - ICC, IFC-NJ 2015 Edition and NJ UCC applicable adopted code reference sections

- IFSTA, Fire Inspection and Code Enforcement, 8th Edition

- IFSTA, Fire Protection, Detection, and Suppression Systems, 5th Edition

- IFSTA, Building Construction Related to the Fire Service, 4th Edition

    - The student handout

Attention: (Call to Order)

Motivation: (State Need to Know) (A reminder to instructors: it is best if the instructor uses an example from a recent or current event that is pertinent to the lesson. In this case you can refer to the scope of the code and the need to apply it in an orderly fashion to ensure items are not missed.)

Student Performance Objective (SPO):

    - SPO-1 The student will describe the scope and application of the UFC.

    - SPO-2 The student will describe the importance of knowing how to find definitions specific to the code and where to look for them.

    - SPO-3 The student will understand the requirements of the UFC contained within Chapters 3, 5, 6, 7, 8 and 33.

    - SPO-4 The student will understand the importance of reviewing and applying the UFC in a systematic manner.

Enabling Objectives (EO):

- EO 1-1-1 Working from the UFC directly, review the Purpose and Scope found in Chapter 1 of the fire code. Emphasize that the General Provisions in this chapter only apply where specific language is not found in the fire code or a directly referenced standard.

- EO 1-1-2 Working directly from the UFC, explain the path for finding definitions of terms including Chapter 2 of the technical requirements, Subchapter 1 of the Administrative requirements, the Uniform Fire Safety Act itself and the Uniform Construction Code.

- EO 1-1-3 Working from the UFC directly, review the requirements of Chapter 3.

- EO 1-1-4 Working from the UFC directly, review the requirements of Chapter 5.

- EO 1-1-5 Working from the UFC directly, review the requirements of Chapter 6.

- EO 1-1-6 Working from the UFC directly, review the requirements of Chapter 7.

- EO 1-1-7 Working from the UFC directly, review the requirements of Chapter 8.

- EO 1-1-7 Working from the UFC directly, review the requirements of Chapter 33.

Overview/Main Points:

- The UFC applies to all buildings, structures and premises except detached one and two family dwellings occupied by the holder of title.

- The UFC applies to process equipment.

- The UFC applies to the storage and handling of materials.

- The UFC applies to emergency planning within many occupancies.

- Chapter 3 of the UFC General Requirements applies to general precautions against fire and will be applied in the majority of inspections.

- Chapter 5 of the UFC Fire Service Features will be applied in most cases where apparatus access, Identification, use of know boxes are involved in regulated premises and activities.

- Chapter 6 of the UFC Building Services and Systems applies to fueled fired appliances, electrical equipment and similar building equipment and will be applied in most cases where such equipment are involved in regulated premises and activities.

- Chapter 7 of the UFC Fire and Smoke Protection Features applies to fire resistance rated construction establishes criteria for maintaining such rating and features.

- Chapter 8 of the UFC Interior Finish, Decorative Materials and Furnishings applies to interior finishes, decorative materials and establishes criteria for maintaining such rating and features.

- Chapter 33 of the UFC Fire Safety During Construction and Demolition establishes basic fire safety requirements for buildings undergoing construction, renovation and demolition.

Initial Instructions:

Prior to this lesson the instructor shall have reviewed the lesson plan for this module, the PowerPoint presentation with notes, reference materials, the student handouts and have read IFSTA, Fire Inspection and Code Enforcement, 8th Edition Chapters 4 Construction Types & Occupancy Classifications, Chapter 6 Building Components and Chapter 9 Fire Hazard Recognition UFC NJAC 5:70-3, Chapters 3 through 8 to refresh the instructor’s knowledge on this topic.

Opener:  Call to order. Start with a motivator (need to know) related to objectives and the lesson. State objectives and main points.

Teaching points

(See instructor notes from PowerPoint presentation)

Summary:

Summarize the material covered in this lesson by reviewing the SPOs listed and the Main Points during the Evaluation. At the end of the Summary/Evaluation remind the students of the next class date/time and the homework that must be completed to successfully participate in class and comprehend the material provided during the next lesson.

Evaluation:

Oral Review:  Utilizing the SPOS and Main Points, orally assess the students’ comprehension of the material provided during this lesson.

Other Evaluation:  (If there are assigned quizzes for this lesson, state that fact here.)

Instructors may use course quizzes, or create and use lesson quizzes and other learning reinforcements.  Quizzes are diagnostic and may be given as in-class group assignments to generate discussion or as home assignments and used as review prior to starting the next session.

HOMEWORK

Readings

- IFSTA, Fire Inspection and Code Enforcement, 8th Edition Chapters 4 Construction Types & Occupancy Classifications, Chapter 6 Building Components and Chapter 9 Fire Hazard Recognition

- NJUFC 5:70-3 Chapters 1-8.

Assignments

- Case law: Camara vs. San Francisco

- IFSTA, Fire Inspection and Code Enforcement, 8th Student Study Guide Chapter Questions Chapters 4, 6 and 9.

- End of Module quiz

APPENDIX

# LEVEL OF INSTRUCTION

| Cognitive - Knowledge - Comprehension - Application - Analysis - Synthesis - Evaluation | Psychomotor - Perception - Set - Guided Response. - Mechanism - Complex Overt Response - Adaptation - Origination |
| --- | --- |

### DESCRIPTIONS

Cognitive:

- Knowledge:  remembers, recalls; the lowest learning level.  Defines, describes, identifies, labels, lists, matches, names, outlines, reproduces, selects, states.

- Comprehension:  grasps meaning, interprets material, estimates future trends; the lowest level of understanding.  Converts, defends, gives examples, distinguishes, estimates, explains, extends, generalizes, infers, paraphrases, predicts, rewrites, summarizes.

- Application:  uses material in new and concrete situations, applies rules, methods, concepts, principles, laws, and theories; requires higher understanding level.  Changes, computes, demonstrate, solve, discover, manipulate, modify, operate, predict, prepare, uses, produces, relates.

- Analysis:  breaks material into components to understand structural organizational; higher intellectual level than comprehension and application requiring understanding of both structure and content.  Breaks down, diagrams, differentiates, infers, discriminates, relates, distinguishes, identifies, illustrates, outlines, points out, selects, separates, subdivides.

- Synthesis:  able to put parts together to form a new whole, stresses creative behaviors, emphasizes forming new patterns or structures.  Categorizes, combines, complies, composes, creates, devises, designs, explains, generates, modifies, organizes, plans, relates, revises, reconstructs, reorganizes, writes/rewrites, summarizes, tells.

- Evaluation:  able to judge value of material for a given purpose based on definite criteria.  Highest in cognitive hierarchy as this contains elements of all other categories plus conscious value judgments based on clearly defined criteria.  Appraises, compares, concludes, relates, contrasts, criticizes, describes, discriminates, explains, justifies, interprets, summarizes, supports.

Psychomotor:

- Perception:  uses organs or sense to obtain cues to guide motor activity.  Chooses, describes, detects, differentiates, distinguishes, identifies, isolates, relates, selects, separates

- Set:  readiness to take a particular type of action; includes mental, physical or emotional set.  Begins, displays, explains, moves, shows, proceeds, reacts, responds, starts, volunteers.

- Guided Response:  early stages in learning a complex skill; includes imitation, trial and error.  Assembles, builds, calibrates, displays, constructs, dismantles, dissects, fastens, fixes, grinds, heats, manipulates, measures, mends, mixes, organizes, sketches, works.

- Mechanism:  performs acts where learned responses have become habitual and moves with confidence and proficiency; same as guided response.

- Complex Overt Response:  skillful motor performance of complex movement.  Performs proficiently, quickly, smoothly, accurately with minimum energy, without hesitation.  Same as guided response.

- Adaptation:  skills are so well developed that movement patterns can be modified to fit special requirements or meet problem situations.  Adapts, alters, changes, rearranges, reorganizes, revises, varies.

- Origination:  creates new movement patterns to fit a unique situation or problem.  Emphasizes creativity based on highly developed skills.  Arranges, combines, composes, constructs, designs, originates.

Initial Instructions:

Prior to this lesson the instructor shall have reviewed the lesson plan for this module, the PowerPoint presentation with notes, reference materials, the student handouts and IFSTA, Fire Inspection and Code Enforcement, 8th edition Chapters 3, 5, & 9, the ICC 2015 IFC chapters 3 through 8 to refresh the instructor’s knowledge on this topic.