STATE OF NEW JERSEY
DEPARTMENT OF COMMUNITY AFFAIRS

DIVISION OF FIRE SAFETY

FIRE INSPECTOR CERTIFICATION COURSE

Student Manual

Module 8

General Fire Hazards Recognition

in cooperation with

Kean University Fire Safety Training Program

Student Performance Objective (SPO):

- SPO-1 The student will describe the scope and application of the UFC.

- SPO-2 The student will describe the importance of knowing how to find definitions specific to the code and where to look for them.

- SPO-3 The student will understand the requirements of the UFC contained within Chapters 1, 2, 3, 4,5,6, 7, 8

- SPO-4 The student will understand the importance of reviewing and applying the UFC in a systematic manner.

Module Outline

- General Precautions against fire

  - Asphalt Tar Kettles

  - Combustible Waste Materials

  - Ignition Sources

  - Motion Picture Projection Rooms

  - Open Burning

  - Powered Industrial Trucks & Equipment

  - Smoking

  - Vacant Properties

  - Vehicle Impact Protection

  - Fueled Equipment

  - Indoor Displays

  - Misc. Combustible Material Storage

- Public Assemblages & Events

  - Fire Safety & Evacuation Plans

  - Emergency Evacuation Drills

  - Employee Training & Response Procedures

  - Hazard Communication

  - Use & Occupancy Related requirements

- Fire Service Features

  - Fire Apparatus Access Roads

  - Access to Building Openings & Roof

  - Premises Identification

  - Key Boxes

  - Hazards to Firefighters

  - Fire Protection Water Supplies

  - Fire Command Center

  - Fire Department Access to Equipment

- Building Services and Systems

  - Fueled Fire Appliances

  - Emergency & Standby Power Systems

  - Electrical Equipment, Wiring and Hazards

  - Mechanical Refrigeration

  - Elevator Recall & Maintenance

  - Stationary Storage Battery Systems

  - Commercial Kitchen Hoods

- Fire Resistance-Rated Construction

  - Fire Resistance-Rated Construction

  - Floor Openings and Shafts

  - Interior Finish, Decorative Materials & Furnishings

- Interior Finish, Decorative Materials & Furnishings

  - Interior Wall & Ceiling Finish& Trim Existing Bldgs.

  - Interior Wall & Ceiling Finish& Trim in New & Existing Bldgs.

  - Upholstered Furniture & Mattresses in New & Existing Bldgs.

  - Decorative Vegetation in New & Existing Bldgs.

  - Decorative Materials other than Decorative Vegetation in New & Existing Bldgs.

  - Furnishing Other than upholstered Furniture and Mattresses or decorative materials Decorative in New & Existing Bldgs.

SUPPLEMENTAL MATERIALS

Supplemental materials can be found in the Student Manual CD, File Folder “Module 8” and include the following materials:

- CPSC reports on

  - Candle Hazards

  - Electrocution

- Installation manuals for

  - Electric stove

  - Gas logs

  - Gas regulators

  - Grass pavers

  - Gas grill

- Texas A & M Bonfire Report

- EMS Incident Action Plan for carnival

Key terms

- Bonfire

- Combustible debris, rubbish and waste.

- Commercial cooking appliance

- Hi-boy

- Hood

- Open Burning

- Powered Industrial truck

- Recreational fire

- Emergency evacuation drill

- Fire apparatus access road

- Fire command center

- Fire department master key

- Fire lane

- Flame spread

- Flame spread index

- Smoke developed index

- Key box

- Battery system, stationary lead acid

- Nickel cadmium battery

- Non-recombinant battery

- Recombinant battery

- Stationary storage battery

- Valve regulated (VRLA) battery

- Vented (flooded) lead acid battery

- Refrigerant

- Refrigeration system

Review questions

- How close can a dumpster be to a building?  Are there exceptions?

- What standard governs storage of cellulose nitrate film?

- How close to a building can open burning occur?  Are there exceptions?

- Are there any conditions where a LP gas grill can be on a combustible balcony?

- Under what circumstances are open flame devices permitted in assembly occupancies?

- Can incense be burned in a college dormitory?

- Can a powered industrial truck be fueled inside a building?

- Under what circumstances can a fire protection system be disabled in an abandoned building?

- Under what conditions can vehicles be displayed in a mall?

- What is the required width of a fire access road?

- What standards govern installation of emergency power generators?

- How many portable appliances can be served by one extension cord? Are there exceptions?

- What elevators are required to have Phase I emergency recall operation?

- Under what standards are commercial kitchen hoods be maintained?

- Natural cut trees are prohibited in what occupancies?

- Can coat hooks be utilized in use group E hallways?   Are there exceptions?

HOMEWORK

Readings

- IFSTA, Fire Inspection and Code Enforcement, 8th Edition Chapters 4 Construction Types & Occupancy Classifications, Chapter 6 Building Components and Chapter 9 Fire Hazard Recognition

- NJUFC 5:70-3 Chapters 1-8.

Assignments

Case law: Camara vs. San Francisco