STATE OF NEW JERSEY
DEPARTMENT OF COMMUNITY AFFAIRS

DIVISION OF FIRE SAFETY

FIRE INSPECTOR CERTIFICATION COURSE

Student Manual

Module 9

Occupant Load and 
Means of Egress

in cooperation with

Kean University Fire Safety Training Program

Student Performance Objective (SPO):

- SPO-1 The student will define „means of egress‟ and its components.

- SPO-2 Given an example the student will calculate the occupancy load utilizing the method contained within the „Retrofit Code‟ and utilizing the method contained within NJAC 5;70-4.11(f)

- SPO-3 The student will understand the place of assembly history analysis and be able to apply the concepts contained within that analysis.

- SPO-4 The student will have the ability to apply the technical requirements of Chapter 10 of NJ-IFC 2015.

Module Outline

- Calculating occupancy loads,

- Chapter 10 of the UCC-NJ, IBC 2015,

- Chapter 10 of the NJ IFC 2015, and

- A place of assembly case history.

- Sub-chapter 4 retro fit code provisions

- Means of egress components,

- Calculating occupancy loads,

- Application of sub-chapter 4.

SUPPLEMENTAL MATERIALS

Supplemental materials can be found in the Student Manual CD, File Folder “Module 9” and include documents on the following topics:

- Beverly Hills Supper Club

- Coconut Grove Nightclub fire

- OSHA exit routes

- Great Adventure Haunted Mansion fire

Key terms

- Accessible Means of Egress Aisle

- Aisle Accessway Area of Refuge Corridor

- Egress Court

- Emergency escape and Rescue Opening Exit

- Exit Access Exit Discharge

- Exit Enclosure

- Exit Passageway Floor Area, Gross Floor Area, Net Means of Egress Merchandise Pad Nosing

- Occupant Load Panic Hardware Public Way Scissor stairs

- Stairway (interior, exterior, spiral)

Review questions

- List the components of the means of egress

- Is “public way” the same as “street level”?

- Can an “Area of refuge be a stairwell?

- In calculating the Occupant load do you use the total floor space?

- In all cases are two exits always required?

- Does travel distance to an exit have any value in determining occupant load?

- Is the Refit code applied to all buildings regardless of age or date of construction?

- According to the retro code a can fire escape be made of wood?

HOMEWORK

Readings

- IFSTA Fire Prevention and Code Enforcement

  - Chapter 7, 8th edition

- NJ UFC 5:70-3

- NJ-IFC 2015 Chapter 10

Assignments

- First meeting: Quiz

- IFSTA Fire Prevention & Code Enforcement 8th Edition

- Chapter 7

- Review Questions Chapter 7