- How many hazard classes are used to categorize hazardous materials under the United Nations (UN) classification system?

  - three

  - five

  - seven

  - nine

- How many divisions, of the United Nations (UN) classification system, is Hazard Class 1 is divided into?

  - three

  - four

  - five

  - six

- What division of DOT class 1 categorizes very insensitive explosives?

  - 1.4

  - 1.5

  - 1.6

  - 1.7

  - 1.8

- What division of Department of Transportation hazardous materials classes categorizes explosives that have a projection hazard but not a mass explosion hazard?

  - 4.1

  - 6.2

  - 1.2

  - 1.1

  - 1.3

- What division of DOT hazardous materials class categorizes a material that is a gas at 68°F or less and that has a boiling point of 68°F or less and is know to be so toxic to humans as to pose a hazard to health during transportation?

  - 6.1

  - 2.3

  - 6.2

  - 2.2

  - 2.1

- Which of the following represents a material that is miscellaneous, products or substances, or organisms during transportation?

  - Class 9

  - Class 8

  - Class 7

  - Class 6

- What can the first responder determine by using the UN numbers and reference materials?

  - The origin of the material

  - The destination of the material

  - The company which made the product

  - Information on the general hazard class of the material

- Which of the followings uses a four-digit “hazmat identification number” assigned to each material listed?

  - United Nations Classification System Guidebook

  - Department of Transportation Classification System Guidebook

  - North American Emergency Response Guidebook

  - ORM-D Response Guidebook

- Who was the NAERG primarily developed to be used by?

  - emergency medical services personnel

  - firefighters

  - police

  - All – A, B & C

  - Only B & C

- What does the NFPA 704 system offer?

  - All - C, D & E

  - Only – C & E

  - It identifies the general hazards and the degree of severity for health, flammability and reactivity

  - It is to be used by the general public for identification of transportation hazards

  - It provides immediate information necessary to protect the lives of both public and emergency response personnel

- What is the high number in the rating scale of the NFPA 704 system with zero (0) being the lowest?

  - Four

  - Five

  - Six

  - Ten

- What is indicated if a material being stored is displaying the NFPA 704 system with a number four on a red background at the twelve o’clock position?

  - It must be a severe hazard, flammable

  - It is readily capable of detonation at normal temperatures and pressures

  - It will rapidly or completely vaporize at atmospheric pressure and normal ambient temperature

  - It will not burn

- What color is the health rating depicted at the nine o’clock position of the NFPA 704 system?

  - red

  - white

  - yellow

  - blue

- What rating or designation of the NFPA 704 system is indicated by a white colored diamond at the six o’clock position?

  - flammability rating

  - special hazards designation

  - health rating

  - reactivity rating

- What is indicated if a material stored is displaying the NFPA 704 system with a number one on a yellow background at the three o’clock position?

  - It is normally stable but can become unstable at elevated temperature and pressure

  - It must be preheated before ignition can occur

  - It would cause irritation if exposed to but only minor residual injury

  - It is normally stable even under fire exposure conditions

- Which of the following is the best source of information on a specific hazardous material?

  - NAERG

  - UN/DOT

  - SDS

  - NFPA 704

- Where do we obtain Safety Data Sheets?

  - U.S. Department of Labor

  - Chemical Abstract Service

  - Occupational Safety and Health Administration (OSHA)

  - Manufacturer of the material

- How many sections are contained within an SDS?

  - Six

  - Sixteen

  - Ten

  - Four

- What are the most common types of hazardous materials fire inspection personnel will encounter?

  - Flammable and combustible liquids

  - Radioactive materials

  - Oxidizers and organic peroxides

  - Nonflammable gases

- What is the class of liquid having a flashpoint at or above 100°F and below 140°F?

  - Class IA

  - Class IIIA

  - Class II

  - Class IC

- What is the class of liquid having a flashpoint below 73° and a boiling point at or above 100°F?

  - Class IIIB

  - Class II

  - Class IC

  - Class IB

- The minimum temperature at which a flammable liquid will give off sufficient vapor to ignite is called the __________.

  - Autoignition temperature

  - Fire point

  - Boiling point

  - Flash point

- The minimum percentage of vapor to air needed to cause an ignition is called the ______________?

  - Autoignition temperature

  - Lower explosive limit

  - Boiling point

  - Upper explosive limit

- What is the minimum temperature at which the vapor pressure of a liquid equals atmospheric pressure is called the _______________?

  - Autoignition temperature

  - Fire point

  - Boiling point

  - flash point

- Pressure exerted by escaping molecules from the surface of a liquid at equilibrium is called ___________ of the liquid?

  - Vapor density

  - fire point

  - Vapor pressure

  - flash point

- Which of the following represents the ratio of weight of a flammable or combustible liquid to an equal volume of water?

  - Boiling point

  - Specific gravity

  - Flammable and explosive limits

  - BLEVE

- Which of the following represents the concentration of the vapor in air that will produce a flame at a given pressure and temperature?

  - Boiling point

  - Specific gravity

  - Flammable Range

  - BLEVE

- Fluids that have a vapor pressure less than 40 psi at atmospheric pressure of 760 mm/Hg at 100F degrees are _________?

  - Liquefied gases

  - Liquids

  - Gases

  - Solids

- Hazardous materials shall be classified by their hazard categories as _______ & __________.

  - Physical, health

  - Flammable, non flammable

  - Liquids, gases

  - Liquids, solids

- Which of the following methods are used to determine flash point?

  - All – C, D & E

  - Only – D & E

  - ASTM D-93 Closed cup test

  - Specific gravity cup test

  - ASTM D-56 Open cup test