- What Spill dimension at an airport must be reported to the Fire official?

  - More than 10 feet in length

  - More than 50 square feet

  - A continuous leak

  - All of the above

- What amount of insurance is required prior to issuance of a permit for fireworks display?

  - Not less than $250,000

  - Not less then $1,000,000

  - Not less than $100,000

  - Not less than $500,000

- What agency must approve a helistop?

  - DCA

  - Dept of health

  - NJ State Police

  - FAA

- What is the micron size requiring control of dusts?

  - 420 Microns or smaller

  - 480 Microns or smaller

  - 540 Microns or smaller

  - 650 Microns or smaller

- What is the maximum height for stacked lumber?

  - 15 feet

  - 20 feet

  - 25 feet

  - 30 feet

  - None of the above

- What oven operates at 5000 degrees and above?

  - Class A

  - Class B

  - Class  C

  - Class D

- What dry cleaning solvent is no longer used?

  - Type 1

  - Type 2

  - Type 3 a

  - Type 3 b

- What is the separation of two magazines within the same building?

  - Not less than 25 feet

  - Not less than 10 feet

  - Not less than 50 feet

  - Magazines are not allowed within buildings

- What amount of Class I, II or IIIA liquid within permanently installed tanks require a label identifying the materials therein?

  - 50 gallons

  - 500 gallons

  - 1,000 gallons

  - 100 gallons

- What is the minimum distance a vent pipe outlet, venting tanks containing Class I, II or IIIA liquids, shall be from any building opening?

  - 10 feet

  - 12 feet

  - 5 feet

  - 22 feet

- Which of the following is used for the design of the supporting structure for tanks?

  - All – C, D & E

  - Only D & E

  - International Building Code

  - The building subcode of the Uniform Construction Code

  - NFPA 30

- What protocols shall be employed to protect above-ground tanks and piping from vehicle impact?

  - All – C, D & E

  - Only – C & E

  - UL 2085

  - ASTM E 1590-02

  - Section 312

- What color shall a container be which holds 10 gallons or less of a flammable liquid?

  - Red

  - Clear

  - Blue

  - Any color – it’s not regulated

- What is the maximum amount of a Class IIIB liquid allowed within a single control area of a sprinklered Sam’s Club store?

  - 1,600 gallons

  - 7,500 gallons

  - 13,200 gallons

  - unlimited

- What quantity of liquid used for maintenance and operation of equipment is allowed to be stored outside of a cabinet when in an approved container?

  - Not to exceed 5 gallons

  - Not to exceed 1 gallon

  - Not to exceed 10 gallons

  - Not to exceed 2 gallons

- What is the maximum storage height, on shelves, of Class IC liquid within a nonsprinklered control area?

  - 6 feet

  - 8 feet

  - 12 feet

  - 4 feet

- Which of the following liquids can be used for cleaning purposes provided they comply with sections 3405.3.7 or 3405.3.6.2?

  - All – C, D & E

  - Only – D & E

  - Class IA

  - Class IC

  - Class II

- What is the minimum mechanical ventilation rate for rooms or buildings used for dispensing or mixing flammable and combustible liquids?

  - 1 cubic foot per minute per square foot of floor area

  - 2 cubic feet per minute per square foot of floor area

  - 1 square foot per minute per cubic feet of floor area

  - 1 square foot per minute per gallon of liquid present

- What is the maximum allowable amount of Class I or Class II liquid in a temporary above-ground tank on a construction site?

  - 500 gallons

  - 1,000 gallons

  - 10,000 gallons

  - 1,100 gallons

- Which of the following criteria must be employed when transferring a fuel from tank vehicles into the tanks of motor vehicles?

  - All – C, D & E

  - Only – C & E

  - The dispensing hose does not exceed 100 feet in length

  - Electrical devices and wiring in areas where fuel dispensing is conducted is in accordance with the ICC Electrical Code

  - Tank vehicle-dispensing equipment is operated only by designated personnel who are trained to handle and dispense motor fuels

- Which of the following is an example of flammable vapor area as it applies to flammable finish application?

  - The area in the vicinity  of dip tanks and drain boards

  - The interior of spray booths

  - The interior of ducts exhausting from spray booths

  - All – A, B & C

  - Only – B & C

- Which of the following, with regard to spray booths, is required to be grounded in accordance with the electrical subcode of the UCC?

  - All – C, D & E

  - Only D & E

  - Metal parts of spray booths

  - Piping systems conveying Class I or II liquids

  - Exhaust ducts for spray booths

- Which of the following is correct in describing the transfer of a flammable mixture from one container to another?

  - All – C, D & E

  - Only C & D

  - At least one container shall be grounded

  - A bond shall be provided between the two containers

  - Both containers must be on a non-combustible surface

- What minimum distance must be maintained around all sides of a spray booth including those sides next to combustible walls?

  - 24 inches

  - 30 inches

  - 36 inches

  - 42 inches

- What minimum distance are conductive and adequately grounded railings, fences and guards required around electrostatic processing equipment?

  - 36 inches

  - 48 inches

  - 60 inches

  - 72 inches

- Which best describes a ‘Hot Work Area’?

  - An area exposed to radiant heat

  - An area exposed to sparks

  - An area exposed to hot slag

  - All – A, B & C

  - Only B & C

- Who administers a “Hot Work Program” and issues “Approvals”?

  - A responsible person

  - The fire official

  - The plant engineer

  - The businesses insurance carrier

- What precautions shall be employed when performing hot work close to automatic sprinklers?

  - All – C, D & E

  - Only – D & E

  - Shut down sprinkler system to avoid unintended activation

  - Shield effected sprinkler head with noncombustible barrier

  - Shield effected sprinkler head with damp cloth

- What should be kept away from cylinders, valves, regulators, hoses and other apparatus and fittings for oxygen?

  - Rubber products

  - Acetylene gas

  - Oil and grease

  - All – A, B & C

  - Only – B & C

- What is the maximum distance from the location of hot work to a minimum of a 2-A:20-B:C rated fire extinguisher?

  - 10 feet

  - 20 feet

  - 30 feet

  - 40 feet