- Who does the owner of premises which are or which contain one or more uses subject to the code, have concurrent responsibility for compliance with the code?

  - the fire official

  - the building insurance carrier

  - the fire inspector

  - the owner of any use

- Which of the following shall be inspected by a local enforcing agency?

  - All premises except owner occupied one and two family or attached single family structures used exclusively for dwelling purposes

  - All premises

  - All premises except owner occupied Use Group B & M run exclusively as a family business

  - A, B & C are correct

- What does the following describe? means a specific locality, area of land or portion thereof, and shall include any buildings, structures or portions of buildings or structures thereon.

  - Dormitory

  - Bed & breakfast homestay

  - Premises

  - Use or Use group

- What does the following describe?  Any building or structure, or part thereof, classified in any of the use groups and defined as such in subchapter 2 of the Uniform Fire Code.

  - Premises

  - Life Hazard Use

  - Common area

  - Story above grade

- How many sub-groups of the “F” Use Group are there?

  - no subgroups

  - one

  - two

  - three

- What Use Group would a dormitory be placed in?

  - S-1

  - B

  - R-3

  - R-2

- Which use group would represent buildings housing six or more individuals who, because of age, must live in a supervised environment but who are physically capable to respond to an emergency without assistance?

  - R-1

  - A

  - I

  - R-4

- If you are outside attending a football game what use group classification of the structure are you in?

  - F

  - A-5

  - I-3

  - E

- What is the use group classification for a typical supermarket?

  - M

  - B

  - S-2

  - A-3

- What is the use group classification for a typical gasoline service station without repair garage, sell fuels and other sundry items?

  - B

  - S-1

  - M

  - H

- What is the use group classification for a typical accountant’s place of business?

  - M

  - A-3

  - I-3

  - B

- Life Hazards Uses are divided into how many basic groups?

  - 6

  - 4

  - 16

  - 22

- Which of the following would apply where there exist multiple life hazards uses within the premises?

  - each shall be registered separately

  - only the most severe requires registering

  - only multiple life hazard uses on farms require registering

  - only one is registered with permits issued for the remaining

- How often are inspections required for Type Ca through Ci life hazard uses?

  - once every 12 months

  - once every 6 months

  - once every 3 months

  - once every month

- Within what timeframe is it a violation of the code for an owner of a building or use who fails to complete and return the required life hazard use registration form?

  - 10 business days

  - 2 weeks

  - 60 days

  - 30 days

- What type permit is required for the temporary use of a mall as a place of assembly?

  - Type 1

  - Type 2

  - Type 3

  - Type 4

  - Type 5

- What type of permit is required for the storage or handling of Class I flammable liquids in closed containers of aggregate amounts of more than 10 gallons, but not more than 660 gallons inside a building?

  - Type 1

  - Type 2

  - Type 3

  - Type 4

  - Type 5

- What type of permit is required for the melting, casting, heat treating, machining or grinding of more than 10 pounds of magnesium per working day?

  - Type 1

  - Type 2

  - Type 3

  - Type 4

- What type permit is required for the storage or discharging of fireworks?

  - Type 1

  - Type 2

  - Type 3

  - Type 4

- What type permit is required for carnivals and circuses employing mobile enclosed structures used for human occupancy?

  - Type 1

  - Type 2

  - Type 3

  - Type 4

- What type permit is required for any permanent cooking operation that requires a suppression system in accordance with N.J.A.C. 5:70-4.7(g) and is not defined as a life hazard use in accordance with N.J.A.C. 5:70-2.4?

  - Type 1

  - Type 2

  - Type 3

  - Type 4

- How long does a permit remain in effect?

  - Until revoked

  - The date specifically specified on the permit

  - One year

  - All the above

- What minimum time frame shall be allowed for abatement of any violation of N.J.A.C. 5:70-4?

  - 15 days

  - 30 days

  - 45 days

  - 60 days

- What is the normal minimum time frame shall be allowed for abatement of  violation of N.J.A.C. 5:70-3?

  - 15 days

  - 30 days

  - 45 days

  - 60 days

- Notices, rules, decisions and orders issued and served pursuant to the Act shall be effective if served by which of the following means?

  - Certified mail return receipt requested.

  - Leaving the document on the counter.

  - Personal delivery

  - Only A & C above

- Which of the following best describes the “date of service” when serving notices, rules decisions and orders?

  - The date on the certified mail return receipt or the 3rd day after mailing.

  - Certified mail or the 4th day after mailing

  - Notification from the person that is was received

  - Date of personal service or the 3rd day after mailing.

- What is the maximum penalty for any act or omission in violation of the Act or Code that is not enumerated?

  - $ 500.00

  - $ 1,000.00

  - $ 5,000.00

  - $ 10,000.00

- What is the penalty for exceeding the maximum permitted occupancy for the first offense in other than a place of assembly?

  - $ 500.00

  - $ 1,000.00

  - $ 2,500.00

  - $ 5,000.00

- What is the penalty, per occurrence, for disabling or decreasing the effectiveness of any fire suppression or alarm system in a place of assembly?

  - $ 500.00

  - $ 1,000.00

  - $ 2,500.00

  - $ 5,000.00

- What is the maximum penalty per occurrence for submission of a materially false application for a permit or registration?

  - $ 500.00

  - $ 1,000.00

  - $ 2,500.00

  - $ 5,000.00

- What is the correct life hazard use registration for; retail stores and other mercantile uses more than 12,000 square feet but less than 24,000 square feet in gross floor area?

  - Bq

  - Ca

  - Bf

  - Ah

- What is the correct life hazard use registration for a hardware store and home improvement centers of 3,000 or more but less than 12,000 square feet of gross floor area?

  - Ai

  - Ah

  - Ca

  - Ab

- What is the correct life hazard use registration for; eating and/or drinking establishments with a maximum permitted occupancy of 100 or more but fewer than 200 persons?

  - Bg

  - Ag

  - Ac

  - Bd

- What is the correct life hazard use registration for; covered mall buildings with a mall portion of 50,000 or more but less than 100,000 square feet?

  - Bo

  - Db

  - Dc

  - Bi

- What is the correct life hazard use registration for; factories and other industrial uses of Use Group F-1 of 200,000 or more but less than 350,000 square feet in gross floor?

  - Bq

  - Bk

  - Bm

  - Bl

- What is the required inspection frequency for Type Ba through Bq life hazard uses?

  - once every 12 months

  - once every 6 months

  - once every 3 months

  - once every month

- What is the required inspection frequency for Type Da through Dc life hazard uses?

  - once every 12 months

  - once every 6 months

  - once every 3 months

  - once every month

- What is the required inspection frequency for Type Aa through Aj life hazard uses?

  - once every 12 months

  - once every 6 months

  - once every 3 months

  - once every month

- What is the required inspection frequency for day nurseries and daycare centers with a maximum permitted occupancy of 100 or more?

  - once every 12 months

  - once every 6 months

  - once every 3 months

  - once every 3 months

- What type permit shall be required for an unoccupied or vacant building or structure 2,500 square feet or more, but less than 12,000 square feet, in gross floor area?

  - Type 1

  - Type 2

  - Type 3

  - Type 4

- What type permit shall be issued on an annual basis for welding or cutting and be effective throughout the local enforcing agency’s jurisdiction?

  - Type 1

  - Type 2

  - Type 3

  - Type 4

- What is the annual registration fee for a Type Bd life hazard use?

  - $ 214.00

  - $ 384.00

  - $ 641.00

  - $ 974.00

- What is the permit application fee for a junk yard?

  - No fee

  - $ 214.00

  - $ 427.00

  - $ 641.00

- What is the permit application fee to use an open flame in connection with the training of non-fire service personnel in fire suppression procedures?

  - No fee

  - $ 54.00

  - $ 214.00

  - $ 427.00

- What is the permit application fee to store, handling, or process flammable, combustible, and unstable liquids in closed containers and portable tanks in aggregate amounts of more than 660 gallons;?

  - No Fee

  - $ 214.00

  - $ 427.00

  - $ 641.00