Student Name: ___________________________________        Date: ______________

1.	An inspector is given the authority to perform his or her duties based on the laws:

A.	created and adopted by federal agencies.

B.	created and adopted by third-party associations working parallel to a fire department.

C.	adopted by the AHJ or regulations established by the private sector organization.

D.	adopted by the insurance industry or regulations established by the private sector utilities.

2.	Which of the following is the foundation upon which the department and local fire and life safety codes are built?

A.	Liability

B.	Authority

C.	Civil rights

D.	Enabling legislation

3.	Which of the following is MOST accurate regarding the scope of powers granted to inspection organizations?

A.	The scope of powers varies widely among jurisdictions.

B.	The scope of powers remains consistent for all third-party organizations.

C.	The scope of powers varies with the number of fire personnel in a jurisdiction.

D.	The scope of powers remains consistent in all organizations within the United States.

4.	Minimum housing standards are set in which type of law?

A.	Local law

B.	State law

C.	Federal law

D.	Insurance law

5.	Which of the following is MOST accurate regarding local inspectors enforcing federal regulations?

A.	Local inspectors are responsible for enforcing federal regulations.

B.	Local inspectors are not responsible for enforcing federal regulations.

C.	Local inspectors are responsible for enforcing federal regulations if violations occurs within federal property.

D.	Local inspectors are not responsible for enforcing federal regulations nor do they need to report violations.

6.	Which category of laws involves labor laws, insurance laws, and health laws?

A.	Local law

B.	State law

C.	Federal law

D.	Insurance law

7.	Which category of laws is more specific and tailored toward the needs of a particular jurisdiction?

A.	Local law

B.	State law

C.	Federal law

D.	Insurance law

8.	Which of the following best describes enabling acts?

A.	A jurisdiction adopts and follows federal laws exactly as written.

B.	A jurisdiction adopts and follows the state/provincial laws exactly as written.

C.	A jurisdiction adopts federal laws, but is allowed to modify laws based on local needs or preferences.

D.	A jurisdiction adopts state/provincial laws, but is allowed to modify laws based on local needs or preferences.

9.	Which of the following BEST describes what occurs when a conflict arises between insurance requirements and adopted codes?

A.	Mediator decides which take precedence

B.	Owner/occupant decides which to follow

C.	Insurance requirements take precedence

D.	Requirements of the adopted code take precedence

10.	What authorizes inspectors to interrupt business operations or to evacuate and close a building that presents imminently dangerous conditions?

A.	Fire codes

B.	Police codes

C.	Building codes

D.	Insurance codes

11.	Some jurisdictions grant designated inspectors different levels of authority based on:

A.	crime rate in the jurisdiction.

B.	number of businesses in the jurisdiction.

C.	the codes the inspectors enforce in the jurisdiction.

D.	number of law enforcement officers in the jurisdiction.

12.	The adopted fire and life safety codes of the jurisdiction should contain language that explains the relationship between the:

A.	fire department and inspector.

B.	fire department and insurance company.

C.	police department and insurance company.

D.	police department and inspector with police powers.

13.	Which of the following is MOST accurate regarding insurance companies and fire codes?

A.	Insurance companies do not worry about fire codes.

B.	Insurance companies often have relaxed fire code requirements.

C.	Insurance companies often have more stringent fire code requirements than local codes.

D.	Insurance companies often rely on local fire code requirements detailed by the Fire Marshall’s office.

14.	Which of the following statements is MOST accurate regarding inspector liability?

A.	Inspectors are held liable when following policy.

B.	Inspectors are not held liable for discretionary acts in general.

C.	Inspectors are always held liable when performing an act or enforcing a policy.

D.	Inspectors are not held liable when failing to notify an owner or following a policy when reporting a violation(s).

15.	Which of the following BEST describes the purpose of right of entry?

A.	Grants authority for emergency medical service to force entry if a patient is unresponsive

B.	Grants authority for insurance companies to enter and assess hazards and issue citations

C.	Grants the inspector the authority to obtain any evidence without a warrant or probable cause

D.	Grants the inspector the authority to enter any premises or building to perform an inspection or any duties authorized by the fire code

16.	Inspectors must obtain _____ if there is no emergency or visible hazard at a residential occupancy.

A.	consent

B.	a warrant

C.	special duty access

D.	right of entry permission

17.	An inspection refusal form:

A.	provides the next date for inspection.

B.	provides detailed violation information.

C.	provides information for obtaining a warrant.

D.	provides recommendations for owner/occupant to change.

18.	Which of the following is MOST accurate regarding the consent-to-enter form?

A.	The form will include information for obtaining a warrant.

B.	The form should not be reviewed by legal counsel or fire chief.

C.	The form allows inspectors to conduct future inspections without obtaining consent.

D.	The form will remove questions regarding the original authorization to enter and perform an inspection.

19.	Which of the following requires inspectors to establish probable cause?

A.	Special duty

B.	Search warrant

C.	Duty to inspect

D.	Administrative warrant

20.	From a liability standpoint, which of the following is MOST appropriate when conducting inspections?

A.	Scheduling inspection appointments every month

B.	Conducting fewer, but more thorough inspections

C.	Conducting frequent, but less thorough inspections

D.	Only scheduling inspection if inspectors receive complaints

21.	Failure to inspect a property does not impose a duty on the inspector unless laws or statutes impose such a duty or:

A.	the jurisdiction hired a new inspector.

B.	there is a known code violation present.

C.	the inspector has missed two consecutive inspections.

D.	there is greater than normal activity occurring within the building.

22.	Which of the following occurs if an inspector singled out a certain group of people or a business without justification?

A.	Malfeasance

B.	Indemnification

C.	Criminal liability

D.	Civil rights violation

23.	Most jurisdictions _____ their inspection personnel and provide liability insurance to protect them in areas where they may be held liable.

A.	record

B.	validate

C.	approve

D.	indemnify

24.	Which of the following refers to the commission of an unlawful act that is knowingly committed by a public official?

A.	Negligence

B.	Misfeasance

C.	Malfeasance

D.	Nonfeasance

25.	Which of the following refers to the unintentional commission of an unlawful act?

A.	Negligence

B.	Misfeasance

C.	Malfeasance

D.	Nonfeasance