- The New Jersey Uniform Construction Code was signed into law in October ________

  - October 1975

  - October 1976

  - October 1977

  - October 1978

- There are two critical elements a fire inspector must understand about a building, the occupancy classification and _____________?

  - Occupant load

  - Height

  - Type of construction

  - Area

- Who by law has the authority to classify the use group of a building?

  - Fire Code Official

  - Building Subcode Official

  - Construction Official

  - Fire Subcode Official

- According to the New Jersey Uniform Construction Code, how many general construction types are there?

  - 3

  - 5

  - 6

  - 8

- What type of construction contains wooden structural elements of nominal dimensions of 4”X6” or greater?

  - Type 1 & 2

  - Type 3

  - Type 4

  - Type 5

- Which type of construction consists of non-combustible structural elements of 2 to 3 hour fire resistance?

  - Type 1A

  - Type 1B

  - Type 2A

  - Type 2B

- What construction type is referred to as ordinary construction?

  - Type 1 & 2

  - Type 3

  - Type 4

  - Type 5

- Exterior walls that are _______________, and interior floors that are _________ identify ordinary construction.

  - Non combustible, combustible

  - Combustible, non combustible

  - Combustible, combustible

  - Non combustible, noncombustible

- What is the difference between type 5A and type 5B construction?

  - No difference

  - Fire resistance of structural elements

  - Flame spread rating

  - Non-combustible structural elements

- With reference to the New Jersey Uniform Construction Code which construction type is commonly referred to as wood-frame construction?

  - Type 1 & 2

  - Type 3

  - Type 4

  - Type 5

- Structures identified as “Balloon Frame” have no _______ from the foundation to the roof in the exterior walls.

  - Insulation

  - Nails

  - Fire Stops

  - Wires

- Platform frame construction has a fire stop at ___________.

  - The roof

  - The foundation

  - Each floor level

  - Vent pipes

- The New Jersey Uniform Fire Prevention Code requires truss signs under code section NJAC 5:70-2.20, These signs must indicated which of the following?

  - Roof trusses

  - Floor trusses

  - Floor and roof trusses

  - C only

  - A, B, &C

- The New Jersey Uniform Construction Code limits the height of buildings based upon use, type construction, and open perimeter and ____________?

  - Occupant load

  - Automatic sprinkler systems

  - Automatic fire alarms Fire load

- Podium frame Construction has a first floor of __________ construction and the remaining floors above are ____________ construction?

  - Combustible, non combustible

  - Non combustible, combustible

  - Platform frame, balloon frame

  - Timber frame, truss

- Which of the following tests determines fire resistance ratings for types of construction?

  - ASTM E 136

  - ASTM E 119

  - ASTM E 84

  - ASTM E 110

- ASTM E-84 the Steiner tunnel test is used to determine flame spread ratings of interior finish materials. A Class I rating is a flame spread of ________?

  - 0-25

  - 26-75

  - 76-200

  - over 200

- A Firewall must go from the foundation to the roof and must be capable of withstanding a ____________ on either side of the wall?

  - Fire

  - Noise attenuation

  - Collapse

  - Earthquake

- A fire barrier must go from the floor to the __________ next above.

  - Drop ceiling

  - Floor slab

  - Roof

  - Ceiling

- Items penetration fire resistant floor/ceiling assemblies must be properly fire stopped. The test for mechanical fire stop materials is __________?

  - ASTM E-84

  - ASTM E-119

  - ASTM E-136

  - ASTM E-814

- Fire rated doors must have ______ to identify there fire resistance rating.

  - Labels

  - Manuals

  - Directions

  - All – A, B & C

  - None of above

- Fire dampers are required where ducts penetrate fire resistance rated walls. Fire dampers are listed under __________?

  - UL-555

  - UL –10B

  - UL-268

  - UL-92

- The weight of all the materials in a structure is referred to as the _______ load.

  - Live

  - Dead

  - Impact

  - Distributed

- What may be required where ductwork penetrates Smoke barrier wall or floors?

  - A fire damper

  - A smoke damper

  - A fire and/or smoke damper

  - Sprinkler protection

- The amount of furnishings in a building or structure is know as the _______ load?

  - Live

  - Dead

  - Fuel

  - Concentrated