- In dealing with electrical theory, what code section covers open electrical and junction boxes?

  - 605.7

  - 605.10.1

  - 605.11

  - 605.6

- What gas is produced during battery charging?

  - Flammable Gas

  - Nitrogen

  - Oxygen

  - Acetylene

- Storage requirements for outside storage height is limited to this height.?

  - 15 feet

  - 20 feet

  - 25 feet

  - None of these

- Application permits for open burning must be submitted ___ days in advance?

  - 5

  - 10

  - 15

  - 30

- Bon fires generally may not be greater than______feet.

  - 4 x 4 x 4

  - 5 x 5 x 5

  - 6 x 6 x 6

  - 7 x 7 x 7

- What level of lead is permissible for use of a torch to remove paint?

  - 0 PPM

  - 3 PPM

  - 5 PPM

  - 7 PPM

  - unlimited

- What is the miniimum distance for exterior storage of combustible products from lot lines.

  - 10 feet

  - 15 feet

  - 20 feet

  - 25 feet

- What is the minimum width for a fire lane?

  - 10 feet

  - 20 feet

  - 25 feet

  - 50 feet

- The first  evacuation drills of the school year must be within ___ days of opening?

  - 10

  - 12

  - 15

  - 20

- What is the minimum distance for cooking with charcoal grills from combustible walls or under overhangs?

  - 15 feet

  - 5 feet

  - 10 feet

  - 8 feet

- How long after torch work ceases shall a fire watch be maintained?

  - 15 minutes

  - 30 minutes

  - 45 minutes

  - 60 minutes

- Flaring systems for incineration of flammable refrigerants must consume ___ % of the discharge.?

  - 50

  - 75

  - 90

  - 100

- Metal Chimneys must conform with this NFPA Standard?

  - NFPA 110

  - NFPA 230

  - NFPA 211

  - NFPA 101

- What is the largest fuel oil tank that may be stored outside above ground without additional protection?

  - 250 gal

  - 560 Gal

  - 660 Gal

  - Not allowed

- Underground fuel oil storage must comply with NFPA ____?

  - 30

  - 31

  - 35

  - 110

- What is the standard for maintaining Commercial Kitchen hoods?

  - NFPA 100

  - NFPA 230

  - NFPA 96

  - NFPA 14

- How many hours fuel supply shall be provided for an emergency generator?

  - 1 Hour

  - 2 Hours

  - 3 Hours

  - 4 Hours

- Temporary wiring for electrical power shall not exceed ___ days.

  - 30

  - 60

  - 90

  - 120

- How often are evacuation and fire drills required for Use Group B?

  - Quarterly

  - Monthly

  - Annually

  - Not required

- What is the required minimum turning radius for a fire apparatus?

  - 20 feet

  - 25 feet

  - 30 feet

  - None required

- What is the minimum distance a tar kettle should be from any building opening?

  - 5 feet

  - 10 feet

  - 20 feet

  - 25 feet

- What is the minimum distance two approved 20B: C fire extinguishers shall be from of an operating tar kettle?

  - 5 feet

  - 10 feet

  - 20 feet

  - 25 feet

- What is the minimum distance weed and vegetation must be cleared from around structures?

  - 50 feet

  - 30 feet

  - 20 feet

  - Adequate Space

- What is the minimum distance a charger for electric battery-operated industrial truck should be kept from combustible materials?

  - 1 foot

  - 3 feet

  - 5 feet

  - 10 feet

- What is the maximum amount of flammable or combustible liquid allowed for use in flaming food preparation?

  - 1 Ounce

  - 2 Ounces

  - 3 Ounces

  - A safe amount

- Placards must be placed on Vacant structures?

  - When declared an imminent hazard by the fire official

  - When declared unsafe by the construction official

  - When a demolition permit has been issued

  - None of the above

  - All of the above